                         [image: image35.png]Lackof [ Tnadequate
coordination

Limited human and
funding technical capadity Limited water

resources, reduced

X l l capacity reservoirs,

Insufficient Poor govemance and
infrastructure Outdated database [¢—— | 770 &5
unaffordability
Old and damaged I 1 . N
A —» | Low water tariff | Insufficient and
infrastructure Ineffective and b
inefficient ! [
management \‘ l production
- Lack of
Lack of capacity to FE——
extend the reach of the e o £
water distribution
conserve water

Inefficient use
of water

Low operation and
‘maintenance

Lack of site-specific

‘management
Low piped .
water coverage #——1F High water

[

Distribution Unconnected Exceeding Intermittent
inequity house demandover | ___ | /interrupted —
l l supply supply

|

Unmet water demand

I

Lack of urban water supply





Ethiopian Institute of Architecture, Building Construction and City Development 

Addis Ababa University

Evaluation of Addis Ababa Water Supply System Using Integrated                                Approach

Getinet Assabu Ewunetu

A Dissertation Submitted to the Ethiopian Institute of Architecture, Building Construction and City Development in Fulfillment of the Requirements for the Degree of Doctor of Philosophy in Environmental Planning

 Addis Ababa, Ethiopia

June 2019

Addis Ababa University 


School of Graduate Studies 
This is to certify that the dissertation submitted by Getinet Assabu Ewunetu entitled ‘‘Evaluation of Addis Ababa Water Supply System Using Integrated Approaches’’ in Fulfillment of the requirements for the Degree of Doctor of Philosophy in Environmental Planning complies with the regulations of the university and meets the accepted standards with respect to originality and quality.

Signed by the Examining Committee: 
	Responsibility 
	Name 
	Signature
	Date 

	First Assessor
	Dr, Mihret 
	___________
	___________

	Second Assessor
	Dr. Zeleke 
	___________
	___________

	Supervisor 
	Professor Hailu Worku 
	___________
	___________

	Supervisor 
	Dr. Alemseged Tamiru Haile
	___________
	___________

	Chairman, Graduate Program
	Dr. Ephrem G/Mariam  
	___________
	___________


Abstract

Evaluation of Addis Ababa Water Supply System Using Integrated Approach

Getinet Assabu

Ethiopian Institute of Architecture, Construction and City Development, Addis Ababa University, 2019.

The city of Addis Ababa gets water from Dire, Gefersa, and Legedadi reservoirs as well as miscellaneous boreholes concentrated around Akaki and scattered at both inside outside the city. Previous studies on Addis Ababa’s urban water supply are fragmented focusing on specific issues without presenting the holistic view of the system. In the present study, we assess range of aspects of the city’s water supply system in the past, present and future periods. Data were obtained through a literature review of relevant documents, personal communication, household interviews, and key informant interviews. The time series data were analyzed by stratifying the time periods, water source, and water supply branches. Descriptive statistics and various plots were used to present the most important characteristics of water consumption and production data. Addis Ababa was initially served by springs located at the foot of the Intoto mountain ridge together with a series of hand dug wells. Population growth, improved standard of life, economic diversification, and increased urban dynamics have increased the water demand over the past several decades. This has led to water source diversification (in terms of location and source type) and complex network system (due to hybrid sourcing, increased customer water line connections, pipeline aging, pressure variations related to topographic variations, service reservoirs, pumping and/or booster stations). In 2014/2015, surface and groundwater sources contributed somewhat equally (51% and 49 %, respectively) and supplied about 49 % of the demand with 45% Non-Revenue Water. Nearly half of the water demand of the city is not met. This supply deficit is causing frequent supply interruptions. The utility is supplying water via water trucks for low pressure areas where water does not reach easily. There are also efforts to develop additional groundwater sources at various well fields and develop the Sibilu and Gerbi dams. When all the proposed projects are completed, 971,483m3/d additional water will be added to the existing water supply which will increase the supply by 273%. While efforts to increase water supply are encouraging, demand side management deserves more attention than it is receiving currently. WEAP model simulations have shown significant unmet future demand for the city even with complete implementation of the proposed projects. Households with greater number of supply failures tend to have the least access to drinking water. Similarly, both water quantity and water quality are deteriorating. A good example of water quality problem is the 2017/18 outbreak of cholera incidence. Customers are highly dissatisfied with the current service delivery characterized by long time persistent problems. Unless the water utility takes immediate action to solve these problems, the current situation which is affecting the health and economic status of water customers will exacerbate. In this study, it is identified that the major causes of the lack of adequate water supply in the city are depletion of groundwater sources, huge leakage volume, population growth, construction boom or enhanced economic activity and wasting of water by customer at lower parts of the city. Unless demand side and supply side management measures are enhanced, the gap between supply and unmet demand will resume as is.

Key words: Addis Ababa, Water supply, WEAP Model, Urban water management, Water loss 

Dedication
This dissertation is dedicated to my father and my mother whom I lost during the progress of this study 

Declaration 

The work provided in this thesis, unless otherwise referenced, is the researcher’s own work, and has not been submitted elsewhere for any other degree or qualification.

Student's name: Getinet Assabu 
Signature: ______________
Date: June 2019 

Acknowledgements

I write this note of acknowledgement in a state of gratitude to God for giving me the strength and will to prevail in successfully complete my thesis and for His so many blessings with His love, support and encouragement during my study. Since I truly doubt that mere words can articulate the extent of gratitude, it is only an attempt to expressing my heartfelt appreciation. The blessings of every virgin, Saint Marry were enormous.

Big thanks to my supervisor professor Hailu Worku, of EiABC, Addis Ababa University, for his consultation and direction. I’m extremely fortunate and honored to have Dr. Alemseged Tamiru as my supervisor after so many ups and downs. I appreciate all his unwavering support, guidance to the right direction, scholarly and strong comment and constructive suggestions and encouragement and I value all the knowledge and wisdom he has shared with me. Without him, many improvements in this research work could not have been possible. I thank him for bringing out the best in me!
I would like to acknowledge NMA, all my respondents’ of and AAWSA staffs particularly surface and groundwater teams, NRWteam, and ICT and planning departments in providing relevant documents for my research work. Asegedech Kumelachew, Solomon Waltenguse, Abebayehu Yitagessu, Altaseb, Haile, Getnet, Etsegenet Tesfaye, Bizuyehu Gosssa, Zeleke Teferi for providing me data and valuable information.

My wife, Tigist Yihun; my daughters Sydney Getinet and Arsema Getinet; my brothers and sisters; also deserve special thanks for their daily support and encouragements. My good friends Taffere Addis (prof), Hunachew Beyene, Abreham Workineh, Abera Moges, Alemu Beyene (Alex), Harun Osman and others has also been by my side doing their best to help me. Some very special thanks are to Dejene Sahilu’s support and encouragement.

I genuinely appreciate my batches, most of whom have been good to me and kindly sharing their experiences. 

Finally, my acknowledgement goes to Bongo TEC, my sponsor as well as Addis Ababa University; Ethiopian Institute of Architecture, Building Construction and City Development for granting research fund for my research work. Above all, my gratitude and thanks to God, for being with me from the beginning to the end of everything I did.

Table of  Contents

viiAcknowledgements


xvList of Tables


xviiLists of Abbreviations and Acronyms


1Chapter One


11. Introduction


11.1 Background


31.2
Statement of the problem


61.3
Research objectives


71.4
Research Questions


71.5
Significance of the study


81.6
Structure of the thesis


91.7. Research Frame


11Chapter Two


112. Literature Review


112.1. Urban water supply


132.2 Addis Ababa’s water supply system


142.2.1 Water supply sources


142.2.2. Addis Ababa water supply system infrastructures


142.2.2.1 History and status of water supply in Addis Ababa City


152.2.2.2. Water supply sources of Addis Ababa city


172.2.2.3 Water supply system components


182.2.3 Water quality


202.3. The importance of perception studies


232.4. Decision making in water management


252.4.1 Issues in decision making in urban water supply


252.4.2 Integrated urban water resources management


272.4.3. Water Resources management models


282.5. WEAP


312.2.1. Problem tree analysis methods for urban water supply planning


33Chapter Three


333. Materials and Method


333.1 Study area description


383.2. Materials and methods


383.2.1. Data set


383.2.1.1 Secondary data


393.2.1.2. Primary data


413.2.1


413.2.2. Data collected and sources of data


423.2.3 Data analysis and modeling


423.2.3.1 Evaluation of past, present and future situation


453.2.3.2 Perception of residents


463.2.3.3 Situation analysis with WEAP modeling


523.2.3.4 Problem Tree Analysis


55Chapter Four


554. Water Supply Situation Assessment Results of Addis Ababa Water Supply System


554.1. Evaluation of Past, Present and Future Situation of Addis Ababa Water Supply System


554.1.1. Urbanization, Population trends, and Population Served by Water Connection


574.1.2. Customer profile


604.1.3. Past, Current and Future Water Supply Situation of Addis Ababa


704.1.3.2. Current and future water demand in Addis Ababa City


754.2. Customers' satisfaction, perceptions, and experiences


754.2.1. The local reality of urban water supply


754.2.2 Perception about the water supply service


784.2.3. Water quality


804.2.3.1. Taste


814.2.3.2. Odor or Smell


824.2.3.3. Affordability of services


834.2.4. Overall water customer satisfactions


854.2.5. Persistency of water quality


874.3. Situation analysis of the water supply service of Legedadi with WEAP


874.3.1 The situation of water supply hours and volume in Addis Ababa


884.3.1.2 Daily water supply hours among branches


894.3.1.3 Weekly supply days and daily supply hours among sub cities


924.3.2 Characteristics of the Legedadi sub system


954.3.4. The Drastic Scenario


974.4. Root Causes to the Lack of Urban Water Supply in Addis Ababa City


974.4.1 Overview


984.4.2.  Causes of lack of urban water supply


984.4.2.1 Incorrect Population Estimation


1004.4.2.2. Unprecedented increase in water demand and water loss


1024.4.2.3. Decline in production and ageing infrastructure


1034.4.2.4. Inadequate Inputs and Capacity


1034.4.2.5. Limited human and Technical Capacity


1064.4.2.6. Low Technical Skills and Poor Operation and Maintenance


1064.4.2.7. Inadequate Funding and Poor Fund Management


1074.4.2.8. Low Water Tariff and Lack of Awareness


1084.4.2.9. Poor institutional organization and lack of coordination with stakeholders


1104.4.2.10. Geographic Gradient


1104.5 solutions to the lack of urban water supply


112Chapter Five


1125. Discussions


1125.1 Evaluation of Past, Present and Future Situations


1145.2 Customers’ perceptions about their water supply


1155.2.1 Water supply shortage and inadequate supply


1175.2.2. Supply interruption and intermittent supply


1185.2.3 Water Quality and Safety


1205.2.4 Unreliable, long and complex distribution system (or network)


1215.2.5 Mandatory water storage


1215.3 Situation analysis of Legedadi sub system water supply service with WEAP


1225.4 The Root Causes for the Lack of Adequate Water Supply in Addis Ababa


1225.4.1 Inefficient and ineffective water use; and poor management


1245.4.2.Ineffective coordination/harmonization with other sectors


1245.4.3. Low water tariff, and inadequate political and financial support


1255.4.4 weak and fragmented institution and instability


1265.4.5 Poor technical and human resource capacity


1265.4.6 Absence of proper database and poor information exchange system


1275.4. 7. Defective water policies, strategies and plans


1285.4.8. Mismatch between demand and supply (enhanced consumption)


1295.4.9. Increasing water demand


1295.4.10. Deteriorating and malfunctioning infrastructure system


1305.4.12. Huge volume of water leakage and water loss


1325.4.13. Over abstraction and depleted sources


134CHAPTER SIX


1346. Conclusion and Recommendations


1346.1. Conclusion


1366.2. Recommendations


139References


168Appendices


168Appendix A: Details of the materials and methods section


168Appendix A-1: Number of weredas and kebeles of the ten sub cities


169Appendix A -2:  Climate data collection weather stations in and around Addis Ababa


170Appendix A-3:  LTM rainfall depths of the ten sub cities


171Appendix A-4: Summary of water user interview participants


185Appendix A- 5- I: English version of the interview questions for the water customers


187Appendix A-5-II: The Amharic version of interview questions prepared for water customers


190Appendix A-6-I: English version of the interview questions for branch Professionals


191Appendix A-6-II: Amharic version of the interview questions for branch professionals


193Appendix A-7:  Branch professionals who participated in the interview


194Appendix B: Raw data and assumptions used for analysis


194Appendix B-1: Water infrastructure distribution among branches in 2010


195Appendix B-2:  Projected system input volume, 2015-2020 (m3/d)


196Appendix B-3: Projected population for the period 1994- 2030 using miscellaneous scenarios





List of Figures

10Figure 1‑1:Schematic diagram of the Study framework


17Figure 2‑1 : Major infrastructure of the urban water system


34Figure 3‑1:  Location map of the study area with its water supplying branches


36Figure 3‑2: Amount of annual average rainfall (in mm) of the study area


37Figure 3‑3: Mean surface temperature of the study area


38Figure 3‑4: Surface and groundwater sources of Addis Ababa city


56Figure 4‑1:   Historic and forecasted population of Addis Ababa for 1995-2030


57Figure 4‑2: Population densities of sub cities during 2007-2015


61Figure 4‑3: Major distribution pipes of the city’s water supply system with major water sources


62Figure 4‑4: Surface water production of AAWSA during 1994-2015


63Figure 4‑5: Proportion of the contributions of all groundwater and all surface water sources for                system in put volume during 1994-2014


79Figure 4‑6: Color and appearance


80Figure 4‑7: Water Customers’ water color perception in 2016


81Figure 4‑8: Taste perception of customers of their water supply


82Figure 4‑9 : Smell classification of the water supply


84Figure 4‑10: Water customers’ s perceived satisfaction per user category


85Figure 4‑11: Persistence of color of tap water


85Figure 4‑12: Taste of tap water


86Figure 4‑13: Persistence and color of water stored in home


92Figure 4‑5:  Map of Legedadi sub system and its four water supply branches


95Figure 4‑6 :  Spatial distribution of organizations in the Legedadi subsystem


111Figure 4‑14: proposed solution tree for the lack of urban water supply in Addis Ababa City



List of Tables

16Table 2‑1:   Major characteristics of surface water sources


19Table 2‑2:  Concentrations of total Coliforms and E. Coli in major surface water of


19Table 2‑3: The four classes of groundwater sources


27Table 2‑4: Comparison of conventional and integrated approaches of decision making


40Table 3‑1: Profile of study participants


41Table 3‑2: Summary of data sources


42Table 3‑3:  Summary of the collected data


44Table 3‑4:  Population Served by each branch based on AAWSA’S Network Map (2014)


47Table 3‑5: Population of Legedadi subsystem during 2010-2015 and sample estimation


50Table 3‑6: Basic assumptions for the modeling


51Table 3‑7: Projected domestic water demand during 2016-2036


55Table 4‑1: Physical expansion between the years 1886 and 2015(Calculated based on ORAAMP, 2001, 2002) and Tadesse, 2009)


58Table 4‑2: Aggregated and disaggregated number of domestic, non-domestic, public tap


59Table 4‑3: Number of populations served via the three modes of connection against total


60Table 4‑4:  Customer distributions by branch office (December 2010)


65Table 4‑5: NRW based on AAWSA’s different year’s production and consumption data


66Table 4‑6: Disaggregated NRW in the eight branches for the years 2009- 2013 (based on different years of AAWSA reports)


67Table 4‑7: Volume and percentage of billed volume compared to SIV for the period 1996- 2015
                                                                                                                                         

68Table 4‑8: Aggregated per capita water consumption for the period 1996-2015


69Table 4‑9 : Total population served (resident population and a day time population equal to 30 % of the resident population (resident population estimated by CSA*)


70Table 4‑10: Major events in Addis Ababa Water Supply system


71Table 4‑11: Population and population served based on different population sizes


72Table 4‑12:  Daily and annual demand -supply gap (m3) during 2010:2015 (based on CSA, 2007)


73Table 4‑13: Summary of disaggregated demand of the three population growth scenarios


74Table 4‑14: Population distribution among the eight Branches


75Table 4‑15: Summarized daily water demand of branches (m3)


76Table 4‑16: Water Supply Interruptions During 2016 and Any Worst-case year(N=273)


77Table 4‑17: The length of water supply hours per day


77Table 4‑18: Survey results for the question: Do you have sufficient water in your home?


78Table 4‑19: Customers’ Perception of the adequacy of water supply pressure(N=273)


83Table 4‑20: Evaluation of water price by water customers in 2016


83Table 4‑21: customers’ residential sub city and their current water tariff evaluation


87Table 4‑0‑22  : The eight Branch Offices of AAWSA and their Areas of Water Supply service


89Table 4‑23:  Mean weekly water supply day and mean daily water supply hours of the eight branches of Addis Ababa City in 2016


90Table 4‑24: Mean weekly water supply days and mean daily water supply days among the ten Sub cities of Addis Ababa during 2016


91Table 4‑25:  ANOVA Table of weekly supply days and daily water supplying hours and wereda of residence


93Table 4‑8: Population of Legedadi sub system during 2010-2015


94Table 4‑9: Summary of the number of domestic customers in the Legedadi subsystem


96Table 4‑26: Water balance during 2026-2030 under 30% groundwater yield reduction


99Table 4‑27: Projected water demand for projected population in selected years


105Table 4‑28: The eight branch offices of AAWSA and their areas of water supply service





Lists of Abbreviations and Acronyms

AAEPA

Addis Ababa Environmental Protection Authority 

AAiT

            Addis Ababa institute of Technology 

AAWSA
           Addis Ababa Water and Sewerage Authority

CGAA


City Government of Addis Ababa

CSA


Central Statics Authority of Ethiopia 

DSS


Decision Support System 

ECA


Economic Commission for Africa 

EPA


United States Environmental Protection Agency 

GWP


Global Water Partnership 

IUWM


Integrated Urban Water Management

IWRM


Integrated Water Resource Management  

l/c/d


Liter per Capita per Day 

MDG


Millennium Development Goal 

MoWUD

Ministry of Works and Urban Development  

NRW


Non-Revenue Water 

UN


United Nations  

UNCHS

The United Nations Center for Human Settlement 

UNDP


United Nations Development Program

UN-ECA

United Nations Economic Commission for Africa

UNESCO 

United Nations Educational, Scientific and Cultural Organization 

UN-HABITAT
United States Settlements Program 

WEAP


Water Evaluation And Planning System

Chapter One

1. Introduction  

1.1 Background 

Water is a precious natural resource that is vital for human survival, health and dignity as well as for physiological processes of all organisms (WHO, 2005). It is a fundamental resource for human development. It has social and economic values for human beings (Alcamo et al., 2007; Kathpolia and Kapoor, 2002). Safe and readily available water is important for public health, whether it is used for drinking, domestic use, food production or recreational purposes. Today, major cities face many daunting challenges, but water management is one of the most serious. Potable water is scarce, many sources of water must be treated at high cost and volumes of waste water are growing. 

The process of urbanization has several consequences that are either social, or economic or environmental. Similar to other developing regions, urban areas and populations which are growing in Ethiopia (Williams, 2000) are believed to continue as a major demographic trend (Engel et al., 2011) since 70% of the world’s population is projected to live in urban areas by 2050.

Cities emerge and grow accompanied with population growth as the result of human resources and labor force availability and their attraction to economic activities (Haughton and Hunter, 2004). Population growth and economic development put constant pressure on the ecosystems of water resources. There is a strong positive correlation between water demand and urbanization or population growth (Malmqvist and Rundle, 2002). There are authors like Halliday (2004) who have prophesied that the next world war will not be fought over by the lack of energy resources but rather on the lack of water. Similarly, Grigg (1997) has stated that comprehending the urban growth and clearly explaining options are two main requirements for effective decision-making about sustainable development of urban infrastructure.

Improved water supply and sanitation, and better management of water resources, can boost countries’ economic growth and can contribute greatly to poverty reduction. In 2010, the UN General Assembly explicitly recognized the human right to water and sanitation. Everyone has the right to sufficient, continuous, safe, acceptable, physically accessible, and affordable water for personal and domestic use. However, population growth and economic development are putting constant pressure on water resources (WEF, 2014). However, the available amount of water is limited, scarce, and unevenly distributed. It is as such not surprising that many urban centers are facing increasing water demand. Hence, proper management of the available resource is needed to satisfy the current and future demands. This urges urban water systems to provide safe water for different uses without harming the environment (Hellström et al., 2000).  As noted by Biswas (2008), many of the water problems have already become far too complex, interconnected and large to be handled by any one single institution.

Water consumption is showing increment due to climatic conditions, improving living standards and industrialization. Competitions among different sectors, between urban and peri-urban areas are also challenges (Meinzen-Dick and Jackson, 1996). The problem induced by increased water demand is exacerbated in urban areas due to aging infrastructure and lack of appreciation for the value of water by the public (Kallis and Coccossis, 2003; Kallis and Coccossis, 2002; Swyngedouw et al. 2002).

Many authors, including Solo et al., (1993) and Cronin et al. (2008) have summarized the major constraints that hinder the effor1ts of the various institutions to provide adequate water supply and sanitation as follows: institutional inadequacy and insufficiency of conventional approaches that did not recognize progressive improvement of infrastructure; supply-driven infrastructure provision sticking to rigid planning/ design standards and regulations; and high cost of conventional systems that did not recognize progressive improvement of infrastructure. Countries in which less than 50% of the population uses improved drinking water sources are all located in Sub Saharan Africa and Oceania (UNICEF and WHO, 2015).

Rapid urbanization over the last five decades is changing Africa’s landscape as well as generating formidable challenges for supplies of water and sanitation (UN-HABITAT, 2011). Yet, drinking water coverage in Africa has increased from 56% in 1990 to 64% in 2006 (WHO and UNICEF, 2008). Yet, the increase in coverage has not kept pace with population growth. Who/UNICEF (2015) report has recorded that in 2015 only 3 countries namely Angola, Equatorial Guinea and Papua New Guinea – have coverage of less than 50%, compared to 23 countries in 1990.
The majority of citizens in Ethiopia are unable to get access to the quantity and quality of potable water (Bekele and Leta, 2016). As the result of Ethiopia’s substantial progress in increasing water supply coverage, the country has developed a strong policy and planning framework. This includes the ambitious government led Universal Access Program that is backed by increased resource mobilization from both government and donor agencies (UNICEF and WSP, 2015). Many sources including Butterwoth et al., (2013) and Mason et al., (2013) that confirm water supply coverage in Ethiopia is on a strong upward trajectory. Hence, water supply coverage has risen from 19% in 1990 to 66% in 2009 62% in rural and 89% in urban (UNICEF and WSP, 2015). yet, the majority of the citizens in Ethiopia are unable to get access to the quantity and quality of potable water (Bekele and Leta, 2016).
 Addis Ababa City is supplied with water from groundwater (wells bored at Akaki wellfields, Legedadi wellfield and other wellfields), various springs and wells scattered throughout the city   and three main surface water sources (Legedadi, Dire and Geffersa reservoirs). The current accelerated urbanization of Addis Ababa has posed threats since the size and location of cities to some extent determine the types of threats posed and the types of possible solutions (WGP, 2011). AAWSA’s Business Plan (AAWSA, 2011) has projected water shortage in Addis Ababa will continue up to 2020. The 2007 census baseline data have shown that only 66 percent of the customers receive water supply for 24 hours a day. The current fierce competition among water users on the available freshwater has aggravated resource depletion and compromised the water access to low income domestic users (Sharma and Bereket, 2008). The uncontrolled sprawl of urban areas can also affect water supply both in terms of quantity and quality. 

1.2  Statement of the problem 

Growing cities face increasing and new challenges that affect the provision of basic urban services. Such new challenges have made effectiveness of business as-usual approaches questionable. AAWSA has been supplying water over the past several years. The authority has conducted some technical studies in the past and also has been recording useful data on water use and production. However, studies that synthesize existing data and technical studies to show the challenges and opportunities of Addis Ababa’s water supply is noticeably absent in the scientific literature. The data collected by AAWSA can be useful to understand the dynamics of water demand and supply in the city which can be a good addition to the limited empirical evidence of the water supply of big cities. Addis Ababa has spatially varying terrain characteristics and population density, which can lead to uneven distribution of water supply. However, spatial variation of water quantity and quality in the city is not well known. A quick and inexpensive approach to fill this knowledge gap was needed and was explored in this study through household surveys. 

There are still severe shortages and frequent interruptions of water supply in many parts of the city. The frequently experienced interruptions in the water distribution system cause agonies to many city residents. AAWSA has short term and long-term plans to improve the service delivery. In the short term (GTP II), some additional water sources and other management interventions are targeted. However, the implication of partially achieving these targets has not been explored yet. For instance, the current trend of developing new sources such as Gabriel and Sibilu dams is time taking. It is always difficult to predict changes in customers’ behavior to reduce water losses. 

Understanding people’s perception can help identify barriers to behavioral changes that are needed to achieve sustainable water management (Dessi and Floris, 2010) and effective formulation and implementation of policies (Patt and Schröter, 2008; Askew, 2012). Public perception of water quality is a key factor that governs the use (Alameddine et al., 2017), willingness to pay, water conservation, pollution abatement, and trust in water utilities (McDaniels et al. 1998; Means, 2002; Doria, 2010; Rodriguez-Sanchez and Sarabia-Sanchez 2016). Only few studies are conducted to explore the gap between customers’ expectations and their perceptions of the actual water service delivery (Mukokoma and Van Dijk, 2011).  Most of these studies address rural water supply and only few of them address metropolitan cities.

It is expected that water supply service providers face increasing challenges in big cities. The service quality may vary across cities, but all face complex and interrelated problems. As noted by the World Bank (2012), recognizing the importance of the interconnections and inter dependencies between urban planning, resource management, and service delivery enable cities develop in efficient, clean, resilient, and equitable manner. There is a knowledge gap in understanding the interconnections and interdependencies of the various factors which affect water supply systems of big cities.  The main problems facing AAWSA are summarized as follows:
1. Overexploitation of resources and resource depletion: The current fierce competition among water users on the available freshwater has aggravated resource depletion and compromised the water access to low income domestic users. Changing lifestyles, the construction of water intensive houses, improving living standard, changing climate, mode of service and affordability and others are putting pressure on the available water sources;
2. Aged, inadequate and inefficient water infrastructure: Water infrastructure in the city is as old as the city itself with severely deteriorated quality and capacity due to long years of service. This aging of infrastructures is likely to pose significant challenge to sustain and advance their achievements in protecting public health and the environment;
3. Problems related to water demand and supply, water tariffs and cost recovery: The present water price is not free of government subsidy since AAWSA is enhancing its sources without considering such factors like quantity, quality, reliability and safety of sources, water rights, environmental impact and others that are used to select sustainable source type;

4. Problems related to water quality: Most groundwater sources that are scattered in the city and downstream of the city are highly impacted by city residents. Many wells are abandoned due to water pollution by metals, fluoride, and nitrate. Industrial development in areas of present and future potential water sources is inducing water pollution;

5. Problems related to distribution system and water loss: The current water supply system has non uniform distribution with some areas getting water once in a week/two weeks. Water is highly concentrated in a few areas with a recorded water loss of over 37% due to inefficient water systems which are the major sources of water loss. Inefficient use and water loss at different points in the supply network has contributed to observed clear water poverty/scarcity;

6. Problems related to wastewater: The volume of water used by industries and the associated wastewater production is not clearly quantified since nonresidential vital water users have their own groundwater sources. Wastewater generated from such users is not exactly known by both AAEPA and AAWSA due to the absence of complete inventory and proper regulation. Such unlicensed wells might cause faster groundwater depletion. The existing wastewater has multiple sources. The existing infrastructure can cover only less than 7 percent of the wastewater generated;

7. Problems related to institutional, financial, and human resources issues: Weak institutions which are underfunded, politicized, ill- organized, and under staffed resulting in deteriorated infrastructure and low efficiencies. The absence of information technology application has complicated data management. Hence data are inconsistent, incomplete, missing out dated, and fragmented. Lack of integration among the operator AAWSA and its project office, AAEPA and major stakeholders is worsening the situation; and 

8. Problems related to policy and regulation: The traditional engineering –oriented responses to water demand is the development of additional water supply is demand side management. Weak regulatory frameworks preferred over incentive-based approaches, lack of or outdated legal frameworks and no enforcement, water resources management activities are diffused and fragmented particularly in private well licensing Such fragmented approaches are expensive, not long-lasting solutions and lead to irreversible environmental deadlocks responsible for the current situation (Koloytha et al., 2002). The present study was conducted to contribute in better understanding of the future challenges facing the city of Addis Ababa water supply and water resource management, solve this problem by suggesting alternative management strategies and provide policy makers a wider range of solutions, understand water’s interaction with other sectors to secure resilience under a range of future conditions.

1.3  Research objectives 
The main objective of this study was to describe historic and future water supply relation between water supply and demand, customers’ perceptions of their water services, scenario-based analysis of water balance to identify the cause – effect relation of the water supply current and future water supply situation of Addis Ababa City using an integrated scientific approach.

The specific objectives of the study were:

· Describe the status and trends of urban water consumption and supply in Addis Ababa City 

· Show customer’s satisfaction with their provision services of a metropolitan city in terms of quantity, quality and overall satisfaction

· Show scenario based analyzed water balance of the city Addis Ababa for the base line, short term and midterm planning horizons using plausible scenarios and water allocation model 

· Identify the relationship the various factors affecting the performance of the water supply service of Addis Ababa city through Problem Tree Analysis

1.4  Research Questions 

The following research questions were addressed here:

· How is the current water production allocated between different water user categories?

· Is there a spatial difference in the performance of the water service delivery?

· What is the satisfaction level of AAWSA’s customers in its service delivery?

· Can problem tree analysis enhance our understanding of the root causes for the customer’s dissatisfaction with Addis Ababa’s water supply?

· What unmet demands can be expected if current trends are projected into the future?

· What are the implications of plausible scenarios for the relationship between the water production and demand of Addis Ababa city?

1.5  Significance of the study 

Studying the past trends and current actual situations and the dynamics of Addis Ababa urban water services is believed to help to identify the pressing problems in the management aspects that hamper service delivery. Thus, the findings of this study are believed to be significant not only for Addis Ababa as lessons can be drawn from the water supply system of other African cities. 

The current study could serve as input to the concerned development actors of the city to evaluate past development actions of urbanization and identify further intervention areas. It may also help policy makers to draw lessons to sustainable urban, peri-urban development policy formulation. Researchers can make use of this study to strengthen the application of environmental and livelihoods integrated evaluation approaches. It can also be used as a complimentary reference to the hardly existing urbanization evaluation literature.
1.6  Structure of the thesis 
This thesis document is organized and presented with six chapters as described below:

Chapter 1: The background information is presented in this section. It also describes the research gaps, objectives and research questions which were addressed in this study. 

Chapter 2: Literature review was presented in this chapter. The reviews address issues in urban water supply and synthesize findings of past scientific studies. The importance of studying perception and application of problem tree analysis is reviewed. The application of the WEAP model in different countries, especially in urban regions, was also highlighted.

Chapter 3: In this chapter, the materials and methods which were applied in this study were presented. This study was conducted in Addis Ababa for most issues and limited to Legedadi subsystem in case of WEAP model simulation. The study has employed both secondary and primary data sources which were collected through the application of household surveys, key informant interviews and personal field observations as well as document analysis. Thus, both qualitative and quantitative research methods were used. It shows that a number of approaches from both natural and social sciences have been applied to address the stated research objectives.

Chapter 4: This is a chapter on

4.1 ‘’Evaluation of past, present and future situation of Addis Ababa City water supply system’’. The organizational structure and functioning of AAWSA was described followed by a description of the past and present water supply system of Addis Ababa city by analyzing data, reports and documents from relevant organizations. The monthly data which was collected by AAWSA was analyzed to understand the historical state of the water supply system.

· 4.2 The section on” Customers’ Perception of qquality of urban water Service in Addis Ababa, Ethiopia’’ has tried to describe the perception of customers about their water supply in terms of water quantity, physical water quality and the overall performance of the water supply services.

4.3. “Situation Analysis of the water supply service in Addis Ababa with WEAP”. Here, WEAP model was used to compare the future unmet demand, supply requirement and supply delivered and examining the reliability of the water supply system. This section has presented the model result of proposed strategies under a set of scenarios.

 4.4 “Root Causes to the lack of Urban Water Supply in Addis Ababa City’. In this section, a problem tree analysis was undertaken to identify primary, secondary and tertiary causes for the current water supply shortage in the city.

Chapter 5 The “Discussion’’ section links the findings in relation to the global literature and the promising strategy that were considered as the option to cope with water supply problems in the study area.

Chapter 6: The chapter on “Conclusion and Recommendations” presents a brief account of the generalizations made based on the findings of this study. It also includes some recommendations for future research and for long-term planning of the water supply system of Addis Ababa city.

1.7. Research Frame 
This study has employed the following schematic diagram (Figure 1‑1)as its research framework:
[image: image2.png]‘Research quastion.

I

Trems

Csanm

N

i

I

1
= Formva
ey
o

S e sy

A v el

Tt T A

o





Figure 1‑1:Schematic diagram of the Study framework


Chapter Two

 2. Literature Review 

2.1. Urban water supply
Water is the most vital public resource on earth for its indispensable role in sustaining life, ecosystems, economic and social values towards sustainable development of countries (Cutter et al., 2015). This precious and most important limited resource is unevenly distributed across space and time. The rising water scarcity is becoming a leading world problem (Chigwenya, 2010) particularly in urban areas of developing countries. Over 90 percent of the world’s population now has access to improved sources of drinking water (WHO, 2015). According to the same source, in 2015 71% of the global population (5.2 billion people) used a safely managed drinking-water service – that is, one located on premises, available when needed, and free from contamination. 89% of the global population (6.5 billion people) used at least a basic service which is an improved drinking-water source within a round trip of 30 minutes to collect water. Yet, 884 million people lack even a basic drinking-water service, including 159 million people who are dependent on surface water with at least 2 billion people using a drinking water source contaminated with feces.
Providing sufficient, affordable and safe water and sanitation for all has become a critical challenge of increasing concern in the 21st century due to freshwater shortage, rapid population growth, water pollution, and unsustainable use of water resources, adverse climate change impacts, rapidly growing water demand and absence of cooperative water management frameworks. Water underpins many of the millennium Development Goals (MDGs) in that water is a vital role in food production, which constitutes one part of eradicating hunger, and water has a fundamental role in hygiene which is the main vehicle for reducing infections and child mortality (Jägerskog et al., (2015). But so far, less attention has been paid to it.

 Water is explicitly included only in the targets of Goal 7of the millennium development goals though it is implied in others. The MDGs created momentum and constituted a vital instrument for focusing global attention on the lack of access to safe drinking water and sanitation. Consultative processes linked to the Post-2015 agenda highlighted the need to address the broader water agenda and the many institutional challenges such as lack of implementation capacity, weak stakeholder participation and unclear mandates within government structures (GWP, 2015; Jägerskog, et al., 2015). Among the 17 lists of proposed Sustainable Development Goals to be attained by 2030, list 6 (Goal 6) is secure water and sanitation for all for a sustainable world (Osborn et al., 2015; ICSU and ISSC, 2015; UNDP, 2006). Goal 6 intends to ensure availability and sustainable management of water and sanitation for all. 

Although there are few universal principles for sustainability, the ways of moving from those to policy implementation are many. Sustainable water system is part of sustainable development spurred by increasing urbanization, population increases, and climate change, the global issue of freshwater scarcity is likely to become more and more serious over the coming years (ICSU and ISSC, 2015; Hegerl et al., 2015; Qiang et al., 2008; Wanger et al., 2002; UNDP, 2000). Sustainable urban development as a process which will necessarily vary between cities, and evolve in different ways in each city (Haughton and Hunter, 2004) and the very notion of what constitutes a sustainable city will change over time. If the problem is not addressed, there is a threat that several of the Sustainable Development Goals will not be reachable.

Urbanization, a major change taking place globally (Uttara et al., 2012) and a growing phenomenon around the world (Hunnes, 2012), is one of the most powerful and visible anthropogenic forces on earth (Cui and Shi, 2012). As a process, urbanization leads to the growth of cities due to industrialization and economic development (Uttara et al., 2012). The accelerated growth of urbanization is a relatively recent phenomenon. It is affecting global economic development (Zhao and Wang, 2015; Dociu and Dunarintu, 2012), energy consumption (Xiao-Ong et al., 2015; Zhao and Wang, 2015), natural resource use (Simms and de Loë, 2010), and human well-being (ICSU, 2011; WHO, 2005).

The global urban population that was 30 percent in 1950 reached 54 percent in 2014 and is projected to grow to 66 percent by 2050 (UN, 2014). The next few decades will be the most rapid period of urban growth in human history with 2.6 billion additional urban dwellers are expected by 2050 (UNEP, 2012; UN, 2014). Thus, all regions are expected to urbanize further over the coming decades. Africa and Asia are urbanizing more rapidly than other regions of the world with nearly 90 per cent of the increase expected to concentrate in Asia and Africa (UN, 2014). Nevertheless, these two regions, which are projected to reach 56 and 64 percent urban by mid-century, respectively, are still expected to be less urbanized than other regions of the world. The rate of urbanization is highest in Asia and Africa, where currently the proportion urban is increased by 1.5 and 1.1 per cent per annum, respectively (UN, 2014).

Addis Ababa increased its size from 37.4km2 in 1970 to 230.35km2 in1999 (UNEP/UNESCO, 2005) and now its size has reached 540km2. Hence, the city expanded at a rate of 6.65 km2/year. This rapid urbanization will result in new water management challenges, particularly since an urban population in Sub Saharan Africa is expected to double over the next 20 years (Madlener et al., 2011). Ethiopia will be one of the countries in Africa having renewable water resources below the calculated threshold of 1500 m3/ /capita/year by the year 2030 (Yang et al., 2003).

Surface water use and provision of quality services to a growing urban population underpins the success of future cities, enables them to act as poles of economic growth, at the core of social and economic development in an urbanizing world (Jacobsen et al., 2013). Urbanization is rising and driving water demand. Rapid urbanization can hinder the development of adequate infrastructure (Roudi-Fahimi et al., 2002) and has denied one billion people worldwide access to clean water supplies and half of the world’s population lacks adequate water purification systems (Khatri and Vairavamoorthy, 2007).

2.2 Addis Ababa’s water supply system 

Addis Ababa is urbanizing and growing at a rapid pace. AAWSA is responsible for the supply of potable water as well as collection, treatment and disposal of wastewater and sludge for the city of Addis Ababa. This public institution is supervised by a board and directly responsible to the city manager. The city is already suffering from water scarcity that is expected to become even more significant due to rapid urbanization, increased individual water demand as incomes rises, and the impacts of climate change become real. The rapid growth of the city, the high rate of loss of water and the inadequacy of new source developing projects have an overall effect on the quality of water supply service of Addis Ababa city. The city is facing many infrastructural and environmental problems. High levels of water pollution (Gebre and Van Rooijen, 2010; Alemayehu, 2001), soil degradation and contamination (Melaku et al., 2007) are worsening the suffering. 
Climate variability is affecting the water stored in reservoirs of Addis Ababa (Girma, 2012).  According to AAWSA officials, Legedadi reservoir experienced a reduction of 1meter depth due to the 2015/2016 Ill Nino. Ayalew et al., (2012) reported that future temperature of Addis Ababa will increase by 0.37°C per decade, accompanied with the projected increased precipitation amount. The increase in temperature and the change in rainfall will have adverse effects to the city due to its impact on flood occurrence requiring the city to have a more robust drainage system. The waste and storm water system of Addis Ababa City that drains towards River Akaki and finally to Lake Aba Samuel is compromising on the quality of the river making it very dreadful. This has in turn caused a critical, but the immeasurable extent of suffering on downstream users (Antonaropoulos and Associates, 2013). Both livestock and people use this polluted river water for domestic or irrigation purposes with grave sanitation hazards. The extent of the pollution is not only limited to the nearby downstream communities, but also far reaching to remote inhabitants using the Awash River.

2.2.1 Water supply sources 

The metropolitan area of Addis Ababa is supplied with water from groundwater and three main surface water sources: Legedadi, Dire and Geffersa reservoirs.  They are all situated in the upper northwestern awash sub basin. Intensive crop cultivation and free grazing by livestock, soil erosion, chemical pollution and siltation of Legedadi and Gefersa dams are becoming very serious problems. The situation has drastically reduced the water holding capacity of the dams worsening shortages in the water supply. AAWSA expends millions of Birrs annually for treatment of the dams. Water from Dire reservoir is transferred to Legedadi for treatment (Antonaropoulos and associates, 2012) and water from Gefersa dam are treated at the Gefersa treatment plant.

Akaki well field is situated south east of Akaki town at about 22 km south of Addis Ababa covering an area of about 16 km2. Other groundwater sources include Akaki old city, Akaki New City, Akaki New City1, Akaki New City 2 well fields with different phases, Legedadi, Jemu, Asko, Mikililand, and other well fields with varying yields. There are scattered wells in the city, including Fanta, Asko Giorgis, Mikililand, Tsion Fuafate, Asama Erbata, and Abadir wells. The water wells located along the periphery of the city are capable of putting out 155,000 m3d-1.

2.2.2. Addis Ababa water supply system infrastructures

2.2.2.1 History and status of water supply in Addis Ababa City
Addis Ababa started getting piped water in 1901 (AAWSA, 2004). The first modern water supply system appeared when masonry channel was laid along Kebena River and the construction of earth dams around Sidist Kilo though 80milimter pipe in 1924. Increased demand and subsequent water supply shortages initiated the development of springs that originates from Intoto Mountain and other places. Several boreholes were also dug to augment the supply until the construction of the first dam, Gefersa I in 1942/43. 

Water supply was gradually extended over the years when the main supply projects (Gefersa, Legedadi and Dire reservoirs; Akaki underground schemes together with a number of wells and springs scattered in and outside the city) came into operation (AAWSA, 2004). The distribution system was initially installed at the time the dams and treatment plants were constructed (1942-43 for Gefersa and 1970 for Legedadi). The existing treatment plants at Gefersa and Legedadi have design capacities of 30,000 and 165,000 (now improved to 195,000) m3/d respectively. Raw water transferred from the two water treatment plants via ductile cast iron pipes is conveyed to the city through steel pipes. The water supplied for Addis Ababa return as a large volume of wastewater and contributes to the Akaki river flow. Today, most of the springs are abandoned due to water quality deteriorations. In 2016 the daily production capacity of AAWSA has reached 601,000 m3.

2.2.2.2. Water supply sources of Addis Ababa city 

The three surface water sources for the city of Addis Ababa are Legedadi, Gefersa and Dire reservoirs. They are all situated in the upper northwestern awash sub basin. Intensive crop cultivation and free grazing by livestock, soil erosion, chemical pollution and siltation of Legedadi and Gefersa dams are becoming very serious problems. The situation has drastically reduced the water holding capacity of the dams worsening shortages in the water supply. AAWSA expends millions of Birrs annually for treatment of the dams. Water from Dire reservoir is transferred to Legedadi for treatment (Antonaropoulos and associates, 2012) and water from Gefersa dam are treated at the Gefersa treatment plant.

Gefersa Dam: Gefersa dam, the first conventional surface water supply for Addis Ababa source is situated west of Addis Ababa along the road to Ambo town was originally constructed in 1942.  It consisted of a masonry structure approximately 9 m in height. The dam was raised to 16 m crest height in 1955 which translated to an increased storage capacity of 6,200, 000 m3. The operation of the treatment plant was commissioned in 1960. Gefersa III earth fill dam with an impoundment capacity of 1,200,000 m3 and approximate height of 15 m and a crest length of 220 m was constructed in 1966 to augment the Gefarsa main reservoir. Gefersa subsystem comprises supplies from Gefersa water treatment plant to service reservoirs of Rufael, Saint Paul, and Ras Hailu. This first dam in the capital has the capacity to disperse 30,000 m3/d.

Legedadi Dam.: Legedadi dam is situated to the east of Addis Ababa consisting of a rock fill section 22 m high and 600 m long, in combination with a concrete buttress 44 m high and 400 m long. It has a storage capacity of 44,000,000 m3. Overflow is controlled by gates. The dam, together with its 50,000 m3/d treatment plant, was commissioned in 1970. The treatment plant’s capacity was increased to 150,000 m3/d, by the completion of the expansion works in 1985. Legedadi subsystem includes supplies from Legedadi water treatment plant to service reservoirs of Kotebe terminal, Karalo, Ankorcha, Jan Meda, Gebrial Palace, Teferi Mekonnen, Entoto, Belay Zeleke, Police Hospital, Army Hospital and Kasa Gebre; and to pumping stations at Urale and Mexico Square. It churns out 195,000 m3/d of water daily.
Dire dam: Dire dam is located about 10 km North of Legedadi dam. It was constructed in 1999 to complement Legedadi reservoir. Its impoundment capacity of 19,000,000 m3 allowed the Legedadi treatment plant to operate to its design capacity. Height raising activities have started to increase by 1.25 m to enhance the volume capacity of the reservoir. The major characteristics of surface water supply source catchments are summarized in Table 2‑1 below: 

Table 2‑1:   Major characteristics of surface water sources
	Name of reservoir 
	Legedadi 
	Dire 
	Gefersa I
	Gefersa II
	Gefersa III

	Year of construction 
	1967-70
	1999
	1942-44
	1955
	1966

	Capacity (106 m3)
	40
	13
	7
	1
	 

	Runoff (106 m3)
	70
	40
	27
	 
	 

	Surface Area (Km2)
	4.4
	1.3
	1.4
	0.4
	 

	Dam size (length, width) (m)
	22, 600 
	46, 665 m
	15, 150 
	18 m, 220
	 

	Catchment Area (Km2)
	225
	72
	58
	 
	 

	Supply rate 
	127000
	38000
	30000
	 
	 


Source: AAWSA (2002) Report

To augment surface water sources and alleviate water shortage in the city, AAWSA drilled deep boreholes in the southern part of the city that pump water to the system. Akaki well field is situated south east of Akaki town at about 22 km south of Addis Ababa covering an area of about 16 km2. Other groundwater sources include Akaki old city, Akaki New City, Akaki New City1, Akaki New City 2 well fields with different phases, Legedadi, Jemu, Asko, Mikililand, and other well fields with varying yields. There are scattered wells in the city, including Fanta, Asko Giorgis, Mikililand, Tsion Fuafate, Asama Erbata, and Abadir wells. The water wells located along the periphery of the city are capable of putting out 155,000 m3d-1.

Akaki well fields have yields of 43,000 m3/d and 7300 m3/d. While Akaki old city well field was put into operation in 2001, the new Akaki well field was commissioned in 2012. New Akaki City1 well field, which is situated about 15 km south of Addis Ababa (back of Gelan Condominium), started operation in 2012. Akaki subsystem includes the supply of water from Akaki well field to collection tanks namely Groundwater Collection Tanks GW1, GW2, and GW3 that are located at Kality, Saris Abo and Nefas Silk branch Office compound respectively), Bole Bulbula service reservoir and Lebu service reservoir.

2.2.2.3 Water supply system components 

AAWSA’s water distribution system comprises of service reservoirs, pumping stations, appurtenances and pipelines. Construction of the distribution system started in 1938 and continues until today. This system comprises water sources (dams and/or wells, springs), raw water collection structures or tanks, Akaki and Gefersa treatment plants, delivery system (distribution network/, transmission lines), service reservoirs, supply reservoirs, pipes, pumps and motors, Kality WWTP, Kality and Kotebe sludge drying beds, different appurtenances and other essential accessories as its main infrastructures as depicted in Figure 2‑1 below 
.

[image: image1.jpg]EIABC

Ethiopian Institute of Architecture,

Building Construction and City Development
PRACHE ACHENTCT VI 7303 B Wbl AT 1™
Addis Ababa University

A%D A0 RCA A





[image: image33.emf] 

Treatment plant   

source    

Storage   

Distribution    system  

Sewer systems     


Climate variability is affecting the water stored in reservoirs of Addis Ababa (Girma, 2012). For instance, Legedadi reservoir experienced a reduction of 1meter depth due to the 2015/2016 Ill Nino. Ayalew et al., (2012) reported that future temperature of Addis Ababa will increase by 0.37°C per decade, accompanied with the projected increased precipitation amount. The increase in temperature and the change in rainfall will have adverse effects to the city due to its impact on flood occurrence requiring the city to have a more robust drainage system. The waste and storm water system of Addis Ababa City that drains towards Akaki River and finally to Aba Samuel Lake is compromising on the quality of the river making it very dreadful. This has in turn caused a critical, but the immeasurable extent of suffering on downstream users (Antonaropoulos and Associates, 2013). Both livestock and people use this polluted river water for domestic or irrigation purposes with grave sanitation hazards. The extent of the pollution is not only limited to the nearby downstream communities, but also far reaching to remote inhabitants using the Awash River.

2.2.3 Water quality

Water quality data analyzed from desk reviews of previous studies are summarized below: At present, most water sources are being contaminated with municipal sewage, industrial waste, industrial toxics, heavy metals, fertilizers, chemicals, radioactive substances, land sediment, and oil as noted by Abate (1994). 

Although all streams in the upper part are free from pollution, the water quality at the lower part of the city has deteriorated gradually by organic pollution from domestic and municipal wastes. The problem is exacerbated during dry seasons when the flow of most streams is low (Berhe, 1988). Many industries are discharging industrial effluents into Little and Greater Akaki Rivers. There is an increasing concentration of heavy metal pollution, coliform and pathogen pollution in the surface water and groundwater sources (Alemayehu et al., 2003). Nitrate concentrations of higher than the accepted normal concentration of 10 mg/l were found in Surface water. Similarly, a study by UNEP/UNESCO (2005) has found high bacteriological concentrations in various groundwater bodies (springs, boreholes and dug wells). Downstream concentration of both total coliforms and E. coli was higher than upstream (                       Table 2‑2).

                       Table 2‑2:  Concentrations of total Coliforms and E. Coli in major surface water of   

                                       Addis   Ababa City in January 2005 (based on Haile and Abiye, 2012)
	Stream 


	Total coliforms (per 100ml)
	E. coli/100ml 

	Little Akaki Upstream 
	2.4 x10 4
	2.4x104

	Little Akaki down stream 
	3.5 x10 6
	3.5 x10 6

	Big Akaki upstream 
	170
	2

	Big Akaki downstream 
	5.4 x10 5
	2.4 x10 5

	Lideta River 
	5.4 x10 6
	5.4 x10 6


The above finding suggests that the quality of groundwater in Addis Ababa is influenced by the quality of Surface water (rivers) and availability of pollution sources near by the water points. Many water professionals including Jafar et al. (2013) classify groundwater quality into excellent, good, poor, very poor and unsuitable for drinking based the water quality index that takes into account the nine parameters (pH, Total Dissolved Solids, Total hardness, Calcium, Magnesium, Sulphates, chlorides, fluorides and nitrates) where the index values are less than 50, 50-100, 101-200, 201 -300 and more than 300 in that order. Similarly, Tsegaye (2014) has reclassified the groundwater sources of Addis Ababa into four classes as flows based on his findings (Table 2‑3). 

Table 2‑3: The four classes of groundwater sources

	No.
	Area (km2)
	Percent (%)
	Water class 

	1.       
	422.17
	78.18
	Excellent 

	2.       
	112.62
	20.86
	Good

	3.       
	4.87
	0.9
	Poor 

	4.       
	0.34
	0.06
	Very poor 


Source: Adapted from Tsegaye (2014)

With regard to the quality and pollution status of Addis Ababa city water supply situation, Shitie (2011) has detected total coliforms in few water samples but within the permissible limits of WHO and Ethiopian Standard guidelines for drinking. The same study has also shown high electrical conductivity and toxic substances such as nitrates, phosphate and iron that displayed unexpectedly higher values and significant spatial variations. Secondary bacteriological analysis of time series data indicates occasional records in the piped waters. Microbiological analysis of raw water sampled from Legedadi and Gefersa showed Total Coliforms and Fecal Coliform >1MPN/100ml (most probable Number) (Shitie, 2011). Such observations can be associated with human activities.

The Total Coliform value of more than 1 MPN/100 ml observed at Akaki reservoirs and tap water might suggest inadequate treatment and possible regrowth or biofilm formation in the distribution system. The same researcher has recorded levels of iron exceeding the WHO guideline value of 0.3mg lit-1 in drinking water. This concentration was found to be higher in surface water than in groundwater. Contrary to the decreased value of iron concentration of surface water after treatment, the few enhanced cases could be related to corrosion of pipes and local breakage. Dependence only on single pump tests is not reliable in indicating both water quantity and quality. Some wells were abandoned at different location at different time such as the one around Lideta because of excess nitrate having a concentration value of greater than 50 ppm and three wells around CMC were abandoned due to excess fluoride. Excess Iron and Manganese wells are common in many parts of the city. These common water contaminants are not health hazards except they may cause offensive taste, appearance, and staining. 

Industries don’t treat their effluents but release them into the nearby water bodies such as big Akaki River. Opposed to AAWSA’s claim of 99.3% quality water provision, the above findings and the abandoning of many wells and springs in different parts of the city due to high levels of nitrate, manganese, and Iron as reported by the utility’s anonymous professionals suggest that water quality is an issue of further investigation in Addis Ababa water supply system. 

2.3. The importance of perception studies 

Perception refers to a range of judgments, beliefs, and attitudes (Anderson et al., 2004). It can be viewed as an individual’s feeling of pleasure or disappointment resulting from comparing a product’s or service’s perceived performance (outcome) in relation to his or her expectations (Angelova and Zekiri, 2011). In the context of this study, perception can be defined as the valued judgments of the stakeholders relating to the infrastructural facilities of municipal towns (Alam et al., 2011). It should be noted that the reception of stimuli and previous individual experiences comprises an individual interpretation of the surroundings (Schiffman and Kanuk, 2010). Perception is a personnel phenomenon in which the reception of stimuli and previous individual experiences comprises an individual interpretation of the surroundings (Schiffman and Kanuk, 2010). It can be viewed as an individual’s feeling of pleasure or disappointment resulting from comparing a product’s or service’s perceived performance (outcome) in relation to his or her expectations (Angelova and Zekiri, 2011). Perceptions refer to a range of judgments, beliefs, and attitudes (Anderson et al., 2004). Parasuraman et al., (1985 and 1988) have provided a basis for this common understanding based on the gap between the customer’s expectation and their perceived experience of performance. 

Perception patterns are analyzed through the basic understanding of the behavior of the people in terms of their opinion, attitudes, and levels of satisfaction. These parameters are taken as proxy to evaluate how much customers are getting and what their expectations are. Perceptions are important to study about urban infrastructure since there is a wide gap between minimum entitlement of the service provisions and the supply constraints of authorities (IIR, 2006). Hence, perception studies are usually conducted in urban water facilities; sanitation and waste management facilities; road and transportation facilities; educational facilities; and health facilities (Haque, 2016).

Water demand management strategies are strongly underpinned by an understanding and knowledge of how consumers perceive and use their water (Jones et al. 2010; Jorgensen et al. 2009). Beal et al. (2011) have shown that householders’ perceptions of their water use are often not well matched with their actual water use. Contrary to this, there has been less research investigating whether this bias is related to specific categories of end use and/or specific types of social-demographic and socio-psychological household profiles.

A perception can be deceiving, especially when one considers the role and involvement of various actors in the establishment process (Karar, 2017). It may also become complex when stakeholders bring with them their own issues, perceptions, expectations and interests. As noted by Guyot-Téphany et al. (2013), negative perceptions regarding the quality of available water reinforce such practices: Why should someone care about reducing consumption when their tap water is barely good enough to wash the dishes?

We can obtain perception data from survey of stakeholders’ opinions through a structured questionnaire. As the end use of water is influenced by a number of subjective water use practices within a household, surveys or questionnaires provide important information about water users. Perception data in combination socio-demographic information can facilitate the identification of correlations between water behaviors and key demographic subsets within a population (e.g. Income, age, gender and family composition). High numeracy scores, older age, and male sex were associated with more accurate perceptions of water use (Attari, 2014). The same author reported that the overall perception of water use is more accurate than the perception of energy consumption and savings.

Customer satisfaction is an abstract concept with varying actual manifestations and thus conceptualized differently (Oliver, 1981; Parasuramann et al. 1985; Brady and Robertson, 2001; Kaplan, 2005; Benington, 2007). Customer perceptions of a service provides solid base for understanding what influences customer perceptions of service and the relationships among customer satisfaction, service quality, and individual service encounter. Customer perception demonstrates the meaning and importance of customer satisfaction, the factors that influence it and the significant outcomes resulting from it. Perceptions are strongly linked to behavior as they can predict or change behavior (Petrescu, 2013) and they sometimes become the reality replacing the objectively measured facts especially when it comes to the quality of drinking water (Sheat, 1992). Such public perceptions tend to be often worse than what is suggested by actual water quality assessment (Mc Daniels et al., 1998), Lazo et al., 2009 and Larson et al. 2009). 

Combinations of different factors including changes in the social role of science, complexity and uncertainty contributes to the emergence of the general public as an important factor in water management (Doria, 2010). Thus, citizen feedback is considered an effective means for improving the performance of public utilities (Deichmann, and Lall, 2003), one reason to study them. Some limitations of perceptions are:

1) Households’ perception of their water is often not well matched with their actual water use (Beal et al., 2011);

2) Customers know that they need pressure, know if they don’t have water out of their tap but beyond that they have only a small understanding of “the what is” required to run a safe and efficient water supply system;

3) Failing to quantify and/or dismissing public perception can be damaging towards the survival of modern water providers and has been linked to the worrying trend of consumers abandoning tap water in favor of bottled water, and the inability of utilities to fulﬁll their central mission of providing adequate supplies of acceptable-quality at a reasonable cost (Means. 2002 and Baroque, 2003); and

4) Different factors including human sensory perceptions of taste, odor and color of water are related with mental factors. 

Understanding people’s perception can help identify barriers to behavioral changes that are needed to achieve sustainable water management (Dessi and Floris, 2010) and effective formulation and implementation of policies (Patt and Schröter, 2008 and Askew, 2012). Public perception of water quality is a key factor that governs the use (Alameddine et al., 2017), willingness to pay, water conservation, pollution abatement, and trust in water utilities (Mc Daniels et al. 1998; Means, 2002; Doria, 2010; Rodriguez-Sanchez and Sarabia-Sanchez 2016). The few studies conducted to explore the gap between customers’ expectations and their perceptions of the actual water service delivery improvement (Mukokoma and Van Dijk, 2011) are to support prioritization in developing water service delivery improvement

2.4. Decision making in water management 

The constantly shifting conditions of the urban water cycle are continually impacted by changes in population, urban development, wealth, politics, technology, climate, and others in a multitude of different ways (Philip et al., 2011). Estimating the current and future impact of these changes on water supply and demand is not an easy task. Still, urban water managers have to take decisions today that are the right ones for coping with future change. This involves proper planning and decision making for average lifetimes of infrastructures which may exceed 50 years. Planning is a continuous process, which involves decisions, or choices, about alternative ways of using available resources, with the aim of achieving particular goals at some time in the future (Conyers and Hill, 1989).

System dynamics is a problem evaluation approach which is based on the premise that the way essential system components are connected generates its behavior (Richard and Pugh, 1989; Sterman, 2000).  It is not a new way of modeling future dynamics of complex systems (Stave, 2003).  Sharifi and Rodriguez (2002) have stated that model-based planning support systems are useful to support logical, rational and transparent decision-making processes. They have developed and used the following framework for the planning and decision-making process for policy formulation in water resources rehabilitation:

· Define and describe the system in terms of content, environment, boundaries, space and time: ‘description and representation’.

· Understand how the system operates, which requires establishing the functional and structural relationships among its elements: ‘process/behavioral model of the system’.

· Assess the current state of system, and see if is desirable (the system is currently working well?) which requires the ability to appraise and judge the current state of the system: ‘evaluation of current situation/problem formulation’,

· Formulate objectives, clarify the goals and objectives of the decision and identify what should be achieved, and how the achievement should be measured.

· Study the ways that the current state of the system can be altered or improved, in terms of actions, time and space, which requires development of a simulation model to generate the required type of changes: ‘planning model’,

· Simulate different states of the system under desired changes: development of alternative options, plans, and scenarios,

· Assess the impacts of the different changes introduced, scenarios: ‘impact assessment /effects. and

· Decide on the type of changes: ‘decision’ which requires the comparative evaluation of impacts of alternatives changes, and decision on the change or conservation of the system as it exists: ‘evaluation and decision/choice’

Decision making must consider a range of different, and often conflicting, needs and opinions since the numerous stakeholders’ influence, or are influenced by, urban water management. A Decision support system does not make decisions but rather manages and presents information in a way that is easily understandable by decision makers. It is a tool to learn from past actions and explore potential interventions. Thus, it can be used for the following purposes within an integrated approach to decision making:

· Assessing the impact of different strategies through holistic evaluation of the system (Ong and Salle, 2014);

· Optimizing potential interventions based on defined criteria; analyzing the likely response of the system under different future scenarios (Montibeller and Franco, 2010); and 

· Providing a data storage facility and source of knowledge. In order to perform these functions, a decision support system will usually consist of the following three integrated components: knowledge database, modeling programs, and user interface.

2.4.1 Issues in decision making in urban water supply

The consequences of decision making in urban water management should not be overestimated due to many unknowns in the future (Larson et al., 2015). Among the variety of reasons for bad decisions in the water sector, making decisions based on knowledge that is limited to a particular sector and/or narrowly defined assessment criteria; and deciding based on assumptions on how the future will pan out stand out most important. The authors have outlined the following as reasons:

Lack of data: accessing and interpreting data, making can be time consuming and costly;

Fragmentation of the water sector: The different sectors of often operate in isolation from one another, resulting in a lack of incentive and/or ability to consider impacts outside of the main area of responsibility;

Limited perception of future variability: The design of most standard water management interventions relies on assumed future conditions taking decisions based on a defined range of future variability which is difficult to predict;

Exclusion of data: while criteria such as construction costs and amount of water delivered are easy to quantify and make use of in a decision-making process, indirect criteria such as environmental and social costs and benefits are more difficult to put a figure to which disguises their true value and reduces their influence; and 

Lack of stakeholder engagement: Stakeholder engagement in water management decision making process often extends no further than the public announcement of a decision that has already been taken.

2.4.2 Integrated urban water resources management 
Growing pressures on water resources, increasing interdependencies between users, uncertain impacts of climate changes, the use of modern precision technology and an associated increase in demands for reliable water services are some of the factors underlying an ever-increasing complexity in water resources management. The management of water supply, sanitation and storm water has not occurred in concert, rather each has been planned and delivered as an isolated service missing the interconnections among problems and potential solutions. This has resulted in the main today’s question of how-to best support stakeholders in managing their water demands in a context of increasing competition and interdependency (Hermans et al., 2006).

Urban water management sits within a highly demanding decisional environment where optimal planning, pre-supposes a synthesis of complex, heterogeneous information and data of varied spatial and temporal resolution but which must focus on site-specific implementation (Ellis et al., 2011). The way urban water is managed influences almost every aspect of our urban environment and quality of life. Conventional urban water management practice is the tradition of managing the elements of the urban water system as an isolated service and has resulted in an unbalanced urban metabolism (Novotny, 2010) as well as separated issues from broader urban planning process (Bahri, 2012). This model has failed to distinguish between different water qualities and to identify users for them (Steen, 2006). It has been found wanting in its ability to address key challenges for growing cities such as increasing competition for water, sanitation and storm water management and water resources protection (Loucks and Van Beek, 2017). It appears to be outdated given the challenges posed by urban growth and climate change (Bahri, 2012).

The characteristics of conventional approaches to urban water management are: storm water collection and disposal using concrete channels and pipes, centralized wastewater collection and treatment, increased water demand is met through new supplies, standard engineering solutions are applied, different sectors of the water cycle are managed separately, lack of integration, lack of flexibility, and energy intensive. This has resulted in the diversion of high –quality water for indiscriminate urban water needs, in the process contributing towards resource scarcity. Owed to the failure of the traditional urban water-management model to distinguish between different water qualities and identify uses for them, high-quality water has been diverted to indiscriminate urban water needs (Steen, 2006).

On the other hand, integrated Urban Water Management (IUWM) calls for the alignment of urban development and basin management to achieve sustainable economic, social, and environmental goals. It brings together water supply, sanitation, storm- and wastewater management and integrates these with land use planning and economic development (GWP, 2013) Cross-sector relationships are strengthened through a common working culture, collective goals and benefits are better articulated, and differences in power and resources can be negotiated. IUWM includes assessments to determine the quantity and quality of a water resource, estimate current and future demands, and anticipate the effects of climate change (Bahri, 2012). It is being considered in many cities around the world as a response to the water scarcity and increasing demand for water for both human consumption and meeting environmental needs. This emerging and alternative approach for urban water utilities to plan and manage urban water systems is seen by some urban water managers as a response to societal and statutory demands for multiple-bottom-line outcomes (Gabe et al., 2009). IUWM is managing freshwater, waste water and storm water as components of a basin-wide plan in an urban area (Sunita, 2012). It is the practice of managing fresh water, wastewater, and storm water as links within the resource management structure using an urban area as the unit of management. 

It seeks to develop efficient and flexible urban water systems by adopting a diversity of technologies to supply and secure water for urban areas. It can be applied to any urban area by any water utility that is wishing to make the most of its water resources while minimizing impacts on the environment. In addition to improved planning and management, the efficiency of securing and sustaining water resources for expanding cities can be increased through the implementation of alternative solutions like: innovative technologies planned around new urban clusters; decentralized infrastructure, and diversification of water sources. Best management practices can cope with (be easily adapted to cope with) a wider range of rainfall runoff rates than underground drainage pipes with fixed diameters
 ( Table 2‑4).

Table 2‑4: Comparison of conventional and integrated approaches of decision making

	Aspect of decision-making
	Conventional approach 
	Integrated approach

	Scope of the decision-making process
	Single management sector
	Urban development as a whole

	Future uncertainty
	The future is predicted as a fixed scenario
	The future is acknowledged as being uncertain

	Use of indicators
	Performance indicators, limited set of sector goals 
	Sustainability indicators               overall urban development 


2.4.3. Water Resources management models 

Accurate and informative integrated water models can help water managers better understand current and future issues within their catchment. Water resources planning and management, which was generally an exercise-based on engineering considerations in the past, is nowadays increasingly occurring as a part of complex, multi-disciplinary analysis that brings together a wide range of individuals and organizations with different interests, technical skills, and options (Yates et al., 2005; Hamlat et al., 2013). Thus, successful planning and management of water resources requires application of effective integrated water resources management (IWRM) models that can solve the encountering complex problems in these multi-disciplinary investigations (Loucks and Van Beek, 2017; Laín, 2008).

As noted by Watkins and McKinney (1995), water resource planning and management processes aided IWRM models have become more common, however generic tools that can be applied to different basin settings are frequently difficult to use because of the complex operating rules that govern individual water resource systems. Water resource models can simultaneously incorporate and operate hydrology and management processes, are needed to help planners under different reality cases and management options (Yates et al., 2005). The models must be effective, useful, easy-to-use, and adaptive to planners’ priorities while dealing biophysical system, which create runoff generation and its movement, and the socioeconomic management system, which create water storage, allocation, and delivery. 

2.5. WEAP 

Water Evaluation and Analysis Planning (WEAP) is a computer tool for integrated water resources planning and provides a comprehensive, flexible and user-friendly framework for policy analysis. It incorporates water supply side and water demand side issues as well as water quality and ecosystem preservation issues (SEI, 2011). It simulates water supply system operation of a city on a user defined time step; computes the water mass balance for all water supply and demand sites, and evaluates and forecasts water development and management scenarios for the future (SEI, 2011; Hamlat et al., 2013). Its analysis results assist planners and water supply authorities in developing recommendation for future water supply and demand management. 

WEAP model description:
WEAP is developed by the Stockholm Environment Institute’s US Center (SEI-US). The current version is officially labeled as WEAP21 to distinguish from previous versions. WEAP21 combines water resources planning and management with a selection of conceptually simple models for watershed hydrology. It operates on the basic principle of a water balance and can be applied to a single watershed or the complex trans-boundary river basin (Yates et al., 2005; Psomas et al., 2016). Water allocation is performed by using linear programming on a daily or monthly basis.

It takes into account the schematization approach for the physical system (Riepl, 2013). The components of the natural system (catchments, aquifers, rivers and lakes) and the components of the technical system (reservoirs, boreholes, diversions, pipes, canals, cities, wastewater treatment plants, hydropower facilities and irrigated farms) are schematized using a network of interconnected model elements without geographical reference. 

Model elements can fall into two main categories: nodes, where water is demanded or made available for supply, and links, which transfer water between the nodes. WEAP21 allows the user to specify demand priorities, supply preferences and environmental requirements for the various nodes. WEAP21 allows for the introduction of user-defined variables and scripts, dynamic links to spreadsheets, coupling with water quality, groundwater and energy models, flexible scenario building and analysis and visualization of model variables or output results (Sieber and Purkey, 2015).

Applications of WEAP model:

The WEAP model was first developed in 1988 with its first major application of studying water development strategies and water supply-demand analysis (Raskin et al., 1992). It has the capability for a multiple-use river and reservoir (Johnson, 2010) although it has several limitations relating to allocation scheme, demand sites priorities, water allocations. Over the years, a modern Graphic User Interface and a robust solution algorithm to solve the water allocation problem were introduced. It also integrated hydrologic sub modules such as a conceptual rainfall-runoff model, an alluvial groundwater model, and a water quality model (Yates et al., 2005). 

WEAP has been applied in many countries and river basins over two decades (Arranz and Mc Cartney, 2007; Mc Cornick et al., 2002). The application of the WEAP model can support integrated water resources management, sustainable water use, and to project the impacts of population growth and climate change on urban and environmental water demand and supply. Van Loon and Droogers (2006) have shown that WEAP is a powerful framework in the evaluating of current and future options of water resources, and evaluation can be performed within a few minutes by adding more accurate data to increase the accuracy of the analysis and validation of results. Assaf and Saadeh (2006) applied it to evaluate future scenarios for water quality control.

WEAP modeling allows discussions and dialogue among decision makers and local stakeholders, and promotion of public awareness and understanding of key issues and concerns (Lévite et al., 2003). It also provides a structure that allows a broad range of studies to be implemented using the built-in models. 

The WEAP model was applied to major agricultural regions in Argentina, Brazil, China, Hungary, Romania, and the US to evaluate future scenarios about climate change, agricultural yield, population, technology, and economic growth (Rosenzweig et al., 2004). Purkey et al., (1998) used WEAP in the groundwater banking feasibility study in California by analyzing hydrology, legal and institutional, operation and economics aspect. Strzepek et al. (1999) introduced new methods of linking integrated water resources management models (WATBAL for water supply, CERES, SOYGRO, CROPWAT for crops and irrigation modeling, and WEAP for planning and water demand forecasting) with climate change scenarios for the study of future water availability in the U.S. Cornbelt’s agriculture. WEAP’s limitations can make it challenging to extend into areas that do not fit the situations for which WEAP is designed (Sieber et al., 2005; Yates et al., 2005). The main limitation is an access to calculations. For instance, users cannot access the linear programming model to modify as per their needs. This can be significant limitation where short-term dynamics.

WEAP model is applied in Ethiopia for the following purposes:

· Assessing the impacts of existing and future demand on economic and environmental aspects (Shumet and Mengistu, 2016);

· Development of water allocation and utilization systems for Koka reservoir under climate change and irrigation development scenarios (Fufa, 2016);

· Simulating current and future water demand in the Blue Nile CP19 project (McCartney et al., 2009);

· Water and land management in the Ethiopian Highlands (Awulachew, et al., 2009);

·  Modeling of surface water resource allocation in a sub basin (Adgolign et al., 2016);

· Analyzing water use and demand in Tana Basin (Hoff et al., 2007), 

WEAP application includes the following steps (SEI, 2011): 

· Setting up the study definition, which includes the spatial boundary, the time frame, the system components, and the configuration of the problem; 

· Entering data on the current accounts, which provides an overview of the actual situation of the system (water demand, supply resources, pollution loads), and can also be viewed as a calibration step in the development of an application; 

· Creating key assumptions in the current accounts, if necessary, which represent policies, costs and factors that affect demand, pollution, supply, and hydrology; 

· Building scenarios on the current accounts, which can be explored the impacts of alternatives on the future water supply and demand; and

· Evaluating scenarios, regarding with water demand coverage, costs, compatibility with environmental targets, and sensitivity to uncertainty.

2.2.1. Problem tree analysis methods for urban water supply planning

The problem tree method is a planning method used based on needs. The problem trees establish cause and effect to ensure that root problems are identified and then addressed. As a participatory planning technique, problem tree analysis was used to overview all the known causes and effects of the identified problems based on the above three sections of the situation analysis studies. Problem Tree Analysis is a participatory planning technique which provides an overview of the known causes and effects of the identified problem. It creates ownership and commitment among the involved parties: beneficiaries, implementing organization, and local government. It is of prime importance with regard to project planning since it strongly influences the design of the possible interventions (Cervante et al., 2008). Problem tree analysis also called situation analysis or just problem analysis helps to find solutions by mapping out the anatomy of cause and effect around an issue in a similar way to a mind map, but with more structure. This brings several advantages. It includes definition of the framework and the subject of analysis; identification of problems faced by target groups and beneficiaries; and visualization of the problem in the form of a diagram, called “problem tree” to help analyze and clarify cause-effect relationships (EC, 2004). The problem Tree shows the main problem by the trunk, the causes of the core problem by roots while the branches represent its effects.

The problem tree analysis is essential to many forms of project planning of water supply systems. Both demand and supply side management of a water supply project should be based upon a correct and complete analysis of the existing situation to address the real needs of the beneficiaries. Hence, applying the problem tree method supports the identification of the main problems along with their causes and effects. Thus, it helps experts and project planners to formulate clear and manageable objectives, how to improve and make sanitation and water system more sustainable. The process can be a useful method in building a community’s awareness of the problem, how they and others contribute to the problem, and how these problems affect their lives.

ODI (2009) has summarized the advantages of the problem tree as follows:

· It can be broken down into manageable and definable chunks enabling a clearer prioritization of factors and helps focus objectives;

· It helps to a better understanding of the problem and its often interconnected and even contradictory causes which is often the first step in finding win-win solutions;

· It identifies the constituent issues and arguments, and can help establish who and what the political actors and processes are at each stage;

· It can help establish whether further information, evidence or resources are required to make a strong case, or build a convincing solution; and 

· Present issues rather than apparent, future or past issues that are dealt with and identified. The process of analysis often helps build a shared sense of understanding, purpose and action The disadvantages of this method include: it may be difficult to understand all effects and causes of a problem right from the beginning, requires time to bring all relevant actors together and to discuss the problems of their water and sanitation system. 

Chapter Three

3. Materials and Method  

3.1 Study area description

This study was conducted in Addis Ababa city (Figure 3‑1). It was founded by Emperor Menelik II in 1886 (Tegegne et al., 2015) although others have recorded in 1887 (UNCHS, 2000). Based on the 2003 revised city charter, the structure of the city government is categorized into three tiers of administration: city government, 10 sub-cities and 116 local districts (details are appended at Appendix A-1). 

Addis Ababa was selected as the study area since it has vital role in every field such as an engine of growth and sources of environmental problems coupled with its projected rate of urbanization, and the concomitant pressures on resources which made this city increasingly important unit of integrated water management. The city is currently confronting with increased demand of provision of water supply and other associated socioeconomic development of domestic and other facilities owed to the city’s rapid horizontal expansion and spontaneous growth as its spatial, physical and socio-economic conditions are by far behind the requirements fundamental to sustain its livelihood like the situations of other cities (GWP, 2011).

Location-Addis Ababa is located in the middle (heart) of the country between 8º55´-and 9º05´ North latitude and 38º40´-38º50´ East longitude (Mahiteme, 2007). The city is surrounded by mountains (Figure 3‑1). Its altitude varies between 2300 m in the south of the city and 3.000 m in the north (CGAA, 2013). Its physical landscape is a mixture of undulating and rugged topography in the northern and central parts of the city, while relatively gentle morphology and flat areas characterize the city’s southern reaches (Mahteme, 2008).

[image: image3.jpg]38°40'0"E 38°45'0"E 38°50'0"E 38°55'0"E 39°0'0"E

9°0'0"N 9°5'0"N

8°55'0"N

8°50'0"N

Legend
[ ADDIS KETEMA BR.

I AKAKI BR.
I ARADA BR.
I GULELEBR.

[ GURD SHOLABR.
[ MEGENAGNABR.
I VEKANISSA BR.

B NiFAS SILK BR.

ML L Kiometers
0 15 3 6 9 12

38°40'0"E 38°45'0"E 38°50'0"E 38°55'0"E 39°0'0"E

9°0'0"N 9°5'0"N

8°55'0"N

8°50'0"N




Figure 3‑1:  Location map of the study area with its water supplying branches
Spatial extent: There exists an inconsistency in the area coverage as reported in literature. It is estimated to enclose a total surface area of 540km2 (Mahiteme, 2007) while Kifle (2002) has reported a value of around 530 km2. Other sources also indicated smaller sizes of 526.99 km2 (Kassa et al., 2011), and 519.76 km2 (AAWSA, 2011). About 220 km2of the city is allocated for green area (for forests, Parks, River Buffers, and urban agriculture) where vegetation cover of the city is 15 % (80 Km2). The built-up area in Addis Ababa was expanded by about 53% of from mid-1970s to late 1990s.  Current socio-economic activities in the city suggest that the city is expected to expand even more. 

Drainage: As a fast-growing urban center Addis Ababa faces many infrastructural and environmental problems. Insufficient waste management is among the crucial problems. Tributaries of Big and Little Akaki Rivers with catchment areas of 900km2 and 540km2 drain the city from north to south and serve as natural sewerage lines for domestic and industrial wastes and thus they are known for their offensive odor (Alemayehu et al., 2005).

Population: The total population of the city is 3, 273,000 based on July 2015 CSA projection, although UN-HABITAT (2010) has reported a population size of 3.5 million although the 2014 AAWA report has estimated the population served at 3.64 million. With the current population growth rate of 2.1%, the city’s population is estimated to reach 5 million after 10 years. The city is currently experiencing high social, economic, and structural changes.

Due in large part to the rapid urban population growth and migration, the number of urban Addis Ababa residents is increasing very fast. Both urban-urban and rural-urban migrations are important in Addis Ababa (UNCHS, 2000). The main reason for high migration to the city of Addis Ababa is an economic reason as the city enjoys a relatively higher concentration of facilities, infrastructure and industries compared with other parts of the country.
Rainfall: Addis Ababa has mild, Afro-Alpine temperate climate with dry winters from middle of November until January, a dry season from February until May and a rainy season from June until the middle of September. The nine climate data collection stations and LTM Rainfall depth of the ten sub-cities are appended in Appendix A-2 and Appendix A-3 respectively. The mean annual rainfall values of Addis Ababa were estimated by inverse distance squared weighting method for the period 1995-2015. The data were obtained from 8 rain gauges which are operated by National Meteorological Agency. The mean rainfall depth of Addis Ababa is estimated as 1086.4 mm. It decreases from Northeast towards the southwestern part of the city. The spatial distribution of the average rainfall of Addis Ababa in its sub sites is presented in (Figure 3‑2). 
[image: image4.emf]
Figure 3‑2: Amount of annual average rainfall (in mm) of the study area
Temperature: Addis Ababa enjoys a mild climate with daytime temperature that rarely goes beyond 26.33 ºC and rarely falls below 5°C depending on elevation and prevailing wind patterns. Its average temperature is 16.48 °C that varies from 5.0 up to 26.33 °C.            Figure 3‑3 shows the spatial distribution of the city’s surface temperature. The temperature has an increasing trend that stretches from the north (cold) to south part (warm) of the city.  

[image: image5.emf]
           Figure 3‑3: Mean surface temperature of the study area
Water Supply: Addis Ababa’s surface water supply sources are located predominantly outside its political boundary. The sources are three dams (Legedadi, Dire and Gofersa), Akaki well field, Legedadi deep wells as well as wells and springs scattered in the city (Figure 3‑4). 

The public institution AAWSA is responsible for the supply of potable water. At present, it delivers 608, 000 m3/day to the city. AAWSA’s head office is located at Megenagna. It is divided into eight branch offices across Addis Ababa city to render efficient services. The eight branches are Gurd Shola, Megenagna, Arada, Gulele, Addis Ketema, Nifas Silk, Mekanisa, and Akaki branches. Their principal functions are the provision, connection and maintenance of minor water and sewer cannels (Kombe et al., 2015).

[image: image6.jpg]8°55'0"N 9°0'0"N 9°5'0"N 9°10'0"N

8°50'0"N

38°35'0"E 38°40'0"E

38°45'0"E

38°50'0"E

38°55'0"E

39°0'0"E 39°5'0"E

Gefersa Reservoir|

4 8 12

Kilometers
16

N

Legedadi Reservoir

Legend
Boreholes (status)
A NOTOPERATIONAL
@ OPERATIONAL
B s
subcity
B Addis_Ketema
I Akaki_Kality
B Arada
I Bole
B Gulele
1 Kirkos
I Kolfe_Kernio
B Ledeta
B nifassilk_Lafto

I Yeka

38°35'0"E

38°40'0"E

38°45'0"E

38°50'0"E

38°55'0"E

39°0'0"E 39°5'0"E

8°55'0"N 9°0'0"N 9°5'0"N 9°10'0"N

8°50'0"N



 
Figure 3‑4: Surface and groundwater sources of Addis Ababa city
3.2. Materials and methods

3.2.1. Data set

Both qualitative and quantitative data were collected to counter balance the limitation of one tool upon the other. Both primary and secondary data were used in this study. Details of the collected data are presented below. 

3.2.1.1 Secondary data

All the necessary data required for the study were obtained from both primary and secondary sources. The secondary data in this study include population, urban expansion, water production, water consumption, water quality and climate. AAWSA provided water production, water use (billed consumption), and water quality data. Historical billed water consumption data were also collected from consultant reports and AAWSA billing department even though data are either missing or inaccurate in some cases.

Historical records of groundwater and surface water production were also obtained from groundwater and surface water production case teams respectively. Historical record of surface water production data was obtained from Legedadi and Gefersa surface water production case teams based on data availability. Data which was collected from AAWSA also includes the number of customers and connections, well inventory and reservoir characteristics. For the analysis of water supply coverage, water supply hours and intermittency of supply, water distribution schedules and reports from the eight branches for the period June to October 2016 were taken. Data collected were organized and fed to Microsoft Excel for tabulation, graphing and descriptive statistics estimation. GIS maps of administrative boundaries and pipe network were obtained from AAWSA. GTP II plan of AAWSA was also consulted for the future planned water production, population projection and water demand estimation. Data and information relevant to this study were also extracted from academic and non-academic publications, annual and inventory reports, and previous studies. Progress reports of projects on the status and evolution of urban water supply in Addis Ababa were also reviewed. 

The Central Statistical Authority provided historical, current, and forecasted population data at city and sub-city level. Rainfall and temperature data were received from the National Meteorological Agency (NMA). Data obtained from NMA incorporated 25-30 years of rainfall and temperature for 10 stations (6 and 4 located inside and surrounding Addis Ababa respectively). The ten stations have four classes: While Addis Ababa Observatory is a class I station; Addis Ababa Bole station is class II. Similarly, the rest are class III stations except Sendafa and Sebeta stations which are classified as class IV.

3.2.1.2. Primary data 

3.2.1.2.1 Household survey

The main primary data for this study was collected through household surveys. A structured questionnaire was first prepared. The questionnaire was divided into sections which include general profile of the respondents (e.g. House ownership nature, house morphology, sex, water supplying branch, woreda of the respondent, water user category), and perceptions of adequacy, water quality, reliability and affordability. The questions were translated to Amharic (official language), pretested and refined. To test the questions, a pilot study was conducted with twenty people that included all water user categories. Respondents of the household survey were identified by random sampling technique. 

The study covered 273households (different water user categories: domestic, commercial, industrial, institutional and public fountain). The respondents were 46.2% (126) male and 53.8% (147) female. During the data collection, personal communications were made with selected AAWSA staff for additional details that was used for identifying for sampling and data analysis.

The survey covered all the ten sub cities and all of the 116 woredas of the city. This was found necessary since the sub-cities differ in many aspects including size, population, socio-economic status of households, altitude and water sources. The number of respondents under each water use category is shown in Table 3‑1(Details of study participants, the English and Amharic versions of interview questions are appended as Appendix A-4, Appendix A-5 I and Appendix A-5-II respectively). 
	User category 
	Commercial 


	Domestic 


	False domestic 
	Industrial 


	Institutional 


	Public 
fountain 
	Vendor 


	Total 



	No.
	36
	167
	16
	6
	38
	8
	2
	273

	Percent
	13.2
	61.2
	5.9
	2.2
	13.9
	2.9
	0.7
	100


Table 3‑1: Profile of study participants

3.2.1.2.2. Key informant interviews and focus group discussion

Key informant interviews were made with various stakeholders, water service officers, and affected bodies. Personal observations and informal discussions were also served as data sources for this study. In case of key informants, three informants (branch manager, water customer service sub process owners and senior technician) were selected from all the eight branches. Branch managers Gulele and Mekanisa branches were not available. Water customer service sub process owners delegated as acting branch managers were interviewed. The total number of key informants were 22.

The key informants were of different responsibilities, knowledge and experience. Interview questions were framed on the city’s water coverage, the balance between demand and supply of water in the city, major challenges facing the provision of the service, level of community awareness and participation in the provision of the service. The key informants were purposively selected assuming they have deep and relevant information from their official responsibilities and continued involvement about the issues (See Appendix A-6-I, Appendix A-6-II and Appendix A-7 for the details of Key informants, the English version of the questionnaire and the Amharic version of the questionnaire respectively).

3.2.1.2.3 Field observation

Field observation was mainly employed to gather data related to the type of water source, connection type of households to check water supply continuity and supply hours, areal coverage of water pipelines, standpipes or truck supply points and factors behind some variations like location and altitude. Physical water quality parameters including water taste, color, smell, turbidity and others were also noted through the help of checklists as crosscheck for survey responses. Operations, maintenance and rehabilitation or improvement activities were noted coupled with field observation of groundwater well fields and surface water dams. Data collected from miscellaneous sources are summarized in Table 3‑2 
Table 3‑2: Summary of data sources

	Organization 
	                   Role 

	AAWSA
	Management and supply and wastewater 

	Bureau of urban agriculture 
	Provision of support for urban farmers 

	EPA
	Environmental governance 

	The Addis Ababa and surrounding Oromia Integrated Development Plan Project Office
	Master plan revision of Addis Ababa integrates the Oromia special zone is in the final stages,

	Oromia Bureau of Environmental protection 
	Water and related resource governance


3.2.2. Data collected and sources of data 

The data collected from different sources were summarized in Table 3‑3 below.

Table 3‑3:  Summary of the collected data

	Category
	Data
	Source
	Remark

	Water use and 

Water production
	Water consumption
	AAWSA 
	1994-2015 data on monthly basis but with inconsistent, missing and incomplete data for either source type or both 

	
	Water distribution 
	AAWSA
	

	
	Water loss 
	AAWSA
	

	
	Water production
	AAWSA
	

	New source development 
	Planned water source development activities 
	AAWSA (GTPII, Business Plan)
	Both started and planned new source development activities are not realized as planned 

	Climate 
	Rainfall
	NMA
	Daily data covering the time period 1995-2015

	
	Min. and Max. Temperature
	NMA
	Daily data covering the time period 1995-2015

	GIS map
	Distribution map
	AAWSA
	The recent map was 2014 update 

	
	Location of surface water source 
	AAWSA
	

	
	Distribution of groundwater points 
	AAWSA
	The map doesn’t show the status of wells and boreholes 


3.2.3 Data analysis and modeling

In this study, methods from both the natural and social science were applied. The following analyses were done in this study after data quality was assessed through visual inspection of the recorded data and time series plots.

3.2.3.1 Evaluation of past, present and future situation

To see the impact and extent of urbanization on Addis Ababa City's water supply situation, the physical expansion of the city between the years 1886 and 2015 was analyzed using descriptive statistics. Accordingly, in each expansion period (expansion phase), average area covered(ha), total built up area (ha), rate of expansion (%), annual growth rate (%), annual built up area expansion (%) and finally the built-up area expanded(ha) were calculated. For calculating population data, this study has included day time population estimations of about 30% of the CSA’s projected population size to consider water demand by non-resident water consumers (Read, 2014).
Water production and water use data were analyzed using Microsoft Office Excel. Time series data of water production, water consumption, water demand, non-revenue water and the gap between demand-supply was analyzed. Descriptive statistics were used to summarize these data in tables, figures and maps. This helped to show both the spatial and temporal aspects of the water supply of Addis Ababa. Temporal trends of the city spatial extent, population density and water supply connections were analyzed graphically and tabular form. Most of the miscellaneous analyses were based on the population served by the entire water supply system in general and each supply branch in particular(Table 3‑4)..Most calculations were done based on data presented in Appendix B-2.

Hence, the eight supplying branches, the sub cities served under each supplying branch, areas of the sub cities under each supplying branch and their population densities as well as the corresponding population served calculated based on (Error! Reference source not found.) were used to calculate the population size served by each supplying branch. 

Table 3‑4:  Population Served by each branch based on AAWSA’S Network Map (2014)

	Supply 

Branches 
	Sub cities 
Served
	Area 
(Km2)
	Density 
(persons/km2)
	Population
 (persons)
	Population served

	Nefas Silk
	Akaki-Kality
	3.26
	 1790.14
	5835.9
	329,490

	
	Bole
	0.06
	 2952.06
	1771.2
	

	
	Kirkos
	7.57
	 17649.45
	133606.3
	

	
	NS Lafto
	34.86
	 5400.92
	188276.1
	

	Mekanisa 
	Kirkos
	4.25
	 17649.45
	75010.16
	563,393

	
	Kolfe keraniyo
	32.48
	 8165.93
	265229.41
	

	
	Lideta
	3.77
	 25625.93
	96609.76
	

	
	NS Lafto
	23.43
	 5400.92
	126543.56
	

	Megenagna
	Akaki-Kality
	0.14
	 1790.14
	250.62
	182,468

	
	Arada
	0.0004
	 24892.03
	9.96
	

	
	Bole
	44.91
	 2952.06
	132577.01
	

	
	Kirkos
	0.24
	 17649.45
	4235.87
	

	
	NS Lafto
	0.02
	 5400.92
	108.02
	

	
	Yeka
	9.63
	 4702.68
	45286.81
	

	Gurd 
Shola
	Bole
	72.77
	 2952.06
	214821.41
	940,780

	
	Yeka
	56.44
	 4702.68
	265419.26
	

	Gulele 
	Addis Ketema
	0.0015
	 40187.99
	60.28
	460,539

	
	Arada
	5.78
	 24892.03
	143875.93
	

	
	Gulele
	23.89
	 10341.15
	247050.07
	

	
	Yeka
	14.79
	 4702.68
	69552.64
	

	Arada
	Arada
	15.25
	  24892.03
	379603.46
	379,604

	Akaki
	Akaki kality
	120.05
	 1790.14
	214906.31
	217, 817

	
	Bole
	0.73
	 2952.06
	2155
	

	
	Nefas Silk Lafto
	0.44
	 5400.92
	756.13
	

	Addis ketema
	Addis ketema
	5.22
	 40187.99
	209781.31
	568,022

	
	Arada
	0.0022
	 24892.03
	54.76
	

	
	Gulele
	7.3
	 10341.15
	75490.4
	

	
	Kolfe keraniyo
	31.01
	 8165.93
	253225.49
	

	
	Lideta
	1.15
	25625.93
	29469.82
	

	Addis Ababa total
	519.46
	6062.73
	3149345.73
	3,642, 112


The difference between the total production without considering the water loss (system input volume) and total water distributed is known as volume of non-revenue water (unaccounted for water). It is the volume for which revenue is not collected by the water supply utility. Non-revenue water (NRW) can be aggregated value of the whole water supply system or disaggregated value of branches.

Water loss is a serious problem in Addis Ababa City Water Supply system, causing both severe water shortage and causing huge financial loss. In response to the inadequate investigation of this problem by AAWSA, the present paper has tried to compare AAWSA’s report with own calculations based on time series data collected from AAWSA itself. Percentage by volume is used for calculating NRW as % of system input volume (Liemberger and Farley, 2004). Water loss was calculated from total water production and net supply as follows:

NRW (%) = (system input volume- billed volume)/system input volume *100%

Where system input volume is assumed to be the total production without
 considering water loss. Total billed consumption is the sum of the billed volumes of water used by all types of customers (domestic, non-domestic and public tap). Hence, the water loss in the city water supply distribution system was evaluated using top-down water balance method.

3.2.3.2 Perception of residents

Quantitative data generated from household survey were analyzed using simple descriptive statistical tools like frequency, mean, standard deviation and percentages and they were operated with SPSS and Microsoft Excel. Graphical presentations were managed by Origin pro version 7.0. Most of the spatial presentations and maps were done by the application of Arc GIS. Billed consumption and demand –supply gap was analyzed by simple descriptive statistical methods such as mean, average, percentage and others.

Customers’ perception was evaluated for water quantity (interruptions, adequacy and reliability); water quality (taste, odor and smell), affordability and overall water customer satisfactions. Water supply interruptions during 2016 and any worst case were compared based on household survey data. The analysis was done also for each water user category.

3.2.3.3 Situation analysis with WEAP modeling

WEAP model was applied to investigate alternative scenarios taking into account multiple and competing uses of water systems and a wide range of drivers. The model received applications worldwide due to its capabilities and easy-to-use interface. WEAP has received an application in Ethiopia as well to evaluate water development options at basin level (example: McCartney and Girma, 2012). In this study, the model was used to evaluate water supply management scenarios for Addis Ababa taking the Legedadi subsystem as a case study. From the three AAWSA’s sub systems, namely Legedadi, Gefersa and Akaki subsystems, the Legedadi sub system was selected for WEAP modeling since it is the largest sub-system in terms of number of customers served.  Both groundwater and surface water sources are delivering water to this sub-system.

Legedadi subsystem includes supplies from Legedadi water treatment plant and to service reservoirs of Kotebe Terminal, Karalo, Ankorcha, Jan Meda, Gebrael Palace, Teferi-Mekonnen, Entoto, AAWSA Main Office, Belay Zeleke, Police Hospital, Army Hospital, and Kassa Gebre; and to pumping stations at Urael and Mexico square (TAHAL, 2005).

The baseline period covers the years from 2011 to 2015 while the medium term covers 2016 to 2020 which coincides with GTP II-time period. The long term stretches between 2026 and 2030. These scenarios were built to analyze the effect of population growth, management changes, and changes in water production capacities. In this study, the main inputs to the WEAP model are population, annual water use (consumption) per capita, and water loss. Average production (m3/d) and production capacity (m3/d) were also specified.

Population of the subsystem was calculated based on the proportion of the areas of sub-cites covered by this system multiplied by their respective population densities. Hence, the average annual growth rate of 2.54% was used for the period 2016-2020. During the period 2021-2025, this rate was assumed to be 2.67%, 1.95%, 2.64% and 2.64% for Arada, Gulele, Gurd Shola and Megenagna branches respectively but 2.78%, 2.01%, 0.86% and 2.74% in that order during 2026-2030. Population growth was estimated based on CSA projection (Hailemariam et al., 2009). This sub system has an estimated daily water supply of 179138 m3/d.  Megenagna, Arada, Gurdshola and Gulele branches constituting this sub system have supply areas of 54.94, 15.25, 129.21 and 44.45 km2respectively.

The population of this subsystem for the period 2010-2015 and sample estimation procedure is shown in Table 3‑5. It has increased slightly more than twice during 2010-2017. The population for the year 2017 was estimated based on population projection of the city and GTP II plan.

Table 3‑5: Population of Legedadi subsystem during 2010-2015 and sample estimation

	Branch
	2010
	2011
	2012
	2014
	2015

	Gulele (97%)
	376883
	401757
	428273
	456539
	486671

	Arada (74%)
	26003
	27719
	29549
	31499
	33578

	Megenagna (100%)
	64675
	68944
	73494
	78344
	83515

	Gurd Shola (100%)
	217021
	231344
	246613
	262890
	280240

	Total
	684582
	729764
	777929
	829272
	884004


Source: own calculation based on AAWSA reports 

Population growth rates of 6, 2.54 and 2 % were used for the baseline, medium and long terms respectively. Water consumption per capita is assumed to be 0.291 m3/d in the baseline and 0.365 m3/d in midterm and long-term. Industrial and institutional/commercial/administrative water demand was estimated from billed data. In this study, industrial and institutional or commercial growth rates were not used for the model since these organizations will not be supplied water from the city’s water supply system as separate supply will be developed for them. There are some industries and commercial units which started abandoning AAWSA’s supply upon developing their own sources. They have no the legal right to use the available urban water supply.

This subsystem includes supplies from water treatment plant to service reservoir of Kotebe terminal, Karalo, Ankorcha, Jan Meda, Gebriel Palace, Teferi Mekonnen, Intoto, AAWSA ex-main office, Belay Zeleke, Police Hospital, Army Hospital and Kassa Gebre; and pumping stations at Urael and Mexico square.

The water consumption and loss data has been used to estimate the input volume. The study has used AAWSA’s water III projection of per capita water demand growth rate of 3.34% per annum during 2015-2020. The 2015 monthly average water consumptions of the four branches of Legedadi subsystem were estimated from AAWSA’s bill data. Supply was taken as the sum of consumption and average water loss of 40%.

Water demand (supply requirement) is assumed to grow at a constant rate of 3.52% /annum. The increase in consumption is assumed to be balanced by the decrease in leakage resulting in a constant rate of demand growth. For all user groups, total daily per capita water demand grew from 145 liters in 2015 to 176 liters in 2016 with an equivalent 2.13% annual growth rate. During 2026-2030, domestic, industrial and commercial consumption will be 74%, 5% and 20% respectively (GTP II). The sizes of industrial and commercial water customers were assumed to show an average annual growth rate of 2.76%, 0.0196% and 0.0251% during 2011-2015 (AAWSA Business Plan, 2011), 2016-2020 and 2026-2030 respectively.

Nondomestic customers (industry and commercial units) have shown an average of growth rate of 2.76% per annum during 2010-2015 (AAWSA, 2011). In the period 2026-2030 domestic, industrial, commercial, and other users were considered to be 74%, 5%, 6% and 15% respectively as the utility has planned to develop separate source for non-domestic users. According to GTP II projection, industrial and commercial as well as administrative demands are assumed to remain constant. Hence, change in demand is due to the growth of demand by domestic customers because of changed style of life, increased economic status, and increased awareness about sanitation, increased supply availability (connection type, supply hour, supply quantity or volume).

The system input volume at branch level or subsystem level is not known since bulk flow meters are not installed at branches or subsystem. One source supply as many as four or more branches due to the extremely complex water supply network of AAWSA. Therefore, the present study has used indirect method of calculating the system input volume to Legedadi subsystem. 

Although GTP II has assumed increased consumption due to increased standard of living and increased population while projecting future water demand, this study has tried to revise demand variations since we have theoretical justifications and historical data evidence. In 2015, GTP II plan has put additional water production requirement of only 65, 952 m3/d by reducing NRW to 37% and taking a resident population of 3,702,809 putting the net and gross demands 474,939 m3/d and 664,952 m3/d respectively. This study has calculated an estimated water loss value of 38.2 % based on for baseline period and 27.8% and 20 % based on GTP II target for short term and mid-term periods, respectively.  After GTP II, this study has assumed NRW to continue at 20% believing that AAWSA will not be able to reduce NRW further than this value. The World Bank recommends that NRW should be less than 25% and NRW is 19% in England and Wales (Kingdom et al., 2006).

The daily water demand of the Legedadi subsystem was calculated from the projected water demand of the city based on the GTP II plan and AAWSA Business plan of 2011. This study has introduced the concept of day time population labeled here as other demand for demand estimation. Thus, the city’s demand was disaggregated into the eight branches based on their population density and area coverage. From this branch based disaggregated city wise demand, the components of the disaggregated demand comprising the Legedadi subsystem were re -aggregated. The basic assumptions employed fort the modeling are summarized in Table 3‑6 below:

Table 3‑6: Basic assumptions for the modeling
	Basic assumptions
	Baseline condition
	Medium term scenario
	Long term scenario
	Remark 

	
	2011-2015
	2016-2020
	2026-2030
	

	Water production
	
	
	
	 Based on GTP II

	Water demand 
	-------
	-----------
	--------
	Based on AAWSA’s Business Plan Model, for baseline, GTP II for 2016-2020 and Water III Projections for 2026-2030

	% NRW GTP II Plan
	 37,37,37,40,40
	35,32,28,24,20
	a constant 20%
	

	 % NRW for business as usual
	34,40,45,45,45
	40% constant
	a constant 20%
	

	Consumption
	 
	 
	 
	

	a. Domestic
	20%
	20%
	20%
	

	b. b. Industrial
	10%
	10%
	10%
	

	c. c. Commercial
	15%
	15%
	15%
	

	d. d. Other
	20%
	20%
	20%
	

	Water consumption
	-----
	 _____ 
	 ____
	Based on AAWSA’s Business Plan Model, for baseline, GTP II for 2016-2020 and  Water III Projections for 2026-2030  (30 % daytime population is also considered for all )

	Annual water use rate
	
	
	
	

	a.  Domestic
	52%
	
	
	

	b. Commercial
	11%
	
	
	

	c. Industrial
	10%
	
	
	

	d.  Other
	27%
	
	
	

	Water demand growth rate
	3.34% /annum
	3.34% /annum
	 
	


The mode of service in Addis Ababa water supply system as studied by Urban Modeling consultants (Abo-El-Wafa et al.,2017) is believed to shift to house connections (Table 3‑7). Possible increase in private connections and installation of new lines as well as public fountains might change to at least shared yard connection.

Table 3‑7: Projected domestic water demand during 2016-2036             

	Mode of service 
	2016
	2020
	2025
	2030
	2036
	Trend of change 

	House connection
	10
	16
	25
	32
	40
	Increasing 

	Yard connection
	25
	30
	32
	35
	38
	Increasing 

	Yard connection shared 
	15
	14
	13
	10
	8
	Decreasing 

	Public fountain 
	50
	40
	30
	23
	14
	Decreasing 


In all the three planning horizons the volume of water was expressed in units of billion cubic meters. While unmet demand was taken as the difference between supply requirement and supply delivered, water loss equals the difference between supply requirement and water demand.

The water distribution system is designed to cope mainly with the domestic demand. Therefore, industrial, commercial, and institutional demands are included in the domestic consumption figure to form a total water demand per person per day. This study has used unit water consumers-based demand calculation ways to estimate water demand based on unit water consumers’ number (using population number and extent of institutions, commercial and industrial exists). Water demands have the following categories:

· Domestic or Residential water demands: This includes water required for drinking, cooking, ablution/Bathing, washing utensils, washing clothes, flushing toilets and watering animals,

· Commercial water demand: This demand is affected by the number and types of commercial establishments and it is usually between 10-20% of the total water demand. According to MoWIE design criteria, it is assumed to be 10% of the total demand,

· Industrial water demand: This demand varies between 25 to 35% of the total municipal water demand worldwide and 5 to 10% in Ethiopia but this study has accepted GTP II ‘s estimation of 20%,

· Institutional/public Water Demand; This category includes water used for public buildings (city halls, jails, schools) and public services including street washing, park irrigation, health institutions, etc. This demand is normally estimated to be 5 to 10% of the total water demand,

· Firefighting demand: According to MoWIE (2006), about 10% of the total volume of the demand is required to balance demand fluctuations because of firefighting demand. This study has integrated 3% with commercial and public or institutional water demand. Which are estimated at 10% of the total demand are included in commercial water demand, making the aggregated commercial, institutional, public and firefighting demand is estimated at 23% of the total demand, and 

· Unaccounted for or system loss: There is some unaccounted-for water in water supply system due to the following: Leak in the mains, overflow at various structures, water used for backwashing, faulty meters, and unauthorized water connections. According to MoWIE (2006), 25% to 40% is considered.

The present study has calculated NRW value of about 45% for Addis Ababa City water supply system. The results of reference scenario were verified using observed volume for supply sources and observed demand coverage of Addis Ababa city. These results have shown future unmet demands. Billed data was used to estimate the proportion of water consumed by nondomestic water customers.

3.2.3.4 Problem Tree Analysis

Problem tree analysis is central to many forms of project planning and is well developed among development agencies. Problem tree analysis (also called Situational analysis or just Problem analysis) helps to find solutions by mapping out the anatomy of cause and effect around an issue in a similar way to a Mind map, but with more structure. Its main output is a tree-shaped diagram, in which the trunk represents the focal problem, the roots represent its causes and the branches its effects. Such a problem tree diagram creates a logical hierarchy of causes and effects and visualizes the links between them. It is used to create a summary picture of the existing negative situation.

The problem hierarchy is formed following these six main steps:

1. Identify existing problems within the problem area/domain of interest (brain storming) A problem is not the absence of a solution, but an existing negative state or situation that distinguishes between existing, impossible, imaginary or future problems;

2. Define the core problem (focal problem or central point of the overall problem);

3. Formulate the causes of the core problem -consider that the problems identified in step 1 can also be causes of the core problem;

4. Formulate the effects (consequences) of the core problem-consider that the problems identified in step 1 can also be effects of the core problem;

5. Draw a diagram (problem tree) that represents cause-effect relationships (problem hierarchy) where; the focal problem is placed in the center of the diagram forming the trunk of the tree, causes are placed below and effects above, in sub-dividing the roots and branches (like a mind map), and if possible, all causes/effects of a problem should be on the same horizontal level; and 
6. Review the logic and verify the diagram as a whole with regard to the validity and completeness. If necessary, make adjustments and questions to ask for each problem are these causes sufficient to explain why this occurs?
The problem tree method is a planning method based on needs, but not a mechanical translation of problems into objectives (Cervante et al, 2008). The problem analysis of major importance with regard to project planning since it strongly influences the design of a possible intervention(s). It is the basis and the justification for the project design. It includes;

· Verification of the subject of analysis;

· Identification of problems related to the subject;

· Make an inventory of all problems perceived by all participants;

· Establishment of a cause-effect hierarchy between the problems; and 

· Visualization of the cause-effect relations in a diagram.

The qualitative data collected using Key informant interview and personal observations were also analyzed through description, narrating and interpreting the situation contextually so that the city’s water supply situation has been properly revealed. Inferential statistics such as ANOVA
(both one way and two) were employed to see daily water supply hours and weekly water supply days among branches, sub cities and weredas .
Chapter Four

4. Water Supply Situation Assessment Results of Addis Ababa Water Supply System 

4.1. Evaluation of Past, Present and Future Situation of Addis Ababa Water Supply System

4.1.1. Urbanization, Population trends, and Population Served by Water Connection 

This study has shown that Addis Ababa has been undergoing horizontal expansion as the result of rapid urban development over the past several decades. Table 4‑1 shows that Addis Ababa city’s surface area has increased from 37.4 km2 in 1970 to 230.35 km2 in 1999 (UNEP/ UNESCO, 2015). The lowest growth rate was 6.6 % (1.3% per annum) observed during the 5th phase (1996-2000). The highest annual rate of expansion (40.8%) was in the years 2001-2010. This also includes highest expansion of built-up area which is consistent with the findings of ORAAMP (2001) that estimated 60 percent of the city’s core area is dilapidated with a quarter of all housing units built illegally and informally.

Table 4‑1: Physical expansion between the years 1886 and 2015(Calculated based on ORAAMP, 2001, 2002) and Tadesse, 2009) 

	Expansion period 


	Duration (year)


	Average area covered(ha)


	Total built up area (ha)


	Expansion phase


	Rate of expansion (%)


	Annual growth rate (%)


	Annual built up cover expansion (%)


	Annual built up area expanded (ha)



	1886-1936 
	51
	1863.13
	1863.13
	1st
	
	-
	-
	36.53

	1937-1975 
	39
	4186.87
	6050
	2nd 
	224.7
	3.1
	31.74
	107.36

	1976-1985 
	12
	4788
	10838
	3rd 
	79.1
	6
	59.17
	399

	1986-1995 
	11
	2925.3
	13763.3
	4th 
	27
	2.4
	80.61
	265.94

	1996-2000 
	5
	904.4
	14667.7
	5th 
	6.6
	1.3
	95.04
	180.88

	2001-2010
	10
	25000
	39667.7
	6th 
	170.4
	40.84
	110.46
	250

	After 2010                               
	
	No expansion 
	
	
	
	
	
	


Addis Ababa has experienced a highly accelerated population growth that grew from 443,728 in 1961 to 2,917, 295 in 2010 (Figure 1‑1). The average annual population growth was 2.97% during 1996-1999 and between 2.92- 3.01% during 1999-2006. The increasingly haphazard expansion along the five regional outlets with no attention to sustainable expansion possibilities may add inefficiency in land utilization.
[image: image7.png]popolations(millons)

25.0

20.0

15.0

10.0

5.0

0.0

mlow ®medium = high © CSA

e/
8
29

1995

2000

2010 2015 2020
Year

4.1

2025

4.5

2030




Figure 4‑1:   Historic and forecasted population of Addis Ababa for 1995-2030
Source: Adapted from CSA (2010, 2011, 2013, and 2016) reports

About 32.49% of city residents reside in the four central sub cities (Addis Ketema, Arada, Lideta and Kirkos) and make up 9.11 % of the surface area of the city. In 2017, the population density of Addis Ababa was 6516.3 persons per km2. Figure 4‑2 shows large variations in population density across the sub-cities. Addis Ketema and Akaki-kality sub cities have the highest and the lowest population densities respectively.
[image: image8.emf]2007

2008

2009

2010

2011

2012

2013

2014

2015

2016

2017

0

20000

40000

Density(persons/Km

2

)

Years

 

Akaki Kaliti

 

N. Silk-Lafto

 

Kolfe Keranyo

 

Gulele

 

Lideta

 

Kirkos

 

Arada

 

Addis Ketema

 

Yeka

 

Bole

 

Total


Figure 4‑2: Population densities of sub cities during 2007-2015
Higher population sizes were used for the 2012-2020 Business plan preparation (AAWSA, 2011) and AACPPO, 2014). The high population size during 1996-2006 started lowering since 2007. The 2% constant annual average growth rate decreased to 1.5% in 2008 but grew again to 3% since 2009. This estimation has not considered the complex concept of daytime population owed to the shift in population during business hours. It is more difficult to capture at high precision or with certainty due to the lack of standardized day time population data.

4.1.2. Customer profile 

AAWSA has either domestic or non-domestic customers based on its water tariff structures. The trend observed by the different connection types (Table 4‑2 )is discussed as follows: 

Domestic connection numbers are highest in Mekanisa followed by Gurd Sholla and Nefas Silk branches; average in Gulele and Addis Ketema (since most households have ownership maps and are connected to AAWSA’s supply); and lowest in Akaki, branch followed by Megenagna and Arada branches. This variation could be related to the performance of branches.

The growth rate in domestic connections of branches during 2007-2015 that ranges between 43 % (Akaki) and 79% (Gulele) translates to 2.9 to 14.5% increment per annum (data not shown here). The rate of increment in connection is 60.56% at the city level during this same time period. The highest non-domestic connections average rates of change were observed for Gurd Shola, Mekanisa and Addis Ketema. The number of public tap connections showed increment, except for Gulele. Gurd Sholla, Megenagna and Mekanisa have recorded average rates of changes of 527.5%, 102% and 74.69%. These values are higher than the average rate of 53.40% for the entire city. While Gulele showed a reduction in public connections at an average rate of -28.07%, Arada (9.83%), Addis Ketema (13.44%) and Nefas Silk (27.07%) branches demonstrated lowest increments. The same Table has shown that a smaller value of public tap connections suggests more of domestic private connections or inner-city area without new developments. 
All types of connections and total connections showed a linear increment with time. The decreasing rate of change in the number of connections in 2010 that has resulted in declined rate of annual growth of total connections might be due to the installation of new connections for public tap users. The significant increase in domestic connections may be associated with AAWSA’s effort to respond to the growing demand for new connections owed to city expansion, population growth, and construction boom, intensive densification of the city and changed style of living that have increased and will keep with the demand for all types of connections even in the near and far future. 

Table 4‑2: Aggregated and disaggregated number of domestic, non-domestic, public tap

	Connection type 
	Year
	Addis Ketema
	Akaki
	Arada
	Gulele
	Gurd Shola
	Megenagna
	Mekanisa
	Nefas Silk

	Domestic Connection
	2015
	45,190
	22,765
	38,471
	45,594
	62,654
	23,941
	66,011
	52,330

	Grate growth 2007-2015
	1514.6
	1613.3
	2224.4
	1179.4
	3626.8
	717.6
	4042.6
	2679.4

	Non domestic connections
	2015
	7,260
	4,538
	8,220
	5,790
	9,731
	5,922
	8,106
	8,525

	
	Average
	13119
	6195
	15268
	13499
	14355
	9154
	15788
	14825

	 Rate growth  
	379.9
	159.6
	331
	86.9
	799.1
	291.9
	495.4
	445.4

	Public Fountains 
	2015
	287
	170
	257
	164
	502
	69
	421
	230

	
	average
	269
	142
	297
	208
	203
	49
	331
	198

	Grate growth      2007-2015
	 
	6.5
	2.875
	-8
	52.75
	4.375
	22.5
	6.125

	Total connections
	2015
	52,737
	27,473
	46,948
	51,548
	72,887
	29,932
	74,538
	61,085

	
	average
	46031
	19540
	43589
	46577
	52982
	28021
	57908
	50278

	Grate growth 2007-2015
	1898.8
	1779.4
	2558.3
	1258.3
	4478.6
	1013.9
	4560.5
	3130.9


Aggregated citywide or disaggregated branch wise number of connections are described based on service modes (types of connection) and water customer categories. Public tap/Public Fountain (PF) user are categorized as domestic yet they are charged differently. Hence, the volumetric charges are flat, progressive on seven band systems and fixed for non-domestic, domestic and public fountain customers respectively although public fountain users. In Addis Ababa City water supply system, the three connection types are private household connections, public fountain connections and yard connections (Table 4‑3). Yard connection was introduced in 2008. During 1996-2015 periods, household connections, public fountain connections and total connections showed a 2.6, 2.2 and 2.5-fold increment, respectively, while the recently introduced yard connections showed a 15.1-fold increment during 2010-2015 period. 

Table 4‑3: Number of populations served via the three modes of connection against total 

                   served with their annual rate of change (%) for the period 1996-2015

	Year 
	Household connections
	PF connections 
	Yard connections 
	Total connections 

	
	No.


	Growth Rate %)


	No.


	Growth Rate (%)

	No.


	Growth Rate (%)

	No


	Growth Rate (%)



	1996
	724960
	 
	552000
	 
	0
	 
	1,276,960
	 

	1997
	747615
	3.13
	569250
	3.13
	0
	 
	1316870
	3.13

	1998
	770270
	3.03
	586500
	3.03
	0
	 
	1356770
	3.03

	1999
	792925
	2.94
	603750
	2.94
	0
	 
	1396680
	2.94

	2000
	811049
	2.29
	617550
	2.29
	0
	 
	1428600
	2.29

	2001
	815580
	0.56
	621000
	0.56
	0
	 
	1436580
	0.56

	2002
	860890
	5.56
	655500
	5.56
	0
	 
	1516390
	5.56

	2003
	906200
	5.26
	690000
	5.26
	0
	 
	1596200
	5.26

	2004
	951510
	5
	724500
	5
	0
	 
	1676010
	5

	2005
	996820
	4.76
	759000
	4.76
	0
	 
	1755820
	4.76

	2006
	1064785
	6.82
	810750
	6.82
	0
	 
	1875540
	6.82

	2007
	1178490.4
	10.68
	897327.75
	10.68
	0
	 
	2075820
	10.68

	2008
	1299286.9
	10.25
	989304.75
	10.25
	0
	 
	2288590
	10.25

	2009
	1366141.8
	5.15
	1040209.5
	5.15
	0
	 
	2406350
	5.15

	2010
	1458748.4
	6.78
	1076105
	3.45
	6716
	 
	2541570
	5.62

	2011
	1554743.4
	6.58
	1114113.7
	3.53
	22080
	228.77
	2690940
	5.88

	2012
	1641170.8
	5.56
	1149469.3
	3.17
	47840
	116.67
	2838480
	5.48

	2013
	1699203.2
	3.54
	1172613.6
	2.01
	58880
	23.08
	2930700
	3.25

	2014
	1782815.1
	4.92
	1206021.7
	2.85
	75440
	28.13
	3064280
	4.56

	2015
	1862577.4
	4.47
	1238839.8
	2.72
	101200
	34.15
	3202620
	4.51


The study found uneven customer distribution or unpredictable trend of connection densities (connections /km2) (Table 4‑4) has. High connection densities of 2749.87, 1106.03 and 1038.71 were registered by Arada, Nefas Silk and Addis Ketema branches respectively. While the two central branches Arada andAddis Ketema have high population, densities are characterized by infill type of development, new settlements such as condominium houses with connections characterize Nefas Silk, Akaki, Gurd Sholla and Megengna branches have registered low connection densities of 134, 361.14 and 505.89 respectively, lower than the city’ average connection density of 631.05.

Table 4‑4:  Customer distributions by branch office (December 2010)
	Branches 
	Area 
	Number of connections 
	Density (connections/km2)

 
	Percent area proportion when total area is 

	
	Case 1

	Case 2

	Domestic
 
	PT*

	Nondomestic 

	Total
 
	
	519.76km2

	540 km2



	Arada
	15.6
	16.21
	34854
	309
	7735
	42898
	2749.87
	3
	3

	Mekanisa
	65.58
	68.13
	46717
	293
	5181
	52191
	795.84
	12.62
	12

	Gulele
	44.37
	46.1
	40267
	195
	5363
	45825
	1032.79
	8.54
	8

	Addis Ketema
	44.04
	45.75
	40075
	263
	5407
	45745
	1038.71
	8.47
	8

	Megenagna
	55.36
	57.52
	23474
	41
	4491
	28006
	505.89
	10.65
	10

	Akaki
	120.11
	124.79
	12692
	133
	3307
	16132
	134.31
	23.11
	22

	Gurd Sholla
	128.91
	133.93
	41597
	98
	4859
	46554
	361.14
	24.8
	24

	Nefas Silk
	45.79
	47.57
	44988
	178
	5479
	50645
	1106.03
	8.81
	8

	Addis Ababa
	519.76
	540
	284664
	1510
	41822
	327996
	631.05
	100
	100


PT* refers to public tap or public fountain

4.1.3. Past, Current and Future Water Supply Situation of Addis Ababa

Addis Ababa water supply is managed by the public institution, AAWSA which is responsible for the supply of water and collection, treatment and disposal of wastewater and sludge for the city. Water is delivered to households, public and business organizations through different sized pipes, reservoirs, and pumping stations. This utility serves its customers via eight branches by employing 100 pumps (32 pump stations and 91 storage reservoirs with a capacity of 20-20 000 m3 constructed during 1959-2012. 32 of the 91 storage reservoirs are also pumping stations (AAWSA Business Plan, 2011). 57 temporary plastic reservoirs of in a city 15-25 m3 temporary water shortage without being connected to the distribution system. They are used for tanker filling. There are also 36 small storage reservoirs that receive water from boreholes and springs serving approximately 9 localized areas and water is not treated at the central water treatment plant, but later mixed with water from the treatment plants. AAWSA’s primary and secondary pipe lines and the three major surface water sources (reservoirs) are depicted in Figure 4‑3  below. 
[image: image9.jpg]38°35'0"E 38°40'0"E 38°45'0"E 38°50'0"E 38°55'0"E 39°00"E 39°50"E

Zz

o

‘O_ " :

> Dire r@gervior N

z

=]

g

i adi

z

[=}

w

w

S Legend
——— Primary Pipe Line
—— Secondary Pipe Line

§ I\ ; I:l Branches Boundary

o / ”

G| iKiomet 4 .

@lo 2 4 8 12 - - Reservoirs

8°55'0"N 9°0'0"N 9°5'0"N 9°10'0"N

8°50'0"N

38°35'0"E 38°40'0"E 38°45'0"E 38°50'0"E 38°55'0"E 39°0'0"E 39°5'0"E




      Figure 4‑3: Major distribution pipes of the city’s water supply system with major water sources 
4.1.3.1.2 Annual water production (system input volume)

The total annual water produced from all dams, wells, springs and rivers introduced to the supply system is known as system input volume (SIV). SIV has increased from 10,425,137m3 in 1996 to 58,443,725 m3 in 1997 and reached 129,856,588 m3 in 2015 with a rate of increase of 50.5% (5.1 per annum) during 2006 to 2015. The rate of increment decreased to 3.36% during 2006 to 2014. The reasons for this on uniform rate could be attributed to the more or less constant surface water production after 2006.The increase in SIV is accounted for by the corresponding increase in groundwater production. The capacity of Gefersa reservoir is constant over the years, though it was raised from 23,000 to 30,000 m3/d upon rehabilitation (Figure 4‑4). Legedadi-Dire treatment plant treatment’s capacity that increased from 150,000m3/d to 165, 000 m3/d and now has reached to 195, 000 m3/d upon expansion. Its capacity is 6.5 times the capacity of Gefersa at present (see appendix B-1 for details of water infrastructure distribution among branches arranged in 2010). 

[image: image10.emf]1995

2000

2005

2010

2015

0.0

2.0x10

7

4.0x10

7

6.0x10

7

8.0x10

7

1.0x10

8

1.2x10

8

1.4x10

8

1.6x10

8

1.8x10

8

2.0x10

8

2.2x10

8

2.4x10

8

Volume (m

3

/year)

year

 

Total volume

 

Total GW

 

Gefersa

 

Legedadi


                Figure 4‑4: Surface water production of AAWSA during 1994-2015 

Until 1994, surface water which was abstracted from Legedadi and Gefersa dams was the exclusive source for the city. The contribution of all sources of surface water decreased during 1995-2000 as all sources of groundwater water production increased (Figure 4‑5). The rapid increase of the share of groundwater to system input volume after 2001-2002 could be associated with the strategic focus shift of the city’s Government towards groundwater for firefighting reasons/getting breathing space to relive acute water shortages. The slow and small increase in surface water production associated with huge loss is also a factor for this observed trend change. Although groundwater sources are preferred over surface water sources for their rapid production and lower initial investment capital, they should not be taken long lasting solutions since their operational and maintenance costs are very high accompanied by high-energy demand.

Taking groundwater as a sustainable source is not welcomed by most senior /educated AAWSA technical staff consulted. The situation is compounded with a concentration of wells in few well fields at short distances only after single well test results that may not be trusted. The field observation in this study has revealed many instances of abandoned wells because of lesser production. This is often caused by increased numbers of wells and over abstraction beyond their sustainable yield or recharge potential. Even though surface water sources are initial capital intensive and time taking, they have longer service periods and require a relatively lesser operation cost. 


[image: image11.emf]1995 2000 2005 2010 2015

60

80

100

 % SW

 % GW

Year

% SW

0

5

10

15

20

25

30

35

40

45

 

% GW


Figure 4‑5: Proportion of the contributions of all groundwater and all surface water sources for                system in put volume during 1994-2014

 4.1.3.1.3 Total billed consumption and total water loss

In this study, total water loss was considered as the sum of apparent (administrative) losses and the real (physical) losses or leakage (McKenzie and Wegelin, 2009). The result of this study has found that the mean annual rate of total billed consumption increased by 89.6% between 1997 and 2015 with a mean annual consumption of 96,110,548 m3. Water balance calculations were done based on approximation due to complete and accurate data unavailability particularly for apparent losses and unbilled consumptions. NRW is the measure of water distribution efficiency indicating either the percent or volume of water for which revenue is not collected. NRW can be aggregated value of the whole water supply system or disaggregated value of branches. Water loss is a serious problem in Addis Ababa causing both severe water shortage and huge financial losses. In response to AAWSA’s inadequate investigation of this problem, the present study has compared AAWSA’s report with own calculations based on time series data collected from AAWSA itself. Water loss was calculated from total water production and net supply considering other factors using the following assumptions:

1. Gross supply (gross distribution) is assumed to be the total production without considering the water loss also known as system input volume,

2. System input volume is the sum of the annual readings of all the sources                     

3. Total billed consumption is the sum of the billed volumes of water used by all types of customers (domestic, non-domestic and public tap)                                                        

4. Annual total water loss (NRW) is calculated as the difference between system input volume (m3) minus billed consumption                                                                           

5. Physical loss (real loss) is considered to be 75% of total loss (AAWSA’s case)             

6. Net loss (apparent loss) is the difference between total loss and physical losses             

7. NRW (%) is calculated as the percent of the difference between system input volume and billed consumption divided by total production and then multiplying by 100 percent 

The lowest NRW values of 26.8% found by this investigation observed in 1998 (Table 4‑5) could be associated with low water production recorded since 1997. The highest value of NRW recorded in 2003 could be because of inner city development and the average value of 39.7% is greater than AAWSA’s reported value of 37%.  The decrease in NRW since 2003 indicates NRW reduction measures and rehabilitation of old pipelines.  At present, high volumes of apparent and real losses are causing serious water shortage and financial losses. During 1997-2015, the average annual water loss was 33,791,003.2 m3 (100, 493.7 m3/d).


Table 4‑5: NRW based on AAWSA’s different year’s production and consumption data

	Year 
	Legedadi reservoir 
	Gefersa reservoir 
	Total SW
	Total GW
	Annual SIV
	Billed consumption
	Total loss
	A real loss
	Apparent loss
	NRW

	
	
	
	
	
	
	
	
	
	
	(%)

	1997
	47,591,408
	8,668,216
	56,259,624
	2,184,101
	58,443,725
	32,017,622
	26,426,103
	19,819,577
	6,606,526
	45.2

	1998
	43,737,558
	8,371,040
	52,108,598
	1,758,110
	53,866,708
	39,426,348
	14,440,360
	10,830,270
	3,610,090
	26.8

	1999
	53,134,069
	8,297,900
	61,431,969
	2,574,394
	64,006,363
	37,400,209
	26,606,154
	19,954,616
	6,651,539
	41.6

	2001
	52,246,313
	7,917,757
	60,164,070
	2,864,100
	63,028,170
	39,411,296
	23,616,874
	17,712,656
	5,904,219
	37.5

	2002
	52,716, 452
	8, 244,938
	60,961,390
	7,843,600
	68,804,990
	37,376,052
	31,428,938
	23,571,704
	7,857,235
	45.7

	2003
	50,973,399
	7,972,714
	58,946,113
	8,591,516
	67,537,629
	36,001,815
	31,535,814
	23,651,861
	7,883,954
	46.7

	2004
	53,595,590
	8,607,688
	62,203,278
	13,620,911
	75,824,189
	41,691,787
	34,128,371
	25,596,278
	8,532,093
	45

	2006
	59,514,199
	8,138,448
	67,652,647
	15,207,625
	82,860,272
	51,338,591
	31,521,681
	23,641,261
	7,880,420
	38

	2007
	60,038,338
	8,467,053
	68,505,391
	17,773,198
	86,278,589
	53,285,445
	32,993,144
	24,744,858
	8,248,286
	38.2

	2008
	60,144,863
	7,456,619
	67,601,482
	20,804,141
	88,405,623
	53,649,740
	34,755,883
	26,066,912
	8,688,971
	39.3

	2009
	60,475,493
	8,132,038
	68,607,531
	23,593,746
	92,201,277
	60,753,774
	31,447,503
	23,585,627
	7,861,876
	34.1

	2010
	59,585,580
	10,793,280
	70,378,860
	28,286,484
	98,665,344
	65,442,442
	33,222,902
	24,917,177
	8,305,726
	33.7

	2011
	60,112,071
	11,262,008
	71,374,079
	34,066,919
	105,440,998
	69,262,863
	36,178,135
	27,133,601
	9,044,534
	34.3

	2012
	59,425,092
	11,306,884
	70,731,976
	41,442,775
	112,174,751
	67,469,190
	44,705,561
	33,529,171
	11,176,390
	39.9

	2013
	60,225,000
	10,902,154
	71,127,154
	49,152,898
	119,972,725
	66,283,391
	53,689,334
	40,267,001
	13,422,334
	44.8

	2014
	60,266,250
	10,793,076
	71,059,326
	49,308,324
	120,088,391
	66,129,097
	53,959,295
	40,469,471
	13,489,824
	45

	2015
	 
	 
	 
	 
	129,856,588
	71,421,123
	58,435,465
	43,836,595
	14,608,866
	45

	Average 
	 
	 
	 
	 
	87,497,194
	52,256,517
	32,069,736
	26,431,096
	8,810,170
	40


4. 1.3.1.4 Disaggregated NRW

Disaggregated NRW values among the eight water supplying branches were calculated from the aggregated NRW (%) value since their input volumes are neither known nor each branch owns separate source. This disaggregation It was done based on SIV and billed consumption data of branches. Five years’ (2009- 2013) billed consumption data collected from AAWSA was employed to see the recent trends among the eight branches. The contribution of each branch to NRW was assumed uniform and the calculated values were 34.1, 33.7, 34.3, 39.9 and 44.8 % for the period 2009-2013 respectively. The corresponding NRW value of the eight branches is summarized in Table 4‑6 below:

Table 4‑6: Disaggregated NRW in the eight branches for the years 2009- 2013 (based on different years of AAWSA reports)
	Year 
	Branch
	AddisKetema
	Akaki
	Arada
	Gulele
	GurdShola
	Megenagna
	Mekanisa 
	Nefas Silk

	2009
	consumption
	512,041
	310,203
	887,042
	577,108
	670,281
	774,725
	644,507
	821,344

	
	NRW (%)
	34.1
	34.1
	 34.1
	34.1
	34.1
	 34.1
	34.1
	34.1

	
	NRW (m3)
	174,606
	105,779
	302,481
	196,794
	228,566
	264,181
	219,777
	280,078

	2010
	consumption 
	529,643
	281,037
	878,501
	621,920
	790,525
	782,795
	688,014
	881,102

	
	NRW (%)
	33.7
	33.7
	33.7
	33.7
	33.7
	33.7
	33.7
	33.7

	
	NRW(m3)
	178,490
	94,710
	296,055
	209,587
	266,407
	263,802
	231,861
	296,931

	2011
	consumption 
	591,404
	356,055
	812,740
	625,848
	816,001
	760,611
	782,937
	930,815

	
	NRW (%)
	34.3
	34.3
	34.3
	34.3
	34.3
	34.3
	34.3
	34.3

	
	NRW(m3)
	202,851
	122,127
	278,770
	214,666
	279,888
	260,890
	268,547
	319,270

	2012
	consumption 
	541,003
	381,329
	787,087
	536,115
	880,404
	725,297
	791,903
	891,893

	
	NRW (%)
	39.9
	39.9
	39.9
	39.9
	39.9
	39.9
	39.9
	39.9

	
	NRW(m3)
	215,860
	152,150
	314,048
	213,910
	351,281
	289,394
	315,969
	355,865

	2013
	consumption 
	513492
	343528
	833069
	537664
	883323
	791030
	818777
	916116

	
	NRW (%)
	44.8
	44.8
	44.8
	44.8
	44.8
	44.8
	44.8
	44.8

	
	NRW(m3)
	230,044
	153,901
	373,215
	240,873
	395,729
	354,381
	366,812
	410,420

	Average
	consumption 
	537,517
	334,430
	839,688
	579,731
	808,107
	766,892
	745,228
	888,254

	
	NRW (%)
	37.36
	37.36
	38.18
	37.36
	37.36
	38.18
	37.36
	37.36

	
	NRW(m3)
	200,370
	125,733
	312,914
	215,166
	304,374
	286,530
	280,593
	332,513


4.1.3.1.5 Net supply 

Net water supply, water distributed including apparent loss, was calculated as the difference between SIV minus real loss. CSA’s population data and AAWSA (2011) demand projection data were used for such calculations (Table 4‑7). This study has found that net supply has not shown significant change over time but increased and decreased at different times. The decrease in the rate of growth of billed volume could be associated with AAWSA’s very poor billing system, customers’ unwillingness to settle their bills on time, illegal connections and unbilled authorized consumptions. 
Table 4‑7: Volume and percentage of billed volume compared to SIV for the period 1996- 2015

	Year 
	production
	Billed volume
	Monthly billed volume (%)

	
	Annual (106m3)
	Monthly (106m3)
	Annual(106m3)
	Monthly (106m3)
	

	1996
	56.355157
	4.696263
	35.5
	2.958333
	62.99

	1997
	58.443725
	4.87031
	36.8
	3.066667
	62.97

	1998
	53.866708
	4.488892
	34
	2.833333
	63.12

	1999
	64.006363
	5.333864
	40.5
	3.375
	63.27

	2000
	65.793897
	5.482825
	41.5
	3.458333
	63.08

	2001
	63.02817
	5.252348
	39.7
	3.308333
	62.99

	2002
	68.796146
	5.733012
	43.3
	3.608333
	62.94

	2003
	67.537629
	5.628136
	42.6
	3.55
	63.08

	2004
	75.820158
	6.318347
	41.7
	3.475
	55.00

	2005
	80.07355
	6.672796
	51.2
	4.266667
	63.94

	2006
	82.860272
	6.905023
	49.9
	4.158333
	60.22

	2007
	86.278589
	7.189882
	52.5
	4.375
	60.85

	2008
	88.405623
	7.367135
	53.3
	4.441667
	60.29

	2009
	92.201275
	7.68344
	55.7
	4.641667
	60.41

	2010
	98
	8.166667
	63.1
	5.258333
	64.39

	2011
	105.574734
	8.797895
	68.8
	5.733333
	65.17

	2012
	112.215567
	9.351297
	67
	5.583333
	59.71

	2013
	120.93074
	10.077562
	72.5
	6.041667
	59.95

	2014
	119,759625
	9.979968
	75.4
	6.283333
	62.96

	2015
	129.86
	10.821667
	81.8
	6.816667
	62.99


4.1.3.1. 6 Daily Per capita consumptions (l/c/d)

The volume of time serious daily per capita billed consumption, calculated for the three population scenarios, was found to be less than 70 lit/c/d. This value is far below AAWSA’s claim of 110 lit/c/d (Table 4‑8). 
Table 4‑8: Aggregated per capita water consumption for the period 1996-2015
	Year


	AAWSA
	CSA data
	Day time (30% CSA)

	
	Population


	l/c/d


	Population


	l/c/d


	Population


	l/c/d



	1997
	2150000
	46.9
	2286000
	44.1
	2971800
	33.9

	1998
	2190000
	42.5
	2354000
	39.5
	3060200
	30.4

	1999
	2230000
	49.7
	2424000
	45.7
	3151200
	35.2

	2001
	2320000
	46.9
	2570000
	42.3
	3341000
	32.6

	2002
	2360000
	50.2
	2646000
	44.8
	3439800
	34.4

	2003
	2400000
	48.6
	2725000
	42.8
	3542500
	32.9

	2004
	2440000
	46.8
	2805000
	40.7
	3646500
	31.3

	2006
	2520000
	54.2
	2973000
	46
	3864900
	35.3

	2007
	2570000
	55.9
	2739551
	52.5
	3561416
	40.3

	2008
	2967000
	49.2
	2792555
	52.3
	3630322
	40.2

	2009
	3051000
	50
	2851862
	53.5
	3707421
	41.1

	2010
	3136000
	55.1
	2914245
	59.3
	3788519
	45.6

	2011
	3224000
	58.4
	2979481
	63.2
	3873325
	48.6

	2012
	3314000
	55.4
	3049043
	60.2
	3963756
	46.3

	2013
	3407000
	58.3
	3121654
	63.6
	4058150
	48.9

	2014
	3503000
	58.9
	3197210
	64.6
	4156373
	49.6

	2015
	3601000
	62.2
	3275348
	68.4
	4257952
	52.6


4.1.3.1.7 Supply coverage and population served 

Urban water use can be expressed in different units including cubic meters per year (m3/y), m3/ per month, m3/d, lit d-1 and others. This volume is increasing linearly with time. It reached 81.8 x106 m3 in 2015 from what it was 35.5 x10 6 m3 in 1996 (Table 4‑9).

Table 4‑9 : Total population served (resident population and a day time population equal to 30 % of the resident population (resident population estimated by CSA*)

	                  Year
	Population 
(No.)
	Consumption
 (m3/d)
	Consumption
(lit)
	Total Demand 
(m3/d)
	Mean per capita
 demand (lit/c/d)


	Demand
growth rate 


	2010
	2914245
	179,172
	179,171,641
	231007.1
	79.2
	

	2011
	2979481
	189,631
	189,631,384
	298354
	100.1
	0.26

	2012
	3049043
	184,721
	184,720,575
	322106.6
	105.9
	0.08

	2013
	3121654
	181,474
	181,474,034
	346214.8
	111.4
	0.07

	2014
	3197210
	181,052
	181,051,600
	370696.4
	116.8
	0.07

	2015
	2914245
	179,172
	179,171,641
	395569.7
	122.1
	0.06


The percentage of the population connected to the water supply system showed relatively smaller values in all the three population size scenarios (AAWSA projection, CSA projection and high scenario data used by other studies). But this percentage of the population served by AAWSA’s water supply system is increasing linearly with time. 

The implications of the evaluation of past, present and future water supply situation of Addis Ababa city can be generalized by the following major events presented in Table 4‑10 below.

Table 4‑10: Major events in Addis Ababa Water Supply system

	Year 
	Major event 
	Remark 

	1886
	Establishment /foundation of Addis Ababa city 
	 

	1901
	Addis Ababa got the first piped water supply 
	

	1942/3
	Construction of GefersaI Dam 
	

	1955
	Construction of Gefers II dam 
	Rehabilitation 

	1970
	Construction of Legedadi dam 
	The water treatment plant was also established  

	1985
	Expansion of Legedadi dam 
	

	1999
	Construction of Dire dam 
	

	2001
	Commissioning of Akaki well field 
	

	2012
	Commissioning of new Akaki well field 
	


4.1.3.2. Current and future water demand in Addis Ababa City 

The past and current imbalance between water supply and demand is expected to continue unresolved as past evidences and future projections show that demand is by far greater than supply. The exceeding rate of increase in demand over production of additional water is expected to widen this gap. The gap between supply and demand, called unmet demand, is summarized in  Table 4‑11. Water demand is expected to demonstrate a slow decreasing trend. There is a change in AAWSA’s water service provision options (standpipes, yard and house connections) but with no remarkable supply increment which in agreement with the findings of UN-HABITAT (2006). 

Table 4‑11: Population and population served based on different population sizes  
	Year
	Total population based on
	Population served per mode of service 
	Population served (%)

	
	AAWSA
	CSA
	CSA*
	HHC
	PFC
	YC
	total
	AWSA
	CSA
	CSA*

	1996
	2109000
	2220000
	2852700
	724960
	552000
	0
	1276960
	60.55
	57.52
	44.76

	1997
	2150000
	2286000
	2931000
	747615
	569250
	0
	1316870
	61.25
	57.61
	44.93

	1998
	2190000
	2354000
	2931000
	770270
	586500
	0
	1356770
	61.95
	57.64
	46.29

	1999
	2230000
	2424000
	3093000
	792925
	603750
	0
	1396680
	62.63
	57.62
	45.16

	2000
	2273800
	2495000
	3177140
	811049
	617550
	0
	1428600
	62.83
	57.26
	44.96

	2001
	2320000
	2570000
	3266000
	815580
	621000
	0
	1436580
	61.92
	55.9
	43.99

	2002
	2360000
	2646000
	3354000
	860890
	655500
	0
	1516390
	64.25
	57.31
	45.21

	2003
	2400000
	2725000
	3445000
	906200
	690000
	0
	1596200
	66.51
	58.58
	46.33

	2004
	2440000
	2805000
	3537000
	951510
	724500
	0
	1676010
	68.69
	59.75
	47.39

	2005
	2480000
	2887000
	3631000
	996820
	759000
	0
	1755820
	70.8
	60.82
	48.36

	2006
	2520000
	2973000
	3729000
	1064785
	810750
	0
	1875540
	74.43
	63.09
	50.3

	2007
	2570000
	2739551
	3510551
	1178490
	897328
	0
	2075820
	80.77
	75.77
	59.13

	2008
	2967000
	2792555
	3682655
	1299287
	989305
	0
	2288590
	77.13
	81.95
	62.15

	2009
	3051000
	2851862
	3767162
	1366142
	1040210
	0
	2406350
	78.87
	84.38
	63.88

	2010
	3136000
	2914245
	3855045
	1458748
	1076105
	6716
	2541570
	81.04
	87.21
	65.93

	2011
	3224000
	2979481
	3946681
	1554743
	1114114
	22080
	2690940
	83.47
	90.32
	68.18

	2012
	3314000
	3049043
	4043243
	1641171
	1149469
	47840
	2838480
	85.65
	93.09
	70.2

	2013
	3407000
	3121654
	4143754
	1699203
	1172614
	58880
	2930700
	86.02
	93.88
	70.73

	2014
	3503000
	3197210
	4248110
	1782815
	1206022
	75440
	3064280
	87.48
	95.84
	72.13

	2015
	3601000
	3275348
	4355648
	1862577
	1238840
	101200
	3202620
	88.94
	97.78
	73.53


Where, HHC = private in-house connection, PFC = public fountain connections and YC= yard connection 

CSA* implies total population estimated by CSA plus 30% of this population 

4.1.3.2.1 Demand-Supply Gap
Supply gap or unmet demand, the difference between the total water demand and the total water supply, was calculated from the values of SIV, billed consumption and projected projection. It is highly dependent on the magnitude of NRW. By calculating this gap both without and with considering NRW, the findings of this study have showed that demand was increasing faster than production. Demand coverage was 77.6%, lower than AAWSA’s report of 81%. The decreasing trend of supply coverage contradicts with AAWSA’s plan of increasing supply coverage to reach 100% in 2015. AAWSA’s report of 79,100,106, 111 and 117 l/c/d consumption deviates from the calculated value of 61, 64, 58 and 58 for the same period (2010: 2014).

The decreasing per capita consumption from 2013 onwards might be associated with population growth and enhanced non-domestic consumption by the booming construction and other economic activities. Although there was additional water production from 18,932,903 m3/y (2010) to 69, 267, 777m3/y (2014), demand showed a higher average growth of rate of 11.8% over six years comparted to 2.64% average growth rate for water production over the same period. This calls for exploration of new water sources and practicing water management techniques (NRW reduction, demand management, rainwater harvesting, and wastewater treatment and at least re- use for non-potable uses (such as landscape watering, car washing and others) that are putting pressure over fresh water (Table 4‑12).

Table 4‑12:  Daily and annual demand -supply gap (m3) during 2010:2015 (based on CSA, 2007)
	Year 


	Total demand (m3)
	Supply gap without NRW(m3)
	Supply gap with NRW (m3)

	
	Daily 
	Annual 
	Daily
	Annual
	Coverage (%)
	Daily
	Annual
	Coverage (%)

	2010
	231007.1
	84,375,345
	39123.9
	14,289,999
	116.9
	-51835
	-18,932,903
	77.6

	2011
	298354
	108,973,816
	-9672.3
	-3,532,818
	96.8
	-108723
	-39,710,953
	63.6

	2012
	322106.6
	117,649,427
	-14988.8
	-5,474,676
	95.3
	-137386
	-50,180,237
	57.3

	2013
	346214.8
	126,454,971
	-17747.4
	-6,482,246
	94.9
	-164741
	-60,171,580
	52.4

	2014
	370696.4
	135,396,874
	-41912.3
	-15,308,483
	88.7
	-189645
	-69,267,777
	48.8

	2015
	395,569.7
	144,481,832.9
	-171,613.5
	-62,681,833
	56.6
	-272, 394
	-99, 491, 833
	43.4


4.1.3.2.2. Disaggregated Water Demand

Water demand can be analyzed either aggregated for the entire city or disaggregated for a sub city (a given branch) for a more accurate planning purpose. The current investigation has disaggregated water demand based on the current eight water supplying branches. This disaggregation was done based on CSA (2008) and AAWSA (2010) branch data. Thus, the percentage contributions of each branch to the entire city population were estimated and the population of the eight branches was calculated taking constant proportion through 2007: 2015 (Table 4‑13). The volume supplied by AAWSA is lower than 50-100 liters per person per day available water for all persons recommended by national and international guidelines but slightly higher than an absolute minimum of 20 l/c/d (UNDP, 2006). 

Table 4‑13: Summary of disaggregated demand of the three population growth scenarios

	year
	AAWSA’s data
	CSA projection
	With day time population 

	
	Mean demand 
	population
	Supply

(l/c/d)
	Unmet demand (l/c/d)
	population
	Supply (l/c/d
	Unmet demand (l/c/d)
	population
	Supply (l/c/d
	Unmet demand (l/c/d

	2010
	79
	3136000
	57.1
	21.9
	2914245
	61.5
	17.5
	3788518.5
	47.3
	31.7

	2011
	100
	3224000
	58.8
	41.2
	2979481
	61.5
	38.5
	3873325.3
	49
	51

	2012
	106
	3314000
	55.7
	50.3
	3049043
	61.5
	44.5
	3963755.9
	46.6
	59.4

	2013
	111
	3407000
	53.3
	57.7
	3121654
	61.5
	49.5
	4058150.2
	44.7
	66.3

	2014
	117
	3503000
	51.7
	65.3
	3197210
	61.5
	55.5
	4156373
	43.6
	73.4

	2015
	122
	3601000
	49.8
	72.2
	3275348
	61.5
	60.5
	4257952.4
	42.1
	79.9


Source: Adapted from AAWSA Business plan (2011)

 4.1.3. 2.3 Population Distribution Among Branches

This investigation has shown unevenly divided population size among the eight branches supplied with AAWSA’s water. Akaki branch serves only 4.9% of this population while Nefas Silk branch serves as big as 21.8% (      Table 4‑14). AAWSA’s projection, CSA projection /census population data, and population size with day time population of about 30% of the CSA projected size were used for this analysis.

      Table 4‑14: Population distribution among the eight Branches
	Branches
	2010
	2011
	2012
	2013
	2014
	% share

	Addis Ketema
	37816
	48841
	52729
	56676
	60684
	16.1

	Akaki
	11528
	14889
	16074
	17277
	18499
	4.9

	Arada
	42002
	54247
	58565
	62949
	67400
	17.9

	Gulele
	12890
	16648
	17973
	19318
	20684
	5.5

	Gurd Shola
	19168
	24756
	26726
	28727
	30758
	8.2

	Megenagna
	30106
	38883
	41978
	45120
	48311
	12.8

	Mekanisa
	30106
	38883
	41978
	45120
	48311
	12.8

	Nifas Silk
	51212
	66142
	71407
	76752
	82179
	21.8

	Addis Total
	234828
	303289
	327430
	351939
	376826
	100

	Annual growth rate (%)
	 
	22.6
	7.4
	7
	6.6
	 


4.1.3.2.4. Disaggregated Daily Water Demand 

The daily disaggregated water demand analyzed for the eight branches based on the total demand data of the entire city during 2010:2014 showed an average growth rate of 10.4 % assuming uniform demand growth for all branches. This categorized them into three categories:

High demand branches: the three branches Nifas Silk, Arada and Addis Ketema (in that order) have high water demand related with their high population density; vibrant economic activities demanding more water.; and characteristic developed lands. Customers may not have private water sources.

Moderate demand branches: Gulele, Mekianisa, and Megenagna have moderate water demands due to their moderate population densities with possibility of developing private sources as these areas are not completely developed.

Low demand branches:  Akaki, and Gurd Shola branches showed the lowest demands related to their sparsely populated customers. Most vital water consumers concentrated here can have their own private water sources or may use river water at least for non-potable uses. The summary of total dis aggregated demand is presented in     Table 4‑15 below:

    Table 4‑15: Summarized daily water demand of branches (m3)
	Year
	2007
	2008
	2009
	2010
	2011
	2012
	2013
	2014
	2015

	Addis Ketema
	448255
	457145
	466854
	477066
	487745
	499133
	511019
	523388
	536179

	Akaki
	136646
	139356
	142315
	145428
	148684
	152155
	155778
	159549
	163448

	Arada
	497869
	507743
	518526
	529868
	541729
	554377
	567579
	581317
	595524

	Gulele
	152790
	155820
	159129
	162610
	166250
	170131
	174183
	178399
	182759

	Gurd Shola
	227204
	231710
	236631
	241807
	247220
	252991
	259016
	265285
	271769

	Megenagna
	356859
	363936
	371665
	379795
	388297
	397363
	406825
	416672
	426855

	Mekanisa
	356859
	363936
	371665
	379795
	388297
	397363
	406825
	416672
	426855

	Nifas Silk
	607038
	619077
	632225
	646054
	660516
	675937
	692034
	708784
	726107

	Addis Ababa
	2738251
	2792555
	2851862
	2914245
	2979481
	3049043
	3121654
	3197210
	3275348


4.2. Customers' satisfaction, perceptions, and experiences

4.2.1. The local reality of urban water supply 

Goal 6 of the universal sustainable development goals is to ensure availability and sustainable management of water and sanitation for all. The number of people who use improved drinking water source increased from 82 % in 2000 to 91% in 2015. Yet an estimated 663 million people are still using unimproved sources or surface water (Hotton and Chase, 2016). Water stress affects more than 2 billion people around the globe and this number is projected to rise opposed to integrated water resources management plans under way in every region of the world .
4.2.2 Perception about the water supply service 

This perception study took 2016 in order to link the previous situation (up to 2015) and the future from 2015 onwards since GTPII starts in 2016. The analysis and interpretation of customers’ perceptions about the water supply service includes water supply interruption, and adequacy of water supply and pressure. About 1 out of 5 respondents said they did not experience water interruption in 2016. However, 4 out of 5 faced interruption which lasted for 1 day up to more than one month (Table 4‑16). Nearly half of them said that water was interrupted for more than two weeks. However, the situation gets worst in some years as almost 95% of customers faced water supply failure. In such times, nearly seven out of ten customers failed to receive water supply for up to 1 week. The number of respondents who did no experience water interruptions increased from 5.9% in the worst-case year to 18.7% in 2016.

        Table 4‑16: Water Supply Interruptions During 2016 and Any Worst-case year(N=273)                             

	Water supply interruptions 
	Percent


	Cumulative

percent 
	Percent


	Cumulative

Percent

	Never 
	18.7
	 -
	5.9
	 -

	< 1 week 
	29.3
	29.3
	67
	67

	Two weeks 
	22.7
	52
	3.3
	70.3

	Three weeks 
	18.3
	70.3
	13.2
	83.5

	Four weeks  
	8.8
	79.1
	0.7
	84.2

	More than four weeks 
	2.2
	81.3
	9.9
	94.1


As noted by areas Padowski and Jawitz (20120, ensuring that cities have an adequate supply of water is increasingly important as human populations continue to concentrate in urban since rapidly growing urban demands are straining local and regional water supplies and concerns over urban water scarcity are becoming more prominent (Levin et al., 2002). Different societal strata experience urban water supply in different ways (Del Grande et al., 2016). This survey has expressed and characterized reliability as the expected length of time between successive failures (i.e., time-to-failure), the number of outages or failures to meet supply commitments.

Duration of water supply: Nearly half of the respondents have reported that the average duration of piped water availability was generally less than 12 hours per day while a significant proportion of water customers (22.7%) have less than 1 hour (Table 4‑17). The daily water supply of 2 customers out of 5 customers varies from less than 1 hour to and 6 hours. Only 4 out of 10 receive water between 18-24 hours a day. Domestic customers have the highest duration of water supply than other customer categories (data not shown). 
Table 4‑17: The length of water supply hours per day

	Length of supply hour


	Less than 

1 hour


	1-6 hours


	6-12 hours


	12-18 hours


	18-24 hours


	Total



	Percent 
	22.7
	11
	10.3
	15.4
	40.7
	100

	Cumulative percent
	22.7
	33.7
	44
	59.3
	100
	 


Adequacy of water supply: It is the volume of water supplied being able to meet customers’ needs satisfactorily or being sufficient for the end in view. Nearly 69 % of respondents have rated their water supply as either acceptable or adequate or more than adequate (Table 4‑18). The remaining 31% expressed dissatisfaction with the amount of water supplied to them. They perceived it either inadequate or highly inadequate. Vendors are most dissatisfied followed by public fountain and commercial categories. 27% of domestic comers are dissatisfied by the adequacy of their water supply. 

Table 4‑18: Survey results for the question: Do you have sufficient water in your home?

	Respondents
 (%)
	Slightly adequate
	Adequate


	more than 

adequate
	Inadequate


	Highly

 inadequate
	% of this category 

	Commercial
	8.3
	55.6
	0
	22.2
	13.9
	13.2

	Domestic
	9
	62.3
	1.8
	15
	12
	61.2

	Pseudo domestic
	12.5
	62.5
	0
	6.3
	18.8
	5.9

	Industrial
	0
	100
	0
	66.7
	0
	22

	Institutional
	10.5
	55.3
	0
	13.2
	21.1
	13.9

	PF
	12.5
	12.5
	0
	25
	50
	2.9

	Vendor
	0
	0
	0
	0
	100
	0.7

	All categories
	9.2
	58.6
	1.1
	15.8
	15.4
	100


Water pressure, a measure of the force that pushes the water through our pipe and into our property and as felt by water customers, was analyzed based on the perceptions of consumers. Dissatisfaction with low water pressure was reported by 30% of the respondents indicating that they had experienced either very low or low water pressure. Pressure is acceptable only for 3 customers out of 5 customers. Level of dissatisfaction is more (56%) for domestic customers than other categories of customers. Note also that level of dissatisfaction with the supplied pressure is high for commercial customers (Table 4‑19).
Table 4‑19: Customers’ Perception of the adequacy of water supply pressure(N=273)
	Perceived pressure 


	Low- Very Low


	Optimum


	High-Very High 


	Sample size (%)



	Commercial
	39
	19
	42
	13.2

	All Domestic
	55
	53
	90
	67

	Industrial
	33
	17
	50
	2.2

	Institutional
	39
	29
	31
	13.9

	Public Fountain
	25
	25
	50
	2.9

	Vendors
	0
	0
	100
	20.7

	all categories (%)
	30
	26
	44
	100


Customers have witnessed that both low pressure and high-pressure values that have contributed to the dissatisfaction of consumers since they cause breakage of water pipes, tap and other facilities in areas located at lower part of the city with better and continuous supply. Low pressure lengthens water collection time disappointing the water collector, associated water wastage, and inflated water bills. This disable customer to collect adequate water in case of short supply hours for residents in high elevation places like Tsion Hotel, Silte Sefer, Biret Dildiy, Kara and other areas which were suffering from supply shortage as long as a month because of low pressure. 

Low or no system pressure causes back siphonage and introduce bacteria into drinking water (Lee and Schwab, 2005). The reported low pressures in this study area might be either due to inadequate pressure in the water main or plumbing issues or low water flow. Plumbing issues include bursts, diameter of the pipe, corrosion in the pipes or on appliances, the length of the supply line, the presence of a leak on the supply, the number and type of fittings along the pipe: ferrules, stop taps, meter, bends, and any inconsistence in the pipe.  

4.2.3. Water quality 

Aesthetic parameters of water quality may not show water safety (Olukanni et al, 2014). Yet, they can provide important clues to water problem causes and treatment devices selection to improve water quality. Hence, reliance on senses may lead to avoidance of highly turbid or colored but otherwise safe waters in favor of more aesthetically acceptable but potentially unsafe water sources (WHO, 2017). Water provided by AAWSA could be classified into poor quality for drinking by nearly 31% of the customers compared to 69% of them who have perceived the quality of their water supply from regular to very good (Figure 4‑6). Public fountain users and false domestic customers have not rated the overall quality of their supply.  Only few customers from the commercial, domestic, industrial, institutional and vendor user categories have rated their supply as excellent (data not shown). In Addis Ababa 69% of the consumers perceived the quality of their overall water supply acceptable (regular to very good) (Figure 4‑6).

The majority of the customers (58%) reported that the water delivered to them is not colorless. Two out of five customers reported that the water has rusty and black color.

[image: image12.png]Respondents(%)

45
40
35
30
25
20
15
10

I I I | §

Verybad  Bad Regular  Good  Verygood





Figure 4‑6: Color and appearance

The reddish hue seen when water is first drawn may indicate the presence of a significant amount of particulate iron in the water due to galvanized iron pipe in the building or rusted pressure tank, well casing or pump. Water color that varies from yellow to dark brown might suggest the presence of tannins (humic acid) in the water, consistent with the note by Leenheer (2004). Water color varying from blackish hue to almost black suggest a significant amount of dissolved manganese in the water (Adams, 1969; Olukanni et al., 2014). A milky appearance might be an indication of dissolved air in the water associated with the water supply system caused by problems such as the well pump sucking air or a malfunctioning pressure tanks (Wildrick et al., 1976; Russell et al., 1987). The appearance of suspended particles reported by respondents might have been caused by riled-up water in the water supply, sand pumping from a well or debris left in the piping after repairs.  Similar observations were reported by Johnson and Scherer (2012).

The reported soap curds that are gel-like mixtures of soap, calcium and magnesium and lime scum (white deposits) and off-white scale might suggest that the water is hard due to elevated amounts of calcium and magnesium salts in the raw water supplies (MacAdam and Parsons, 2004; Sörme and Lagerkvist, 2002; Yang et al., 1998). Rust colored water and stained sinks are clue for iron contamination. Corrosive water may indicate heavy metal contamination (Chowdhury et al., 2016). Green residues or stains left on faucets, pots, and skins can be the results of corrosion of household plumbing and leaks in pipes are sure indicator of such corrosion (Oswald et al., 2014). As it is nearly impossible to taste, see or smell most heavy metals, they can reach toxic concentration before any symptoms. Black color water suggests elevated concentration of manganese (Figure 4‑7). 

[image: image13.png]W o W o Ww o 1w o w o
Y F Mm@ AN 4 A

(9 syuapuodsay




Figure 4‑7: Water Customers’ water color perception in 2016

4.2.3.1. Taste 

Three out of five customers brand their water supply palatable (pleasant to drink). The perception of 43% of the customers is that the water has objectionable/bad taste. As high as 17 % of the respondents’ suspect that their water taste is changed to sewer because the pipeline might be contaminated by sewer. This may lead to serious health risk. The Fishy/ /musty / earthy/ moldy taste of water might have resulted from harmless compounds from decomposing natural organic matter entering the water supply commonly associated with surface water supplies. Metallic or rusty taste might indicate possible contamination with elevated concentration of manganese or other metals (Williams and Suh, 1986). Sewer taste suggests sewer contamination of water (Figure 4‑8) but it doesn’t necessarily grantee either water quality or water safety. Minerals are certainly responsible for much of water’s mouth feel since they can add a salty, sweet, bitter or sour flavor to water (Dietrich, 2006).

[image: image14.png]Respondnets(%)

70

60

50

40

30

20

10

7.3
2 N
& & F
& & &





Figure 4‑8: Taste perception of customers of their water supply

4.2.3.2. Odor or Smell

More than three quarter of respondents have perceived their water supply as odorless and the remainder quarter have classified it as having offensive or unpleasant smell. Some respondents have labeled their supply either earthy/ musty or rotten egg or sewer while smaller proportions of them have described it as chemical/ medicine or rust smell (Figure 4‑9). This doesn’t necessarily grantee water quality or water safety. The reported rotten egg odor can be due to hydrogen sulfide gas in the raw water.

[image: image34.png]5.1
&

0
-

coogog9ooo
QBN LWL T O

(%)s1apuodsay]




          Figure 4‑9 : Smell classification of the water supply
4.2.3.3. Affordability of services 

Results of this section are analyzed based on customers’ response to two main questions: The opinions of customers on the price of the water and whether they could afford to pay for the services i.e. customer were asked “how much do you pay for water per month?” and” how do you rate the water fee that you are paying are charged as expensive, reasonable or cheap?”  Only 14% of the customers perceive that the water price they are charged is expensive. 63%, 9% and 28% of domestic customers perceive the amount they are paying for the water they use is cheap, expensive and average respectively. A larger proportion of 3 out of 5 customers rated this tariff as cheap. About 86% of water customers rated the water price as affordable that is either optimum or cheap. As shown in Table 4‑20, the perception on affordability did not change significantly with water users’ category. The current water tariff evaluation and water customer’s residential sub city have very significant correlations, X2 (18, N=273) =43.484, P<001. This demonstrates significant differences of water tariff evaluation values.

Table 4‑20: Evaluation of water price by water customers in 2016

	Respondents (%)


	Water price 
	Sample size (No.)



	
	Cheap
	Expensive
	Optimum
	

	Commercial
	44.4
	30.6
	25
	36

	Domestic
	62.9
	9
	28.1
	167

	False domestic
	75
	18.8
	6.3
	16

	Industrial
	66.7
	16.7
	16.7
	6

	Institutional
	57.9
	13.2
	28.9
	38

	PF
	62.5
	25
	12.5
	8

	Vendor
	50
	50
	0
	2

	All categories
	60.4
	14
	25.6
	273


The number of people who perceive the water price expensive is more in Lideta, Yeka and Bole sub cities than others (Table 4‑21). Unconnected consumers were found to be paying much higher for water supply compared to those connected to the utility water supply
Table 4‑21: customers’ residential sub city and their current water tariff evaluation

	Perception
	Addis ketema
	Akaki –kality 
	Arada
	Bole
	Gulele
	Kirkos
	Kolfe keraniyo
	Lideta
	Nefas Silk  Lafto 

	Cheap
	58.3
	76.9
	61.1
	42.2
	86.4
	50
	78.3
	70
	75

	Optimum
	33.3
	11.5
	22.2
	37.8
	13.6
	42.9
	10.9
	0
	16.7

	Expensive
	8.3
	11.5
	16.7
	20
	0
	7.1
	10.9
	30
	8.3

	Sub total 
	8.8
	9.5
	6.6
	16.5
	8.1
	10.3
	16.8
	3.7
	4.4


4.2.4. Overall water customer satisfactions 

In this study, the aggregated overall satisfaction level of all types of customers with the water supply and water service were found to be less satisfied. About 43% of the customers have said that they are not fully satisfied with the service being offered to them. This indicates that roughly six out of ten customers are not yet satisfied. The level of dissatisfaction is highest with the users under industrial category. Three out of ten domestic customers have expressed some level of dissatisfaction. The analysis of overall satisfaction disaggregated by water use categories showed that institutional (18.4%) and domestic (12.6%) customers have witnessed very high satisfaction compared to the aggregated average of 11% (Figure 4‑10).
[image: image15.png]#Acseptable = Highly satisfied _mSatisfied

=Unsaisfied

= Highly unsatisfied

1000

1
e
00

& & f“é

S

&

&

$

&

-
&
&




Figure 4‑10: Water customers’ s perceived satisfaction per user category
Customer –operator relations: Customer complain handling and dispute resolution: Based on the results of field observation and face to face customer interview nearly 3 out of 4 respondents reported that they did not get information from the utility (i.e. billing procedures, water demand management, etc.) while 25% said they get information about the activities of the water service provider. Thus, requests for service, complaints and suggestions are not welcomed but handled in an inconsistent manner as follows: no prompt response to the request/complaint; customers are not kept informed of the progress and outcome of the request/ complaint; no confidentiality of personal details; and no thorough and objective investigation of the complaints. 
4.2.5. Persistency of water quality 

As depicted in Figure 4‑11 and Figure 4‑12,  most odor and taste problems of water directly taken from tap are persistent and have started since long time. 

[image: image16.png]mL<1year mpersistent m constant =worsening mimproving = solved
300

250

N
8

Respondents (%)
= =
8 38

Red/brown  Black Rusty Yellow Green Cloudy





Figure 4‑11: Persistence of color of tap water

[image: image17.png]Respondents (%)

~
8

600

500

IS
8

w
8

m Salty
m Earthy
m Chemical / medicine

m metallic/rust
u Sewer/bitter/sour





Figure 4‑12: Taste of tap water

          The quality of water stored in homes showed persistency (Figure 4‑13). 

[image: image18.png]W I<1year

250

Respondents (%)
N
g 8 8 8

IS

Wpersistent W constant  © worsening W improving M solved
ft]
m i e =
[ 36.4 44.4
25.8 25 2856 - 99
28.6
Foamy  Black Red Grey  Yellow Brown Green




             Figure 4‑13: Persistence and color of water stored in home

Aesthetically unacceptable water supply undermines the confidence of customers leading to complaints and force them use water sources that are aesthetically more acceptable but potentially less safe. Customers have no means of judging the safety of their drinking water that appears dirty or discolored or that has unpleasant taste or smell even though these characteristics may not in themselves be of direct consequence to health. Thus, provision of safe and acceptable in appearance, taste and odor is of high priority. Customers have listed lack of water supply, exceeding of water demand over the capacity to supply, low piped water coverage, wasteful water usage practices by some customers due to lack of monitoring and evaluation as well coupled with the absence of strong laws, intermittency of supply, unacceptable physical water quality  and uneven or unequal distribution of the available water due to the utility’s inefficient and ineffective performance (low capacity ) and low water tariffs as major characteristics .

The poor water service levels have forced city residents to adopt expensive coping strategies such as installing ground storage tanks or purchasing storage materials and household filters and/or chemicals. Those without connections (mostly in expansion areas known as illegal settlers) have the additional burden of purchasing water of unknown quality at expensive costs from far distances as well as often not knowing to the nearest day when water may come. 

4.3. Situation analysis of the water supply service of Legedadi with WEAP 

4.3.1 The situation of water supply hours and volume in Addis Ababa
4.3.1.1 Weekly water supply days among branches 
Water distribution in the city is haphazard and inefficient and follows neither the city’s administrative divisions nor have defined pattern (Table 4‑1).
Table 4‑1  : The eight Branch Offices of AAWSA and their Areas of Water Supply service 

                     (based on AAWSA’s June- December 2016 Supply Schedules) 

	Branch 
	Sub cities served 
	Weredas served 
	Total weredas served 
	Remark

	Addis Ketema
	Addis ketema 
	4,6,7,9,10
	19
	Has the 2nd highest number of services weredas

	
	Gulele
	5,6,9,10
	
	

	
	Kolfe Keranyo
	6-10, 12-15
	
	

	Akaki
	Akaki Kaliti
	1-5,7-11
	10
	Most of the weredas have 24-hour supply

	Arada
	Arada
	1,8-10
	19
	Has the 2nd highest number of services weredas

	
	Kirkos
	1-12
	
	

	
	Lideta
	3-9
	
	

	
	Addis ketema
	1-4,8
	
	

	
	Yeka
	6
	
	

	Gulele
	Gulele
	1,2,5-8
	14
	The worst water shortage branch 

	
	Arada
	4-7,9
	
	

	
	Yeka
	1-3
	
	

	Gurd Shola
	Bole
	6-11,13,14
	12
	Has the highest number of customers 

	
	Yeka
	9-13
	
	

	Megenagna
	Bole
	1-5
	9
	Serves the lowest number of weredas 

	
	Yeka
	5,7,8
	
	

	
	Kirkos
	1
	
	

	Mekanisa 
	Nefas Silk Lafto
	1-4
	19
	Has the 2nd highest number of services weredas 

	
	Kolfe keranyo
	1-6,9
	
	

	
	Lideta
	1,10
	
	

	
	Kirkos
	4-7,10,11
	
	

	Nefas Silk
	Nefas Silk Lafto
	Lebu 01,5-12
	22
	Serves the highest number of with 24-hour supply except three weredas 

	
	Kirkos
	1-12
	
	

	
	Akaki
	6
	
	


According to this investigation, weekly water supply days and daily water supply hours have significant differences among branches. Thus, weekly water supply days were the highest weekly water supply days (6.55+ 1.41) and the lowest weekly water supply days of 2.23 + 2.15 in Akaki and Gulele branches respectively with city wise average value of 4.96 +2.43. accordingly, the weekly water supply days were less than 3; between 3-5 days and more than 5 days for Gulele; Addis ketema, Megengna and Nefas Silk; and Akaki, Arada, Gurd Shola, and Mekanisa branches in that order. Akaki branch provides 3 times more days in a week compared to Gulele branch (Table 4‑2). The standard deviation comparable to mean of Gulele branch suggests absence of precision in water provision. 

4.3.1.2 Daily water supply hours among branches 
Mekanisa branch supplies water for longest average hours per day (22.92+7.73) compared to Gulele branch that supplies water the shortest (7.67+7.4 ) hours per day (Table 4‑2).  Gulele branch has very high distribution variability as shown by its very high standard deviation with supplying water 2 times shorter hours daily compared to the aggregated city wise mean daily supply hours of 15.17+8.48. Thus, the current branch wise water supply distribution is characterized by supply inequity both in terms of weekly water supplying days and daily water supply hours.  There are very strong variations in weekly water supply days among branches with F (7, 2474.5) =27.36, P=.000 and highly significant variations in daily water supply hours among branches, F (7, 29913.2) =31.4, p=.000.

Table 4‑2:  Mean weekly water supply day and mean daily water supply hours of the eight branches of Addis Ababa City in 2016
	Branch 
	Weekly water supply days 
	Daily water supplying hours

	
	mean
	N
	Std
	CV(%)
	mean
	N
	Std
	CV(%)

	Addis Ketema
	4.884
	43
	2.4805
	50.8
	10.9298
	43
	7.59391
	69.48

	Akaki
	6.548
	63
	1.4060
	21.5
	21.3333
	63
	5.61105
	26.30

	Arada
	5.615
	78
	1.6997
	30.3
	17.4718
	78
	6.05198
	34.64

	Gulele
	2.229
	70
	2.1479
	96.4
	7.6743
	70
	7.40238
	96.46

	Gud shola
	5.350
	60
	2.3349
	43.6
	18.2600
	60
	8.11638
	44.45

	Megenagna
	4.420
	30
	1.9493
	44.1
	8.7633
	30
	6.19095
	70.65

	Mekanisa
	6.684
	19
	1.3765
	20.6
	22.9158
	19
	4.72596
	20.62

	Nefas Silk
	4.993
	54
	2.3695
	47.5
	15.1278
	54
	7.62450
	50.40

	Total
	4.956
	417
	2.4389
	49.2
	15.1673
	417
	8.47979
	55.91


Sources : own Analysis of AAWSA Supply schedule reports 

4.3.1.3 Weekly supply days and daily supply hours among sub cities
 Based on the findings of this study, Arada and Gulele sub cities showed the highest (6.67+ 1.41) and the lowest (1.58 +12.61) weekly water supply days respectively. The city wise average weekly water supply days is 4.95 +2.44. Hence, Gulele sub city was critically water scarce and supplied less than 3 days per week compared to  either water scarce  sub cities namely Lideta, Nefas Silkn_Lafto, and Yeka that got water between 3-5 days weekly  or water sufficient sub cities  (Akaki-Klity , Arada, Addis ketema , Bole, and Kirkos, Kolfe Keraniyo) which were supplied  more than 5 days a week. 

Arada sub city residents get water 3 times more days in a week than Gulele sub city residnets. The sstandard deviation greater than the mean in case of Gulele sub city suggests that distribution is seriously unreliable and inconsistent (Table 4‑3).  Akaki-Kality sub city residents are supplied water for longest average 21.15+5.82 hours daily. Gulele sub city residents have the lowest weekly water supply days with high distribution variability (very high standard deviation). The daily range in water supply hours between Akaki-Kality and Gulele sub cities is 16.57. 

 Table 4‑3: Mean weekly water supply days and mean daily water supply days among the ten Sub cities of Addis Ababa during 2016

	water supply by sub city level


	water supplying days per week
	water Supplying hours per day

	
	Mean


	N


	Std. Deviation


	CV (%)


	Mean


	N


	Std. Deviation


	CV (%)



	Addis Ketema
	5.947
	38
	1.4510
	24.4
	16.6500
	38
	6.28683
	37.8

	Akaki Kality
	6.485
	65
	1.4957
	23.1
	21.1523
	65
	5.81660
	27.5

	Arada
	6.667
	18
	1.4142
	21.2
	18.8556
	18
	6.91114
	36.7

	Bole
	5.293
	46
	2.0275
	38.3
	14.2783
	46
	8.76150
	61.4

	Gulele
	1.580
	50
	1.6174
	102.4
	4.5880
	50
	3.41017
	74.3

	Kirkos
	6.333
	30
	1.6678
	26.3
	19.7133
	30
	6.62580
	33.6

	Kolfe Keraniyo
	5.476
	21
	2.2499
	41.1
	13.8086
	21
	9.82674
	71.2

	Lideta
	4.548
	31
	1.6500
	36.3
	14.6258
	31
	4.99946
	34.2

	Nefas Silk Lafto
	4.650
	44
	2.3976
	51.6
	14.8636
	44
	7.84516
	52.8

	Yeka
	4.407
	74
	2.5757
	58.4
	14.9027
	74
	8.97662
	60.2

	Total
	4.956
	417
	2.4389
	49.2
	15.1673
	417
	8.47979
	55.9


Source: Own analysis of AAWSA water supply schedule data 

The mean daily supply hours in Addis Ababa was 15.17+8.48. Each week, Arada sub city got water more than 3 times of Gulele sub city which is more than twice the city average weekly water provision days. The daily water supply in Gulele sub city was less than one fifth hours of Akaki-Kality sub city or less than a quarter hour compared to the aggregate city average. The overall water supply situation seen from sub city perspective was characterized by unequal weekly water supply days and daily supply hours. The variation was very strong among sub cities in terms of both mean weekly supply days and mean daily supply hours with F (9,2474.5) =26.34, p=.000 and F (9,29913.2) =19.36, p=.000 respectively.

Branch based provision narrows supply inequality in weekly number of supply days with better citywide average. Wereda based weekly supply days and daily supply hours have similar result compared to sub city-based modality. There is no significant difference in the number weekly supply days in the three sub cities Kolfe keraniyo, Kirkos and Arada.  weredas in Yeka.  Nefas Silk –Lafto, Gulele, Akaki-Kality and Addis ketema sub cities, showed very strong differences in weekly water provision days. Weredas of Bole and Lideta sub cities have strong differences (Table 4‑4). A customer’s residence wereda has strongly affected both weekly supply days and daily supply hours. There was strong difference among sub cities in both weekly supply days and daily supply hours which was also true in case of water supplying branches.  Customers who are better off and live in the inner parts of the city enjoy 24 hours daily per week water supply at subsidized prices while the poor who live at higher elevations buy water from vendors up to 7-fold the price paid by these privileged due to altitudinal advantages. 

Table 4‑4:  ANOVA Table of weekly supply days and daily water supplying hours and wereda of residence

	Weekly supply days at wereda level
	Weekly water supply days 
	Daily water supply hours 

	
	mean
	N
	Std. deviation
	CV(%)
	mean
	N
	Std. deviation
	CV(%)

	Yeka
	4.407
	74
	2.5757
	58.4
	14.9027
	74
	8.97662
	60.2

	Nefas Silk Lafto
	4.650
	44
	2.3976
	51.6
	14.8636
	44
	7.84516
	52.8

	Lideta
	4.548
	31
	1.6500
	4.000
	14.6258
	31
	4.99946
	13.7000

	Kolfe keraniyo
	5.476
	21
	2.2499
	7.000
	13.8086
	 21
	9.82674
	10.0000

	Kirkos
	6.333
	30
	1.6678
	7.000
	19.7133
	30
	6.62580
	24.0000

	Gulele
	1.580
	50
	1.6174
	1.000
	4.5880
	50
	3.41017
	3.4000

	Bole
	5.293
	46
	2.0275
	7.000
	14.2783
	46
	8.76150
	17.1000

	Arada
	6.667
	18
	1.4142
	7.000
	18.8556
	18
	6.91114
	24.0000

	Akaki-kality
	6.485
	65
	1.4957
	7.000
	21.1523
	65
	5.81660
	24.0000

	Addis Ketema
	5.947
	38
	1.4510
	7.000
	16.6500
	38
	6.28683
	13.8500


This disparity in water provision in Addis Ababa agrees with Keivani (2010) observation that has described that cities are prone to huge intra-urban social inequalities. 
4.3.2 Characteristics of the Legedadi sub system

The Legedadi sub system is selected as a case study site as it covers large and heterogeneous area of the city. This sub system covers 469302 and 489606 eastings and 987441 and 1005636 northing (UTM) with a total area of 243.85km2 accounting for 46% of Addis Ababa. This sub system supports about 35.3% of the city’s population that receives water supply service. The location map of the Legedadi Subsystem is shown in  Figure 4‑1.

[image: image19.jpg]38°42'0"E 38°44'0"E 38°46'0"E 38°48'0"E

8°59'0"N 9°1'0"N 9°3'0"N 9°5'0"N

B°5T'0"N

38°420"E 38°44°0"E 38°46'0"E

38°50'0"E

38°52'0"E

38°54'0"E 38°56'0"E 38°58'0"E

S — ™ IKilometers
012 4 6 8

N

Legedadi Sub-system
[ Arada Branch

I Gulele Branch
I Gurd Shola Branch
.| Megenagna Branch

38°48'0"E

38°50'0"E

38°52'0"E

38°54'0"E 38°56'0"E 38°58'0"E

9°5'0"N

9°3'0"N

&

8°59'0"N

8°57'0"N




Figure 4‑1:  Map of Legedadi sub system and its four water supply branches

Legedadi sub system consists of supplies from the water treatment plant to service reservoir of Kotebe terminal, Karalo, Ankorcha, Jan Meda, Gebriel Palace, Teferi Mekonnen, Intoto, AAWSA’s ex-main office, Belay Zeleke, Police Hospital, Army Hospital and Kassa Gebre; and pumping stations at Urael and Mexico square. AAWSA’s daily water supply for this sub-subsytem for the year 2011 was estimated at 179,138 m3/d (47.93% of the total supply by the authority) (373725.86 m3/d).  Megenagna, Arada, Gurdshola and Gulele branches constitute this subsystem and supply areas of 54.94, 15.25, 129.21 and 44.45km2 respectively).

Population size served by the Legedadi sub system was estimated by multiplying the proportions of the areas of sub-cites served by this system by their respective population densities (              Table 4‑5). The population served increased slightly more than 1.35 times during 2010-2017. This increase could be due to the increase in water supply as a result of increased production. The details of population projection for analyzing population of the subsystem are appended in Appendix B-3.
              Table 4‑5: Population of Legedadi sub system during 2010-2015

	Branch 
	2010
	2011
	2012
	2013
	2014
	2015

	Gulele
	376883
	376855
	419372
	439506
	439506
	450236

	Megenagna
	156368
	156490
	174146
	182519
	182519
	186977

	Gurd Shola
	411455
	411748
	458202
	480240
	480240
	491970

	Arada
	222507
	247693
	275638
	288867
	288867
	295919

	Total 
	1167214
	1192786
	1327358
	1391133
	1391133
	1425102


Domestic, industrial, institutional, commercial, landscape/greenery, firefighting and other water users are classified into either domestic or nondomestic for water tariff setting purposes. The number of domestic customers for the period 2011-2017 is summarized in Table 4‑6 which also shows that this subsystem covers an average 35.5% of the total water supply users supplied by AAWSA although this proportion has levelled off at 35.3% after 2012.There is drastic increment over time and it is expected to affect water demand significantly. 

Gulele Branch area of the Legedadi subsystem has shown the lowest average annual rate of population growth rate of 3.6% per annum which is 4.7 times less than the Legedadi Subsystem’s average annual growth rate of 16.9%. This is could be associated with the geographic location of the branch which is neither expansion nor densification area. Arada, Megngna and Gurdshola branches of the Legedadi subsystem demonstrated greater annual average rates of changes of 156.3%, 29.0% and 19.7% respectively. The exceptional high growth rate of population registered by Arada branch is because of the high population density of this area as a result of very high in fill development and the associated densification compared to the other branches.

Table 4‑6: Summary of the number of domestic customers in the Legedadi subsystem

	Population
	2010
	2011
	2012
	2013
	2014
	2015
	2016
	2017
	Average annual rate of increase (%)

	Gulele 
	376883
	376855
	419372
	439507
	439507
	450236
	461104
	472385
	3.6

	Arada 
	26003
	247693
	275638
	288867
	288867
	295919
	303060
	310473
	1563

	Megenagna  
	64675
	156490
	174146
	182519
	182519
	186977
	191493
	196178
	29

	Gurd Shola 
	217021
	411748
	458202
	480240
	480240
	491970
	503851
	516181
	19.7

	Total 
	684582
	1192786
	1327358
	1391133
	1391133
	1425102
	1459508
	1495217
	16.9

	% of total supply area 
	35.1
	35.2
	37.2
	35.3
	35.2
	35.3
	35.3
	35.3
	35.5


The spatial distribution of organizations in the ten sub cities of Addis Ababa city depicted in Figure 4‑2 has relatively larger total number at inner parts of the city compared to peripheral areas. There is industrial concentration in the newly developed and expansion areas, particularly at Akaki-Kality sub city while other organizations such as Garages, Health Centers and Enterprises show higher concentrations in sub cities located at the inner and older parts of the city. The distribution of organizations or institutions in the Legedadi Subsystem (Figure 3‑1) has followed a similar pattern to their distribution among the ten sub cities. Their concentrations are higher in Arada and Gulele branches located in the inner and older parts compared to in Gurd Shola and Megengna branches located at the periphery of the city.
Garages and Health centers are denser in the inner parts of the city where population density is high because of infill development and very high population number compared to their distribution in the peripheral areas characterized by a relatively lower population number or population density. The opposite trend followed by the distribution of industries and enterprises has to do either with their earlier establishment before these areas were occupied by city residents or the availability of large vacant places for their construction (Figure 4‑6).
[image: image20.jpg]38°42'0"E 38°44°0"E 38°46'0"E 38°480"E 38°50'0"E 38°52'0"E 38°54'0"E 38°56'0"E 38°58'0"E
z
£ N
&
S
o
F"_ Gulele,Bra'nch
- " kil
S
&
S
aft
z
B
&
z
S
1 Legend
&
A Industry
z 5l Health
E <> Garage
A © Religious Center
[ S L1 IKilometers * Enterprlse
0 1 2 4 6
38°42'0"E 38°44'0"E 38°46'0"E 38°48'0"E 38°50'0"E 38°52'0"E 38°54'0"E 38°56'0"E 38°58'0"E

8°59'0"N 9°1'0"N 9°3'0"N 9°5'0"N

8°57°0"N




Figure 4‑2 :  Spatial distribution of organizations in the Legedadi subsystem

4.3.4. The Drastic Scenario

The drastic scenario assumes 100% successful leakage reduction of GTP II plan and 30% non-domestic water demand reduction due to a potential private source development of these non-domestic customers. The outputs of this scenario, presented in  Table 4‑7 below, has shown that a 30% reduction in non-domestic water demand can balance demand and supply. The unused excess yield water can be stored for future uses during lower water production because of drought or other intensive water demands. Based on the results of this scenario, AAWSA should force by law industrial and commercial units to develop their own water sources, particularly for non-domestic demands that don’t need high quality treated fresh water.
Table 4‑7: Water balance during 2026-2030 under 30% groundwater yield reduction 

              (Billion cubic meters per annum)

	Component 
	2026
	2027
	2028
	2029
	2030
	average
	% Growth Rate 

	water demand 
	0.129
	0.139
	0.15
	0.162
	0.175
	0.151
	8.7

	supply requirement
	1.973
	2.043
	2.114
	2.189
	2.265
	2.117
	3.7

	supply delivered
	0.163
	0.175
	0.19
	0.205
	0.22
	0.191
	8.8

	unmet demand 
	1.81
	1.867
	1.925
	1.984
	2.045
	1.926
	3.2

	Water loss
	1.844
	1.904
	1.964
	2.026
	2.091
	1.966
	3.3

	Loss rate 
	93
	93
	93
	93
	92
	93
	(-) 0.3


 The causes, patterns, consequences and policy implications of the ongoing urbanization in Ethiopia though not clearly studied have impact on water demand. Therefore, the scale and nature of the urban population and the demographic causes that contribute to this change; the level, pattern, and trends of urbanization; policy suggestions that highlight the consequences of rapid urbanization, reviewing of Government policy and considering causes for the low level of urbanization seek immediate study for the successful and sustainable future infrastructure installation, upgrading and renewal of services. The study and implementation of study results should be integrated with all service giving institutions/ organizations on obligatory basis and not on voluntarism.

The sustainability of the current water system in Addis Ababa is under pressure from a range of challenges which include: rapid population growth and resulting urbanization, climate change impacts, ageing infrastructure, increased water demand and consumption due to modern style of living, over abstraction and source depletion due to land use change and land development, increased demand from non-domestic consumers as well as the development of water intensive condominium houses. Hence, new approaches with new mentalities are required with a sense of urgency to successfully face the current urban water challenges in Addis Ababa. 

4.4. Root Causes to the Lack of Urban Water Supply in Addis Ababa City

4.4.1 Overview 

Rapid urbanization, inadequate public services, and out-of-date urban planning models have marginalized vast numbers of new arrivals crowded into informal settlements or slums, exacerbating inequality and urban poverty and compromising efforts to increase water security. In many parts of the world, city dwellers lack safe drinking water and fall ill with waterborne diseases. As cities seek new sources of water upstream and discharge their effluent downstream, surrounding communities suffer and the hydrological cycle and aquatic systems, including vital ecosystem services, are disrupted. Urbanization in Africa is characterized by insufficient basic infrastructure, particularly in low-income areas (Bahri, et al., 2016). Urbanization and population growth, climate change, drinking water and sanitation, ageing and deterioration of existing infrastructure and water governance are the major urban challenges of Africa (Bahri et al., 2016). Countries in which less than 50% of the population uses improved drinking water sources are all located in Sub-Saharan Africa and Oceania (UNICEF and WHO, 2015). African cities are expected to experience difficulties in efficiently managing water resources due to increasing pressures from global changes such as urbanization, climate change and others (Bahri et al., 2016).

This study has found that the lack of water supply in Addis Ababa has manifested itself by the exceeding of water demand over supply, low piped water coverage, and intermittency supply. Its root causes include poor governance, low water tariffs, insufficient water production, lack of funding(reduced amount of money release of World Bank below what was required) or poor fund management, weak inter and intra-sector coordination, outdated system/old database, slow construction permit, limited capacity and efficiencies of contractors and consultants usually accompanied with corruption, low quality and incomplete bid documents, low skills and attitudes of leaders and employees, frequent damage of infrastructure by construction boom, purchase policy that doesn’t allow urgent /immediate purchase for inputs shortage requests, and others.

Current realties show that developing new ground and surface water sources will not be enough to meet these challenges. To this end, informants’ responses, study reports and government media broad casts have witnessed groundwater depletion with possible further draw down due to land use changes and unsustainable water abstraction beyond the recharge potentials of well fields. The size of the city, climate conditions, cost of water, the pressure of the distribution system, conditions of the supply system, water quality, and habit and/or living style were also listed as factors affecting water demand. Some branches, such as Mekanisa and Gurd Shola have wider areas and large number of customers but few resources and input supply, power cuts and water supply interruptions, absence of integration, busy staff on firefighting activities forgetting planned activities, rent seeking, centralized old bill printing software and others.

4.4.2.  Causes of lack of urban water supply 

4.4.2.1 Incorrect Population Estimation 

Accurate population data is always needed to estimate water demand as the size of population puts pressure on existing water sources. Many people come from other parts of the country to Addis Ababa for business and stay in the city between few hours and days but consume the water supply of the city. But their exact number is not well known. This exclusion of daytime time population in water supply planning has serious impacts on the accuracy of water demand estimates. This study has used the concept of day time population for demand estimations. The available data have uncertainties with varying vintages, sometimes decades old (Table 4‑8). 
Table 4‑8: Projected water demand for projected population in selected years

	Projected demand
	Year
	2005/2013
	2006/2014
	2007/2015
	2008/2016

	
	Category
	Resident
	Day time
	Resident
	Day time
	Resident
	Day time
	Resident
	Day time

	
	Unit
	3121654
	4058150
	3197210
	4156373
	3275348
	4257952
	3355791
	4362528

	Domestic
	[image: image21.png]m*d ™"




	194,425
	194,425
	232,910
	232,910
	271,394
	271,394
	309,879
	309,879

	Commercial/administrative
	[image: image22.png]m*d ™"




	77,770
	77,770
	93,164
	93,164
	108,558
	108,558
	123,952
	123,952

	Industrial
	[image: image23.png]m*d ™"




	68,048
	68,048
	81,518
	81,518
	94,987
	94,987
	108,457
	108,457

	net demand
	[image: image24.png]m*d ™"




	340,243
	340,243
	407,591
	407,591
	474,939
	474,939
	542,287
	542,287

	NRW
	%
	37
	45
	37
	45
	37
	45
	34
	45

	
	[image: image25.png]m*d ™"




	136,097
	157,500
	171,680
	208,800
	193,140
	234,900
	184,377.7
	269,550.0

	Real loss*
	[image: image26.png]m*d ™"




	102,073
	118,125
	128,760
	156,600
	144,855
	176,175
	138,283.3
	202,162.5

	gross demand
	[image: image27.png]m*d ™"




	476,377
	476,377
	570,665
	570,665
	664,952
	664,952
	726,699
	726,699

	Existing gross supply
	[image: image28.png]m*d ™"




	350,000
	350,000
	464,000
	464,000
	522,000
	522,000
	599,000
	599,000

	Net Supply **
	[image: image29.png]m*d ™"




	247927
	231875
	335240
	307400
	377145
	345825
	460716.7
	396837.5

	Corrected demand***
	[image: image30.png]m*d ™"




	442,316
	458,368
	536,351
	564,191
	619,794
	651,114
	680,570.30
	744,449.5

	Deficit
	[image: image31.png]m*d ™"




	194,389
	108,368
	201,111
	100,191
	242,649
	129,114
	219,853.60
	347,612.0

	
	 %
	44.5
	69
	56.7
	78.4
	53.5
	75.3
	63.3
	42

	Unmet demand (% of corrected demand)
	%
	43.9
	49.4
	37.5
	45.5
	39.1
	46.9
	32.3
	46.7

	 Domestic supply
	 m3/d
	141318.5
	132168.8
	191,087
	175218
	214972.7
	197120.3
	262608.5
	226197.4

	Daily domestic consumption
	m3/c/d
	0.045
	0.033
	0.06
	0.042
	0.066
	0.046
	0.078
	0.052

	
	l/c/d
	45.3
	32.6
	59.8
	42.2
	65.6
	46.3
	78.3
	51.9


Where ;

· *=real loss is 0.75 x NRW, **= Net supply which is production – real loss 

· Corrected demand is net demand + real loss

· Deficit is additional water production requirement i.e., the difference between corrected demand and existing net supply 

· Domestic supply is 57% of net supply 

4.4.2.2. Unprecedented increase in water demand and water loss 

Addis Ababa city has undergone rapid population growth, urbanization and industrialization with remarkable economic growth. Consequently, water demand trends have increased dramatically and resulted in water demand exceeding water supply. Hence, the water demand is about 736,816 m3d-1 and water supply is 376186 m/d‑1 indicating 50% unmet demand. The exceeding water demand over supply might be associated with rapid population growth, inefficient management, inefficient water uses of users, ageing and deteriorating existing infrastructure, bureaucratic inefficiency of AAWSA whose unskilled workers causing poor maintenance, delayed responses and unmannered interactions. The root causes, primary causes, secondary causes of inadequate water supply with their corresponding effects are summarized in figure 4-21 below.

Figure 4‑21: Problem Tree for the lack of adequate water supply
The results of household survey have shown that inefficient water use is caused by the unawareness of consumers that water is scarce and regard it as everybody’s property and as a free item that belongs to all. About four out of ten respondents of the households surveyed expect their future water demand to increase. They expect improved livelihood will allow them to use more water (e.g. bath rooms, flushing toilets, washing machine). Only 4.4% customers have plans to decrease their future water consumption by practicing conservation and increasing usage efficiency.

4.4.2.3. Decline in production and ageing infrastructure

All key informants do not approve the use of groundwater for strategic plans except as firefighting sources due to the land use changes that have converted the recharge catchment areas into impervious lands discouraging water infiltration into the ground. Their overall assessment of the current water production by AAWSA has rated it inadequate for its customers as this production is associated with very high-water loss. Key informant interviews, household survey and field observation in this study has identified the major impacts of water shortage in the city as follows:

· Domestic and commercial activities are seriously affected;

· Customers are incurring high water charges from water vendors and wasting too much time in search of water;

· The long queues for fetching water have led to social pressures such as conflicts in some cases and are becoming reasons for school lateness and absenteeism;

·   Children are risking their lives searching for water;

·  The problem is leading to hike in prices of food items; and 

· Health risks in using untreated water from streams and wells. 

The reported sources of water losses were leaking house service connections, old conservancy lane, old lead joints, non-working meters, illegal connections, poor quality of meters, absence of water accounting and others. Water wastes through poor plumbing in homes, leaks in distribution system, and overflow of storage, send no water-conserving-alarm to users and to those who are in charge of urban water management. In most of Addis Ababa, there is no attempt at all to conserve water through retrofitting water-using-device and little awareness to conserve it by reuse. Old infrastructure is also contributing for low water quality and customer dissatisfaction.

4.4.2.4. Inadequate inputs and capacity 

The water governance in almost all of AAWSA’s branches is characterized by the absence of transparency, responsiveness and accountability. Poor water governance is reflected by many effects such as low water tariff and absence of pressure efficiency regulation for people at higher floors. This shows that AAWSA is not performing to its expectation to extend the reach of water distributions to hilly areas in the city and at reducing the number of unconnected houses. The effect of poor governance is also exacerbated by unplanned settlements. Severe inputs shortages including pumps, pipes, fixtures, connectors, water meters, and vehicles owed to centralized but slow purchase and distribution by the head office were reported by all key informants. This study has found very serious shortage of work space and office materials in most branches. The technical staffs are overcrowded in small cars when they go for maintenance and installing new connections as the few available cars are often used for political meetings. There is no clear job description. In very sensitive situations, many technical staffs are forced to buy some spare parts (e.g. small fittings and connectors) from their own pockets.  Overall, there is staff dissatisfaction accompanied with the common phenomena of frequent staff turnover.

In addition to salary deduction, written warning, terminating work agreement of outsourced meter readers, the utility is employing miscellaneous solutions including Rotto supply, water storage construction, purchase of water filling trucks, employing meter readers and controllers, installation of wireless phones for information exchange, organizing change forum, undergoing political and economic transformation, bringing change in attitude, formulating clear in ethics, training to develop employees ‘skills, meter testing and reinstalling, meter investigation without replacement and setting standard for readers based on daily capacity. 
4.4.2.5. Limited human and technical capacity

AAWSA is characterized by vivid limited human and technical capacity both at the head office and branch level. Some instances that demonstrate these limitations include: 

· Lack of manpower to handle policy and regulatory issues; and to plan, operate and maintain the services. Some branches such as Akaki and Megenagna are serving only few customers (34,000) but others such as Nefas Silk and Gurd Sholla serve huge number of customers (100,000). This has made workload differences among branches; 

· There is lack of site-specific management strategies /policies particularly for areas distant from existing water sources and localities with complex topographies. This lack of site-specific management strategies has caused water distribution inequality among city residents; 

· Water distribution in the city is haphazard and inefficient following neither the city’s administrative divisions nor a defined pattern (Table 4‑9); 

· Ill-defined service areas of branches. Some branches including Nefas silk supply water to as high as 22 weredas in different sub cities but Megengna and Akaki serve only 9 and 10 weredas, respectively. Such distribution of customers has resulted in very highly different customer service delivery practices and consequent customer satisfaction differences. The poor operation and maintenance works have resulted in the observed leakages;
· Many customers who are using the water supply for commercial and institutional purposes are still charged as domestic customer due to the failure of AAWSA to update its customer profiles; and
· Corruption has resulted in shifting supply, reporting fable reading results, purchase of low-quality materials and others. Such corrupted activities imply lenient leadership and absence of monitoring and evaluation creating a big challenge during operation and maintenance. Illegal connections are existent in all the eight branches.
Respondents associate the lack of capacity to extend the reach of the water distribution system particularly in expansion areas with AAWSA’s ineffective management that lacks capacity to reduce its costs by improving efficiency and generate capital fund for major investments. This has resulted in low piped water coverage in high elevation areas. Many houses are not connected to the piped water supply network ending up in unmet demand of the residents.
Table 4‑9: The eight branch offices of AAWSA and their areas of water supply service

	Branch 
	Sub cities served 
	Weredas served 
	Total weredas served 
	Remark

	Addis Ketema
	Addis ketema 
	4,6,7,9,10
	19
	Has the 2nd highest number of  weredas being served 

	
	Gulele
	5,6,9,10
	
	

	
	Kolfe Keranyo
	6-10, 12-15
	
	

	Akaki
	Akaki Kaliti
	1-5,7-11
	10
	Most of the weredas have 24-hour supply

	Arada
	Arada
	1,8-10
	19
	Has the 2nd highest number of weredas being served 

	
	Kirkos
	1-12
	
	

	
	Lideta
	3-9
	
	

	
	Addis ketema
	1-4,8
	
	

	
	Yeka
	6
	
	

	Gulele
	Gulele
	1,2,5-8
	14
	The worst water shortage branch 

	
	Arada
	4-7,9
	
	

	
	Yeka
	1-3
	
	

	Gurd Shola
	Bole
	6-11,13,14
	12
	Has the highest number of customers 

	
	Yeka
	9-13
	
	

	Megenagna
	Bole
	1-5
	9
	Serves the lowest number of weredas 

	
	Yeka
	5,7,8
	
	

	
	Kirkos
	1
	
	

	Mekanisa 
	Nefas Silk Lafto
	1-4
	19
	Has the 2nd highest number of services weredas 

	
	Kolfe keranyo
	1-6,9
	
	

	
	Lideta
	1,10
	
	

	
	Kirkos
	4-7,10,11
	
	

	Nefas Silk
	Nefas Silk Lafto
	Lebu 01,5-12
	22
	Serves the highest number of with 24-hour supply except three weredas 

	
	Kirkos
	1-12
	
	

	
	Akaki
	6
	
	


Source: Adapted from AAWSA’s eight branches June- December 2016 Supply Schedules 
4.4.2.6. Low Technical Skills and Poor Operation and Maintenance 

Water wastes through poor plumbing in homes, leaks in distribution system, and overflow of storage, sending no water-conserving –alarm to users and to the concerned urban water managers. This study has found that many AAWSA officials and staffs are inadequately trained, poorly qualified, inexperienced and have irrelevant or outdated background knowledge about their field of management and hence AAWSA lacks skilled workers. The general manager and 50% of branch managers don’t have the required back ground knowledge for their positions. Both managers and workers are busy on firefighting activities rather than strategic issues. The utility’s central purchase policy is sluggish and handicapping.  AAWSA is very slow in responding to customers’ requests for repairing pipe bursts and leakages contributing for the frequent water infrastructure damage and the resulting high leakage. Fluctuating and high price of tap water from vendors was one reason for the low per-capita water consumption. This entails AAWSA to install additional public standpipes to provide adequate water to a large number of people at minimum cost. 

AAWSA staffs associate the present outdated database that is neither up-to-date nor reliable but causing inefficient management to inadequate funding. Inefficient management is highly related to the lack of capacity of AAWSA to extend the reach of the water distribution as demonstrated by the lack of piped water coverage particularly in expansion and high-altitude areas of the city characterized by unconnected houses and truck supply and hence associated unmet demand. 

4.4.2.7. Inadequate Funding and Poor Fund Management

The finance sources for AAWSA are the revenue collected from sale of water, sewerage services, connection fee and other miscellaneous incomes; foreign grant and loans; and capital subsidy from Addis Ababa city administration. The very low water tariff is one reason for AAWSA’s highly dependence on the city administration to cover major expenditures particularly capital expenditures. Varying estimates depending on assumptions related to status, service standards and existing financial flows, rigorous estimates and scenarios lacking for urban water supply are financial challenges identified by this study. AAWSA staffs have witnessed finance challenges for investing on more infrastructures and financing improved water supply services for increased coverage at increased/ affordable access for the poor and leveraging additional local resources.

The reported underinvestment in infrastructure couldn’t provide more water supply infrastructure and ensure good service as it demands huge amount of finance to make the services reliable, well targeted, actually used, and sustainable institutionally, financially and environmentally. Low water tariff (underpriced water), subsidy reduction of the city government, and slow but small foreign donor finance release are reported as causes of the lack of funding for the utility. Its outdated and unreliable database (information management policies and procedures are not introduced) due to capacity problems is associated with lack of funding and poor fund management. This is backed up with low water meter reading quality because of the centralized but un-modern billing software. 

Although AAWSA has huge operational expenses for power, chemicals and personnel; its poor data management has led to undefined data owners of uncontrolled and owners of individual data processes since the utility has no functioning asset inventory or GIS (fixed asset register). Such lack of data is causing inadequate information or knowledge which is the prime cause of inadequacy to respond promptly to customers’ requirements to new connections, upgrading, transfer and maintenance services making them a day to- day episode.

4.4.2.8. Low Water Tariff and Lack of Awareness 

The current water tariff structure consists of service connection fee, deposits, water meter rent, volumetric charges and reconnection fee. Based on the views of many respondents, the current low water tariff has caused the absence of awareness about the need to conserve water by most water consumers. Water is regarded as everybody’s property and as a free item that belongs to all by most Addis Ababa residents. This perception by water consumers has created the impression that water is plentiful and nothing is lost when water is wasted. Nearly all respondents have witnessed that the current unawareness to conserve water is caused by low water price imposed on urban water consumers. Meaning, it has caused unawareness for conserving it.

 Inefficient water use is evident in the lower parts of the city where residents play with water contributing most to the rise of demand over of supply capacity of urban water supply system where water supply is continuous. Inefficient use contributes to high water loss noted throughout the city. This ultimately contributes to the exceeding of water demand over the supply capacity by reducing supply volume and making the supply intermittent. There is lack of revenue to support the extension of water distributions caused by the low water tariff. It is very common to see water wasting at standpipes and through pipe breaks. 

Most consumers and some AAWSA professionals have the opinion that low water pricing is caused by corrupted and unethical utility staffs, and government officials elected with vested interests in maintaining the current status quo that allows considerable amount of informal revenue (the price paid by vendors for water at source) to enter their pockets. This manifests the hidden role of poor governance as a prime cause for the exceeding of water demand over that of supply.  The supply areas of some branches (Gurd Shola and Mekanisa) are expanding at high rates resulting in workload on their employees. Future demand for water by new house construction sites and industrial parks developments are expected to worsen the situation. Direct showering of all the compound and floor washing should be prohibited by law and customers should be told the cost of not getting water by showing monthly water wastage cost.

The inconsistency between the responses of respondents and information on the water profile imply absence of shared common information on water issues in place. In high altitude areas, there is intermittency of water supply and water is not running 24 hours. In almost all of Gulele sub city, half of Kolfe Keraniyo sub city, higher elevation parts of Yeka and Nefas Silk Lafto sub cities, there is no water during the day and water run only at night and morning – during which pressure by customers at other parts of the city is low. Low water tariff is the reason for the lack of revenue to extend the service system and the low piped-water coverage. 

4.4.2.9. Poor institutional organization and lack of coordination with stakeholders

4.4.2.9.1 Poor Institutional Organization 

AAWSA has limited human resource and capacity in the management, operation and maintenance of its system coupled with the heavy pressure on water supply put by development activities. The utility’s poor institutional organization has created institutional multiplicity including the problem of integration and coordination of various institutions and disciplines that characterize urban service delivery. Such organizations have caused the absence or low-level involvement of the private sector or civil society in the design, construction, operation and maintenance of water supply systems. Urban utilities demand responsive approach with decentralized implementation through benches including increased participation in planning at lower levels of water provision. Hence, more cost-effective technologies such as protected springs being selected, increased levels of disbursements are required.

4.4.2.9.2. Lack of Coordination 

In Addis Ababa service givers have no realistic integration. Fragmented roles and responsibilities, poor organizational commitment, lack of or limited available information that has resulted in the poor development of guidelines and standards, lack of documentation regarding design, construction, maintenance, monitoring and evaluation. There is no strong coordination between the developer, Addis Ababa water and sewerage Development and Rehabilitation Office and the operator, AAWSA. This weak coordination has resulted in the drilling of deep wells near shallow and medium wells without getting AAWSA’s inventory data on which ones are abandoned, malfunctioning and are reducing yield. This trend is leading to unsustainable groundwater abstraction in some well fields beyond their weakening recharge capacity. 

The evident weak coordination between and among the different teams of AAWSA including surface water, ground water, non-revenue water control, water quality management, planning, and others are hampering the proper functioning of the utility. Poor customer –operator relations is causing the purchase of unclean water with oily yellow jerry cans. Customers are forced to go to other branches to find someone who lobbies an employee in their branch for solving their complaints

There is no single institution that coordinates storm water management at city level. Addis Ababa City Roads Authority (AACRA) is responsible for managing roadside drainage structure.  AACRA which is responsible for managing storm water has neither the appropriate drainage infrastructure. AAWSA has almost no integration with the regulator Addis Ababa Environmental Protection Authority (AAEPA). This has resulted in depleted groundwater sources from overexploitation of dense licensed and unlicensed private wells. 

Although it is improving, Ethiopian Electric Utility (EEU) / Ethiopian Electric Power’s (EEP) frequent power cut is a big challenge thereby causing intermittent /interrupted supply since water productions /treatment and distribution are dependent on electric power. AAWSA’s pumps and other structures are burnt due to such interruptions. Groundwater sources cannot operate without electric and hence AAWSA is purchasing huge generators and transformers dedicated for groundwater sourced lines. This entails the need for dedicated teams from all service providing institutes to work in obligatory coordination but not based on voluntary cooperation.

For its proper management, AAWSA should coordinate with different sectors providing infrastructural services including: AACRA, AAEPA, and the Ethiopian Telecommunication Authority, EEU/EEP and others. Indeed, weak institutional arrangement for urban storm water drainage exacerbates the management problem (Parkison and Mark, 2005).

4.4.9.3 Unmanaged stormwater and water pollution 

In some parts of Addis Ababa with no sewerage system, there are many residents and business premises that have illegally connected their flush toilets to the storm water network. Storm water runoff from steep slopes can cause flooding particularly in high sloping areas including the Jemo mountain chain, Repi hills and Little Akaki River banks. Floods may increase soil erosion affecting or damaging the water infrastructure and quality. The findings of Birhanu et al. (2016) indicate a possible increase of flood risk and vulnerability of Addis Ababa due to climate change and urbanization. Storm water is polluting AAWSA supply through mixing to the distribution system at manholes and other broken points. 

4.4.2.10. Geographic gradient 

The locality of a water user can be an advantage or a disadvantage concerning water supply provision. In cities like Addis Ababa where supply is less than demand, the available water is used by customers at low elevations since such distributions could not go up to high elevations without first satisfying users at lower elevations. This is confirmed by the low piped water coverage in the high-altitude parts of the city and expansion areas caused by both low water production volume and by the lack of capacity on the part of AAWSA to extend the water distribution system to reach urban parts that are not yet served. All respondents have suggested the construction of wells, pumps, canals, boreholes, tanks, cisterns, reservoirs, water yards, dams and water harvesting systems as some ways of increasing water availability. They have also suggested computerizing the distribution system and modernize it, developing modern call center, catchment management and environmental protection works, and construction of check dams as solutions.
4.5 solutions to the lack of urban water supply 
For the causes for the lack of adequate water supply in Addis Ababa City mentioned and discussed above, the following solution tree is proposed (Figure 4‑3) 

[image: image32.png]Provide a group who Upgrading new Adequate Increasing
can make tasks of the ?mm;;a‘ supply finding for new supply
rastructure - SO
authaity water source
Reduce Uncontaminated Passable
damage of water supply water supply
pipe line
Reduced Por ;
interruption of . anency o
X Sufficient | &——————— Wwater demand
valer supply > clean water

Demolish Palatable water
incidence of supplies
diseases —| l
No visiting Reduce health Use direct tap No other cost
health expenses water for for water
centers l drinking treatment
Bing Deaese o P—
productive e costs
expenses

Sufficient income

v

Standard living style





Figure 4‑3: proposed solution tree for the lack of urban water supply in Addis Ababa City 
Chapter Five

5. Discussions 

This study has assessed the water supply situation of Addis Ababa water supply system. The major findings of the study are discussed under four major categories comparing with the current global literature and describing the implications of the issues/problems identified:

The problem caused by the current water production and its allocation among different user categories; the reasons for the spatial difference in the performance of the water service delivery; the reasons for the reported dissatisfaction level of AAWSA’s customers by its service delivery and outline of possible solutions to improve this situation; the implications of the WEAP model simulation results about the water supply situation of Addis Ababa city water system and the relationship between the water production and demand of Addis Ababa city; future expected unmet demands if current trends are projected into the future and possible improvement measures; the application of problem tree analysis to enhance our understanding of the root causes for the customer’s dissatisfaction with Addis Ababa’s water supply; and the root causes and their consequences of inadequate water supply situation of Addis Ababa water supply system and outline tangible and practical recommendations.

5.1 Evaluation of Past, Present and Future Situations 

 Urbanization, a process of population concentration, increases water demand by multiplying points of concentration and the increase in the size of points of concentration (Oluwaso, 2007). Development inevitably entails an increase in urbanization since by and large impetus for economic growth lies in the cities (Hoselitz, 1953). When population becomes more urbanized, the social, economic and environmental activity of growing cities are highly wholly dependent upon the planning and management of water (Whitler and warner, 2014) since without adequate water resources and infrastructure urban life is impossible. 

Today, Ethiopia’s urban population growth is among the highest in the world (UNDEP, 2003) but it has the lowest level of urbanization even by African standard (Kassahun and Tiwari, 2012; Tegenu, 2010) with unbalanced distribution of urban population and urbanization. 
Addis Ababa has been experiencing rapid urbanization (Givnetal, 2017) expanding by 129.95 km2 in three decades at 6.65 km2/year rate of increase associated with population growth that is estimated to increase by about 38 percent (GTPII). This has attracted migrants to Addis Ababa making it a single primate city home to 25 percent of the country’s urban population (WBG, 2015) increasing pressure on the city’s capacity for affordable and adequate housing, employment, and access to basic services, particularly for the poorest and vulnerable (UN-HABITAT, 2017.This out stretching rate of urban growth more than its ability to cope is an inevitable process of development, is presenting both challenges and opportunities in developing countries (Puttaswamaiah ,2005). It has experienced rapid but uncontrolled physical expansion towards peri-urban areas to accommodate the ever-increasing population, industry concentration, and commercial expansion. The rapid spatial extension of the city not fully supported by infrastructural development is contributing for low piped water coverage. 

The supply of adequate amount of water to this rapidly urbanizing city (Gebrehiwot et al., 2017) is one of the main challenges facing this city accompanied with water quality problems. Population growth and improved standard of living are increasing the demand for water from time to time (Tesfazghi et al., 2010).  Day time population, the number of people who are present in an area during normal business hours including workers (Clarke, 1984), has significant impact on the existing urban water supply of Addis Ababa City. The major current and future environmental challenges of the city are strongly linked to rapid population growth, inappropriate land-use management and uncontrolled physical expansion outpacing infrastructure development and agree with what was found by Gebremichale et al, (2014).hence , it  is facing a serious deficit in water supply from increased population and extended economic activities in and around its subsystems. 
 The challenges of serving the unserved is related with the lack of mature infrastructure and governance structures, a situation set to worsen as cities grow. The challenge for providing water supply for this growing urban population due to the absence of urban planning practice that gives a real opportunity to the city to implement innovative solutions (Brikké and Vairavamoorthy, 2016; Jacobsen et al., 2013; Tsegaye et al., 2012) is expected to continue unless the planned water development projects will be operational soon. This agrees with the observation of WGPIA (2017).

 AAWSA doesn’t have full control over the resources or the catchment areas since the Ethiopian water resources management regulations (Regulation No., 115/2005) denies it to have no influence or power on water resources by policy but puts it a user It couldn’t protect the resource from possible pollution, catchment degradation or similar potential impacts by others. AAWSA’s dedicated NRW reduction and catchment management and water quality unit has limited authority. 
Like in most Sub Saharan African cities, the quality and coverage of services ((Njiru and Sanson, 2003), AAWSA expected to remain poor with possibility of worsening situation with high urban population growth rates. The challenge prevails in the form of administrative issues; policy issues; operational issues; involvement of non-governmental service providers; large size of population; and financial challenges.

5.2 Customers’ perceptions about their water supply  

Customers’ satisfaction level with a city’s water delivery reflects the individual’s aggregated impression about the water supply service. The disaggregated overall customer satisfaction level of this study result has shown variations with water use category. The increased rate of failure of home infrastructure in certain areas is raising customer’s concerns about the reliability and quality of their water provision.
 In places with insufficient water distribution system or unacceptable water quality, some customers report improvement while others report deterioration. This contradiction could be associated with their perceptions of values that are influenced by differences in monetary costs, non-monetary costs, customers’ tastes, and customers’ characteristics which is comparable to the findings of Ferrier (2001) and Doria (2006). The paradox of rating the current water supply by some customers as either acceptable or adequate amidst the observed severe water shortage could be related to low income or low standard of living or poor prior experience or fear of losing it at all or low level of knowledge of their right to get water. This shows the need to safeguard the global supply of healthy water and to ensure that everyone has access to it(Annan, 2001).
Existing customer satisfaction drivers (attributes) have hierarchical approach of relationships in that operational performances like service hour, service driver attributes such as service frequency and service drivers (timeliness) are supposed to affect overall satisfaction in such hierarchy (Keiningham et al., 2007). Day to day continuity of supply, adequacy and quality of the water supply system, and long-term continuity of water supply services are major factors for the overall customers’ dissatisfaction.
 The urban poor in Addis Ababa who are not-being served by piped-water get their daily water from street water vendors, springs and rivers as well as private wells. They are willing to pay for it at price level 10 to 100 times higher than what is paid by most urban rich and others connected to piped water network. had they been given improved and reliable water service. Thus, rising water price is something which is quite possible provided that the service is improved and reliable. 
 5.2.1 Water supply shortage and inadequate supply

As water lies at the core of human welfare, environmental sustainability and economic development (Chen, 2015), the human right to water emanates from other fundamental human rights – first and foremost, the inherent right to life of every human being (McCaffrey, 1992). It is also closely related to the right to an adequate standard of living and the continuous improvement of living conditions, codified in Article 11 of the International Covenant on Economic, Social and Cultural Rights (ICESCR). Yet, this study has revealed that the status of water supply in Addis Ababa is characterized by an overall water shortage owed to limited water sources, high proportion of water loss or leakage, high level of consumption by non-domestic customers, and faster development of urbanization in the city administration.  Hence, in all the ten sub cities, people are seen carrying yellow water Jerry cans. This suggests flawed methodology and definition err in AAWSA reports. 

The urban landscape of Addis Ababa is characterized by a mix of areas without water supply and those with erratic and unrealizable supply (high geographic elevation areas and old –age dilapidated infrastructure infill development areas). Opposed to the common African position which states that every citizen should have affordable and sustainable access to quality basic services including access to adequate and clean water and sanitation, water availability in Addis Ababa is far below the recommended value of 24 hours for urban areas attributed to short supply hours evidenced by water rationing to sections of the city due to water inadequacy. Some areas, especially at the periphery, are hit by hard water interruption with frequent reports of staying without water as long as a month due to water supply shortage, huge water loss or both. 
Severe water shortage areas including Hayahulet, Megengna, Gerji, Wofichobet, Yerer, Gofa and others. This very low overall access level to water supply has critical implication to sustainable economic, social and for environmental protection (Iyo, 2015) calls the immediate attentions of all stakeholders since water is a finite and fundamental resource to human well-being (UNF-DPAC, 2015) but renewable only if well managed.
Daily water availability or the lengths of water service to a customer indicates the reliability of the water supply system. Reliability has a significant bearing on customer attitudes since service reliability apart from easy access strongly influences water customers’ satisfaction (Gulyani et al., 2005). An increased and increasing number of urban dwellers who lack access to water are forced to rely on unsafe sources for their water supply. The situation is raising a question of adequacy and equity. Short supply schedule for house renters by house owners, absence of coordination among service providers, power interrupts, cuts in supply and reductions in pressure are factors responsible for many customers seen in very corner of the city carrying yellow Jerry cans to purchase water from vendors at expensive rates and bear boiling costs (charcoal and electricity). The current water insecurity in Addis Ababa might continue in the future as rapid change in population, economy, geopolitics and climate will make achieving water security more difficult. 

Addis Ababa faces a serious deficit in water supply due to increased population and extended economic activities in and around its subsystems (UN-HABITAT, 2017). These problems are often compounded by the fact that they are being addressed in a disconnected way, by different actors across neighboring jurisdictions. Outdoor facilities such as swimming pools, car wash, balconies, machines that need water to operate should use non-potable water. Empirical literatures on water demand have not dedicated much attention to determinants other than economic ones (price and income). Characterization of habits to reduce consumption such as flow reducing mechanisms and strategies to reduce bathroom discharges, leaks, and washing machines without full load are helpful. Elements to typify the consumer perceptions and the consumer effective behavior could also help to compare perceived consumption and actual consumption.
Water availability enables pumping water to the consumers at 24 hours with a constant flow rate while insufficient water availability forces pumping it for shorter time periods at higher flow rate to meet the demand of consumers. In Addis Ababa, a storage tank is usually provided in order to provide storage where the pumping rate is higher than the demand at night times. This storage can be used in the case the pumping rate is below the needed demand, and to equalize the pressure in the network in the cases of pressure increasing. This scarcity of water resources is the result of reduced water availability, over abstraction of and/or contamination of existing supplies because of the change in hydrological pattern related with land development
5.2.2. Supply interruption and intermittent supply

Access to drinking water as considered by this study constitutes the quantity of water, the safeness or quality of water and the distance for collecting water similar to Grady et al. (2014). High demand in one place induces low pressures and sometimes service interruptions into adjacent areas. Most customers have reported the presence of supply interruption and intermittency of supply. They have mentioned the extended and frequent water interruption with water loss and quality reductions as the most important problems in the water supply system. Periodic water interruptions have come an integral part of the everyday life of its residents similar to other urban centers (Genius and Tsagarakis, 2006). Water interruptions may give rise to several deficiencies including serious risks to health from ingress of contaminated groundwater into the distribution system, inability to practice efficient supply management; inability to practice effective demand management; operational inadequacies that unduly weaken physical infrastructure as well as customer inconveniences. This supply inadequacy and intermittency contradicts water’s importance to human wellbeing (WWC, 2015).

Such dissatisfactions have extended to other aspects of service delivery such as water quality, mistrust of the utility, and loss of security of the customers as evidenced by the physical damage of mothers when fetching water from distant springs around Kechenie area, customers are forced to store water in all kinds of materials including dishes due to the lack of reliability when to get water agrees with the results of Vasquez (2012). This shows the severity and urgency of the problem.

Uninformed service interruptions, delayed maintenance of broken infrastructure, and public fountains not being open for customers at the time they like it were reasons for customers’ dissatisfaction similar to the findings of Keiningham et al. (2007) that asserts satisfaction, the most commonly used perceptual metric, is strongly influenced by customer expectations. Their causes could be on –site and off-site construction, damage of water infrastructure by vehicle, failure related to the utility provider and failure related to the facility infrastructure (Kiparsky et al., 2012). This has caused the loss of household income or productive time for many people in Addis Ababa (WSP, 2003) and ultimately diversion, evacuation and cancellation of services.

5.2.3 Water Quality and Safety

Primary aesthetic water quality indicators that can cause water to be perceived as unacceptable include true color, Turbidity (the cloudiness caused by particulate matter present in source water, suspension of sediment in the distribution system), the presence of inorganic particulate matter in some groundwater or sloughing of bio-film within the distribution system, particulate matter and visible organisms (WHO, 2004). They can contribute to the unacceptability of water sources. Taste and odor can originate from various natural chemical contaminants, biological sources, and microbial activity, from corrosion or chlorination due to water treatment (WHO, 2004).

AAWSA customers have reported that they have experienced water related health problems and unacceptable experience with the previous water source status based on its taste, color and odor change perceive water safety risks. These parameters may not show water safety (Johnson and Scherer, 2012) but they can provide important clues to the causes of the problem and selection of treatment devices to improve the quality of the water. This author takes WHO (2004) position that reliance on senses may lead to avoidance of highly turbid or colored, but otherwise safe waters in favor of more aesthetically acceptable, but potentially unsafe water sources. Customers’ satisfaction with water quality is mostly influenced by organoleptic-characteristics of water perceived by the senses and agrees with the findings of many authors including (Doria, 2010; Fie-Schaw et al., 2007).

Water color is more important as it may detect water contamination related to chemicals. Change from yellowish to bluish suggest that the water is perceived not good water (Doria, 2010). Although the salty flavor felt by few customers might suggest high salt in the water. Although unreasonable proportion, this is true since as groundwater sources that contribute to nearly half of the supply do have salt contents with probable laxative effect in some situations (Johnson and Scherer, 2012). Meaning, taste perceptions should be considered with great care since some respondents might have given socially desirable responses to the survey.

Customer reported water related ailments principally in low water supply areas include: dysentery, diarrhea, skin allergies, jaundice, acute fever, pneumonia, cold and cough, headache, eye infections, tuberculosis, polio, hysteria, diabetes, hypertension, stone in gallbladder and kidney, asthma, leprosy and digestive disorders. According to the opinions of customers, leaks in water mains and household water systems are increasing public health risks such as water-borne disease in addition to degraded water taste, odor, and/or appearance. There were alike findings of increasing public perception of the human health risks associated with water quality deteriorations (Trvett et al., 2005) as the ingestion, contact or breathing of inappropriate water may result in disease and could cause death.

During water failure, the distribution system sucks in contaminants that will be dissolved and supplied to consumers when the water reflows. Customers associate childhood diarrhea with the quality and the use of water which is identical to Water Aid (2011) and Rousdy et al., (2012) statements. This explains why the large proportions of customers render their water for drinking and for domestic purposes to some form of treatment before use particularly after 2016 cholera incidence. Hence, urban water system should provide safe water for different uses without harming the environment but increasing demand for sustainable development will deeply affect all urban infrastructures (Hellström et al., 2000).

 Sources downstream of the city lack proper water treatment and filtering facilities. Public health is seriously threatened by polluted drinking water. Lead poisoning as a serious health risk due to corroding water pipes was reported by (Alemayehu et al., (2003) and Itanna (2002) and has alarming growth in toxics, radioactive, heavy metals and chemicals in the water supply amidst the long –lasting damage caused by this life threatening contaminates (pollutants), wastewater is still used as a source of irrigation water as well as for drinking (Biru, 2002).

In Addis Ababa, customers’ satisfaction with water quality is mostly influenced by organoleptics-characteristics of water perceived by senses consistent with the findings of Dietrich et al., (2015) and Doria (2010). Consumer perception about acceptability of their drinking water quality depends on their sense of taste, odor and appearance (Dietrich et al., 2015: Doria, 2010; Sheat, 1992). The persistency of water quality problems may be due to the intermittent nature of the supply associated long residence time during distribution and possible storage before use. This agrees with studies conducted by Kerneis et al., (1995) and Tokajian and Hashwa (2003). The persistent water quality of the water directly taken from taps can be correlated with the travel of water through the distribution system and in some cases is stored before use which is consistent with the findings of (Evison and Sunna, 2001; Tokajian and Hashwa, 2003).
5.2.4 Unreliable, long and complex distribution system (or network)  

The unreliable water supply in Addis Ababa is resulting in the agonizing hardships to the residents particularly at higher geographic locations characterized by low pressure (especially in North and inner-city areas with aged, low and insufficient water infrastructure systems). This problem is highly affecting domestic and commercial customers owed to their demand and usage pattern. Most domestic users share a tap, are unable to store water or cannot afford to purchase water from vendor. Commercial users demand uninterrupted supply since most of their activities are impossible without water. They do not want to bear the extra bill for purchasing water from kiosks and private sources. Vulnerable groups including women and the poor are bearing a disproportionate amount of the economic costs associated with low levels of access and poor-quality basic water supply services. This result complements with ADB (2014) claim of growing pressure on basic infrastructure services, including water supply when urban centers expand.

Among the top five global risks of most impactful and highest concern, water crisis ranks 3rd (Gosling et al., 2016). Water shortage and topographic conditions in most parts of Addis Ababa have forced the division of the water distribution networks into several pressure zones that pump water alternatively through them. This lack of sufficient available water resources to meet the water needs might be due to four factors: increase in population growth and rapid urbanization, non-revenue water, industries and industrial waste and drought.
Many sectors of water distribution systems in most parts of Addis Ababa suffer from the deficiency of water supply quantities and sharp deficiency in pressure to achieve the consumer demand at satisfactory levels. The deficit in the performance of the water network in most parts of the city is negatively influencing most of the socio-economic sectors and it is serious in the old parts of the city where water infrastructures are old, increased water demand by higher population growth rates, increased per capita water consumption, and frequent damage of water pipes during laying down telephone and internet lines, road construction and other activities. This has important implications on the city’s water supply even though the dynamics of what is happening in Addis Ababa is not understood to get a full picture of the development challenges the city faces. Eextensions beyond the haydrulic capaicty of the distribution system are undoubtedly done without consideration of the hydraulic capacity of the system, indicate that poor-governance is the root cause to the intermittency of water supply and agreees witht he findings of McIntosh (2003).
5.2.5 Mandatory water storage

Unreliable water distribution that caused mandatory water storage by residents at home by customers’ may end up with crisis, rehabilitation costs and unsafe for long term economic development, peace and security, poverty reduction and control of preventable diseases unless AAWSA ensures continuous supply particularly for the poor and the needy who cannot afford to buy water from vendors or don’t have water storing materials but need a minimum volume of water on a daily basis. The change of aesthetic water qualities to unacceptable level after interruptions is a common problem in other places (Liu et al., 2017). This AAWSA’s limited capacity is responsible for the additional costs of purchasing water storing facilities, in house water treatment of chemicals such as aqua tab, and storage space problems. The low volume supply and its frequent interruptions have forced customers in water shortage areas to use all sorts of buffet materials including dishes as evidenced around Abebe Bikela stadium (Free Doro area) even though stored water should not be used for potable uses.

5.3 Situation analysis of Legedadi sub system water supply service with WEAP 

For Addis Ababa, the target for drinking water SDG of achieving universal and equitable access to safe and affordable drinking water for all by 2030 (Thompson and Koehler, 2015) seems ambitious. Ensuring access to drinking water is increasingly challenging as the population is growing; increasing urbanization, agriculture and industry, and other sectors all competing for water (Pangare and Idris, 2012) and historically significant structural social inequalities (Castro and Heller, 2009).
5.4 The Root Causes for the Lack of Adequate Water Supply in Addis Ababa

This study has found the following as the root causes for the observed inadequate water supply in Addis Ababa water supply system:

 Limitations in access to services in Ethiopian urban areas including Addis Ababa advocate faster pace of urbanization than the rate of increase in service delivery (MUDHc, 2014). This is the very reason for the low water, sanitation and hygiene coverage in Ethiopia compared to other African countries. Like many world urban centers (Jayawardena, 2014), the main water problem in Addis Ababa today is the lack of potable water, the most vital ingredient for sustaining life next to oxygen as a direct result of the increase in urbanization (Hamaideh et al., 2015). Addis Ababa needs to scale up its urban water services to meet the needs of its low-income population thereby meeting this pressing challenge. Service should be reliable; targeted and actually used; sustainable (institutionally, financially and environmentally) (WSUP, 2013). The prominent urban water issues (rapid urbanization, leadership and governance, investment, water availability and quality are consistent with the observations made by Gemma et al. (2014).

5.4.1 Inefficient and ineffective water use; and poor management

 The way in which water is managed in cities has consequences both for city dwellers and for the wider community. AAWSA is experiencing gridlock in water management attributable to institutional barriers. At present, the utility seems to concentrate on supply side management approaches neglecting effective demand side management approaches. The low performance of AAWSA is related to the shortage of financial resource and huge investment requirements of water resource projects (Girma, 2013); uneven and distant spatial distribution of water resources potential; low level of infrastructure development; and limited implementation capacity at the head office and branch levels. AAWSA has to recognize that efficient water management plays a vital role in strengthening the resilience of social, economic and environmental systems in the face of rapid and unpredictable changes.

 As wasting water is regarded as nothing lost by quite many residents, particularly those living at lower altitudes getting continuous supply, water is being wasted at standpipes and through pipe breaks in most Addis Ababa urban. This major problem of inefficient water usage unquestionably has contributed to the current and observed rising of water demand, a situation expected to resume since these problems are often overlooked and lack the attention of those who are in charge of managing urban water supply. The problem is evident when one compares domestic consumption with average daily water production. 

Expanding the distribution system beyond its hydraulic capacity is very common by the insistence of urban water officials to extend water distribution system to serve the section of the urban area from which s/he will get the political support (vote) of the poor for promotion to higher position or elections to legislative positions etc. The very high-water shortages have made the utility busy in system control and shift supply activities. There is still acute water shortage in the city, a critical problem that needs immediate attention. The defect in the performance of the water network has led to the negative influence in most of the socio-economic sectors especially in the old parts of the city coupled with increased water demand due to high population growth rate and increased per capita water consumption.

Poor management is hindering the available quantity of water from being conveyed in acceptable and proper manner to water consumers. It has caused the social burden of the frequent leave of house maids in the 3rd and 4th floors of condominium houses not to fetch water from long distances or raising to high floors. The use of potable water for non-potable purposes such as irrigation of urban green areas, car washing, compound washing and compound cleaning are worsening the problem. Residents pay five birr per 20-25 liters Jerry can for purchasing water and ten birr for transporting it since water management is often affected by city’s geographical location noted by Bahri (2012). This contradicts with the necessity of daily access to clean water to satisfy basic needs of drinking, washing and bathing collectively known as domestic uses of water (Hall et al., 2014). 
This inadequate and inefficient water resource management hosts a number of problems evidenced by water scarcity, uneven distribution and quality problems as a result of uncontrolled domestic and industrial pollution. This contradicts with the Ethiopian water sector policy that aims the efficient, equitable and optimum utilization of the available water resources of Ethiopia (MoWIE, 2013). This poor management of existing infrastructural assets is likely to increase the level of water losses associated with complex and fragmented water governance system (Naik and Glickfeld, 2015) unless leakage reduction measures are in place. This calls for cultural change based on effective leadership to identify and implement needed reforms in water management issues. 

5.4.2. Ineffective coordination/harmonization with other sectors
This study has found weak or non-existent sectoral coordination among and between service givers was a significant challenge facing AAWSA which opposes UNESCO (2015)’s assertion of the crucial importance of well-functioning coordination among urban service providers at different levels and joint planning involving different interests that are important for sustainable management of water. The lack of coordination has triggered inefficient infrastructures causing low water quality is consistent with the findings of Gebremichael et al. (2014) that have shown a wide gap in institutional and professional gap in the areas of water management and governance. This problem has caused frequent damage of water pipes during activities such as laying down telephone and internet lines and road construction,  inadequate funding and inefficient infrastructure, the uncommon integrated infrastructure and housing development approaches have reduced provision of infrastructure and environmental services in high altitude areas, frequent failures of water supplying motors and pumps caused by power interruptions; and storm water drainage systems become open sewers leading untreated water to streams and rivers. There were similar findings by Damhaug et al. (,2000). The major challenges of integrated urban water management are related to barriers to integration and sustainability (De la Harpe, 2008). 
5.4.3. Low water tariff, and inadequate political and financial support  

 AAWSA’s low water tariff is associated with poor-governance and the misconception that the poor cannot afford water at full-cost. This misconception has led AAWSA’s officials to be reluctant to raise water tariff to its cost-recovery level and to the level that will induce awareness to conserve water. They think that the urban poor are unwilling and cannot afford to pay the full cost of piped-water and agrees with the findings of McIntosh (2003). Stability and predictability in financing are important and can be achieved by improving effectiveness in the use of public resources through improved water sector governance and leveraging additional local resources.
The urban poor who are not being served by piped water but fetch water daily from street water vendors at seven to ten-fold time the price of pipe water are willing to pay up to 500% of its current tariff to be connected to AAWSA’s supply and to improved and reliable water services. This is consistent with the findings of Shofiani (2003). This misconception coupled with the political interests of city managers, have hindered regular tariff adjustment though rising water price is acceptable. This in turn has resulted in the lack of revenue for reconstructing impaired component of the system and motivating staff to carry out good operation and maintenance similar to other places (McIntosh, 2003). Cognizant to UN (2008), AAWSA should recognize that adequate investments in water management, infrastructure and services can yield a high economic return by avoiding costs related to water pollution, contamination and disasters.

The lack of inputs has steered delayed services and service inefficiency of branches deteriorating their performance and/or worsening of leakages. Low level water pricing undoubtedly creates the impression that water is plentiful and its wastage is nothing lost (McIntosh (2003). Low pricing is caused by utility staff, government officials, and elected officials, with vested interests in maintaining status quo, that allows a considerable political support during elections.  Low water tariff is contributing to high water losses worsening low piped water coverage, and intermittent supply. Hence, stability and predictability in financing are essential and can be achieved by improving the effectiveness in the use of public resources through improved water sector governance as well as leveraging additional local resources for urban utilities

5.4.4 weak and fragmented institution and instability 

Leakage, illegal connections and billing inefficiency caused by low operation and maintenance have caused high water loss in the water distributions owed to low human and technical capacity. This insufficient institutional capacity and instability coupled with historically entrenched authoritarian political culture might put the city at most risk of being severely affected by climate change (Ndaruzaniye (2011) like other African cities. Such lack capacity of the utility to extend water distribution to unserved parts of the city is one of the causes for the observed intermittent or non-existent water supply provision and agrees with what was noted by McIntosh (2003). 
Damage costs from weak institutional structure associated with poor coordination are very high (for repairing, rebuilding and improving the network) and can be as high 20% of the total income of the water utility (Saghi and Aval 2015). This in turn has initiated defect in the performance of the water network which has already started negatively influencing most of the socio-economic sectors. Its prime cause is aged pipe system (especially in the old parts of the city) showing AAWSA’s delirious calculations contributing for inconsistent and incorrect reports notifying it to ensure good governance in urban water supply to enhance sustainability, effeteness and efficiency of the service. Inadequate monitoring and evaluation have underestimated growth in water demand.

The fragmented management of the different water cycles (water supply, wastewater and storm water) in Addis Ababa has led to missed opportunities such as failure to exploit rainwater and recycled wastewater as a source of water supply for non-potable uses; and unexpected impacts including the over abstraction of groundwater reducing sustainable yield.  In response to rapid and unplanned urban growth, and relatively poor water management practices, AAWSA is struggling to address the gap between the demand of rising population and the limited availability of a completed resource to deal with significant extended bureaucracy, turnover of personnel, limited human resource capacity and expertise. Amidst significant progress in improving economic and social conditions, still challenges remain for AAWSA to become a more inclusive, safe, resilient and sustainable city as population growth, construction boom and other economic activities have resulted in a deficit of water supply for the city population.  unplanned urban growth, and poor water management practices have forced Addis Ababa to struggle with problems of water scarcity, water pollution, inadequate service provision, and increased ﬂooding, directly aﬀecting its population’s quality of life and economic prospects.

5.4.5 Poor technical and human resource capacity 

With respect to institutional challenges, the findings of this study agree with most researches into integrated urban water management that tend to prioritize /emphasize technical studies instead of examining institutional barriers. The paucity of the water supply services sector and development in Ethiopia is due to the lack of capacity on management, policy and regulatory matters and to handle planning, operation and maintenance activities that are also common in other places (Macro, 2006). This author has taken the stand that the current water production insufficiency is consistent with the under development of water supply sector. This could be associated with institutional instability, management problems, and lack of coordination and weakness in operation and maintenance of the projects (MoWR, 2002). Unskilled professionals, low staff awareness, negative attitudes and low interest are expected to worsen the absence of data backup owed to the very laggard nature of AAWSA towards using technology. 

5.4.6 Absence of proper database and poor information exchange system
 AAWSA has limited available good quality data and lacks data base for most issues or the available ones are outdated. This in turn has caused high dependence on global average statistics which mostly leads to inappropriate interventions at a local level. The scope of national and international data collection and analysis systems and the reporting mechanisms are mostly limited to country or city level. Information is hardly disaggregated to a local level in small geographic areas. This study has suffered from inaccessible, missing or incomplete or inconsistent data. 

AAWSA’s very poor data recording system is complicating the water provision services. Lacking or inconsistent data on water availability, distribution, water consumption by each user category, water quality and water management methods have resulted in water shortages. The absence of internet service in all the eight branches is instigating the loss of huge important data by virus attack of the few computers shared among various staffs. This has impaired sharing relevant data, available information, experience sharing and horizontal relations among branches or between the head office and branches.
In 2015, percentage coverage was 88.94, 97.78 and 77.30 based on AAWSA, CSA and high scenario population sizes respectively. The first two reports don’t agree with the fact on the ground. AAWSA has no accurate total water consumption data owed to unknown volumes of water abstracted from the 125 private wells by non-domestic customers mostly for non-potable uses because of the lack of smart meters. The number of private wells is not known with certainty. This has made water demand analysis difficult. AAEPA estimates 1000 private wells but it has licensed only about 500 wells manifesting the unreliability of its performance information. The lack of up-to-date data base has resulted in the lack of adequate and timely available data.
5.4. 7. Defective water policies, strategies and plans 

 The preconditions for successful environmental policy implementation which are weak at best (UNEP, 2013) show that many policy and planning decisions made by AAWSA are taken without access to adequate data. As this conceivably increases the risk of inappropriate measures being adopted (Šliužas, 2004), city residents without land ownership certificates are not entitled to AAWSA connections, a challenge that is expected to escalate like in most developing country cities (World Bank, 2005).Meaning, the water supply sector in Ethiopia has crippled development due to legislation, investment, policy and participation gaps (Dessalegn, 1999) coupled with projected rapid population growth of the city and intensity of urbanization (WBG, 2015). Fully recognizing the challenge of adequate water supply, this author takes the stand that the problem is expected to become even more significant because of rapid urbanization, increased individual water demand as incomes rise, and the impacts of climate change. The present estimated per capita distribution of 40 liters per day is well below the utility’s goal of 110li/c/d augments the authors’ assertion. Poor-governance is behind the screen and stands as the prime cause to the exceeding of water demand over that of supply
5.4.8. Mismatch between demand and supply (enhanced consumption)
Water scarcity is broadly defined as the lack of access to adequate quantities of water for human and environmental uses. Both physical and social or economic water scarcities complement each other (Kummu et al., 2010) and highlight important aspects of the problem. Physical water scarcity may develop over time into the future, with a time span of a few decades ahead. Meaning, a rapid increase in the number of people under water stress or water shortage is expected as a result of the increasing population and/or water use. In some cases, this could be due to climatic change (V¨or¨osmarty et al., 2000, Oki and Kanae 2006).
 Addis Ababa is affected by economic (social) water scarcity as a result of the lack of adequate finance, skill, technology and human capacity to bring water from distant sources. even though physical and economic water scarcities complement each other (Kummu et al., 2012). The driving factors are increased population growth and rapid urbanization, high volume of NRW, industries and industrial water pollution, and reduced infiltration. The combined effects of population growth and increased per capita consumption have increased water supply deficit by increasing water demand.
The scarcity of the quantity of water supply (service level; accessibility of the supply; affordability of water tariff and continuity of the supply) are disproportionally felt inadequacies. The reality of leaving considerable part of the urban population without access to sufficient and potable water certainly deteriorates public health, growth and economy by forming part of a systematic urban problem (Barata et al., 2012; Rousdy et al., 2012; Path ,2007).
Low level of water supply services adequacy is threatening the health and the environments of people in water scarce areas of the city thereby bringing about a declined standard of living and threatening their dignity. This reality is analogous to the observations of Barata et al. (2012) and Pah (2007) who have stated that leaving considerable part of the urban population without access to sufficient and potable water certainly deteriorates public health, growth, and economy of the urban area.

The critical observed and reported mismatch between water supply and water demand in Addis Ababa like many parts of Sub Saharan Africa might continue to be a significant problem (Marobhe, 2008). 
AAWSA is attempting to address the problem through new source development, expansion and rehabilitation of existing water treatment plants and dam rising, wells construction in pocket areas, truck water supply for low pressure areas via shift supply, water line installation for the poor and elderly with the support of charity organization. It is important that today’s water challenges be addressed in a way that reflects an integrated approach, keeping in mind the long-term vision towards which the city and region should move (Chen, 2010). 

5.4.9. Increasing water demand

Ethiopia, has the lowest level of water and sanitation service provision in the world (Dowa et al., 2007), and faces a range of challenges in water management. It is the second lowest among Sub Saharan African countries in access to safe/improved drinking water (WHO/UNICEF, 2015) attributed to limited capacity to develop water resources including groundwater, limited absorption capacity of public sector, limited drilling capacity and involvement of the private sector, lack of contract management capacity and weak sector coordination. Although access to safe water is a human need and a basic right (Mason, 2009), its shortage and quality deterioration in Addis Ababa from increasing demand (McDonald.et al., 2014) is attributed to urban growth. The 350,000 condominium houses planned to be constructed during the second GTP (2015/16-2020/21) will worsen the current situation. Advances in technology and rapid urbanization are also transforming residents, their economies and their ways of doing business evidenced by their increased water consumption and demand.
5.4.10. Deteriorating and malfunctioning infrastructure system
Like in many cities, the water infrastructure in Addis Ababa is as old as the city itself with little replacement of water pipes or equipment making AAWSA’s performance one of the most critical issues in the water supply sector requiring immediate action to revert the current discontinuous water supply. Deteriorating and malfunctioning infrastructure system have forced AAWSA supply water to certain parts of the city on a rotating basis, with some areas receiving water only two days a week through distribution lines or water trucks. Hence, comprehending the urban growth and clearly explaining options are two main requirements for effective decision-making about sustainable development of urban infrastructure (Grigg,1997). 

AAWSA’s operation and maintenance services  are not delivered similar to other traditional centralized systems that are the responsibilities of municipalities and utilities (Sohail et al., 2005).There are many cases of poor operation and maintenance works done by its employees All respondents have associated the current old, insufficient and malfunctioning infrastructure with the rapid and steady population growth, urbanization and industrialization /enhanced economic activities, budget shortage, lack of manpower. 
5.4.12. Huge volume of water leakage and water loss
Most customers believe that half of the water produced by AAWSA is lost because of the slow response or negligence of AAWSA employees to reports of concerned customers. Huge water loss due to poor operation and maintenance is contributing to the low piped water coverage, exceeding of demand over supply and intermittency of supply. Both the opinions of most customers who estimated water loss at 50% and the findings this study showed the presence of huge water loss. This considerable difference between the amount put into the distribution system and the amount of water billed to consumers is one of the major issues affecting the water utility like in most developing world (Kingdom et al., 2006). Such huge losses from the distribution is one of the major issues affecting AAWSA which is also a problem of most developing world (Kingdom et al., 2006).
The reported rising up of water inside a house like spring near Abebe Bikela stadium shows the gravity of invisible leakage. AAWSA has estimated real loss (physical loss) caused by leaks, pipe break downs, and other incidents to amount 25% of the total water delivered. Water not accounted for because of wrong estimations, errors in measurement (faulty meters), fraud and other causes added to up to 20% of the total water delivered. Development activities are causing frequent breakages and increased leakage and finally supply interruption making AAWSA’s performance in the low service/ low –revenue trap. Huge leakage and many invisible leakage points throughout the city are obliging AAWSA long time to replace or update its infrastructure
 The current increasing number of leaks in water pipes due to corrosion and breaks in the water main or ageing and deteriorating public infrastructure is affecting water quality and water service seriously but geographically uneven with certain areas facing signiﬁcantly higher incidence of problems like the observation made by Saghi, and Aval (2015). The recent special attention of AAWSA to reduce NRW via district area metering to investigate invisible leakage in the water distribution service hoping to reduce NRW in urban water distribution networks to 20% by 2020 is also true in many countries (Saghi and Aval, 2015) even though the utility has not conducted prioritization of effective factors in causing leakage study. This study has identified pipe materials, pipe age , pipe diameter ,  pressure, the movement of soil around the pipe,  unsuitable pipe basis and coverage materials and  pipe coverage , incorrect installation, water hammer hit, clogging the components joints and pipes, the pressure of the cars on the surface roads and ground, corrosive waters, the damages to the pipes by other service organizations, poor quality connections and nonstandard plumbing, the summit of the ground and climate conditions as factors that cause leakage. Material, age, pressure, diameter, the depth of the placement of the pipe, and length were emphasized.

Serious water loss manifests inefficient resource utilization and ineffective water utility management Lai et al., (2017). Reducing water loss is a key sustainable water management response to the absence of integrated water management plans responsible for the gradual increase in the problems of drinking water scarcity (Van den Berg, 2014). But reducing water loss is a challenge particularly in developing countries cities including Addis Ababa, a situation discouraging citizens from participating in water management enhancing water shortage in addition to money lost from wastage of treated potable water.
The major sources of water loss include leaking house service connections, old conservancy lane, non-working meters, illegal connections, poor quality of meters, and absence of water accounting.
Customers located at the lower parts of Addis with better and continuous water supply have experienced breakage of their water pipes, tap and other facilities because of high and very high pressures values. This calls for pressure management measures to reduce the water losses occurring within the pipe system supply (Mutikanga et al., 2012; Nicolini and Zovatto, 2009; Girard and Stewart, 2007) since a one percent increase in pressure results in a 1.15% increase in the leakage rate. The very high volume of NRW and intermittency of supply are caused by most of the existing water infrastructure that date back to several decades or even more than half a century, are very old and dilapidated in most part of the city. The very high value of NRW in Addis Ababa is nearly twice higher than World Bank’s recommended value (less than25%) or the recorded value of 19% by England and Wales (Kingdom et al., 2006).

5.4.13. Over abstraction and depleted sources 
Changes in industrial structure and economic developments have commanded unsustainable abstraction of the available water resources beyond their sustainable yield. Production of groundwater is increasing at steady pace since 1994 together with the linear increment of production of water. The reduced capacity of existing water sources that is severely affecting the water supply of Addis Ababa City, is happening in the form of depletion of groundwater sources and reduced capacity of reservoirs is consistent with the findings of Siraj et al. (2016). The current fierce competition among water users on the available freshwater is aggravating resource depletion compromising on water access to low income domestic users. 
 Enhanced demand from increased water consumption by the growing population, construction boom and changed style of living has resulted in the over abstraction of the available sources in   Sebeta, Ayat, Legedadi, Mekakuntire, Yeshi Debele, Meriluke, Ayat Summit, and Lebu wellfields. It is caused by sedimentation due to low level catchment management; deplted groundwater sources from over abstraction, competition of neighboring unlicensed private wells, and pollution by domestic, industrial and commercial wastes.The present actual and potential depleting recharge zones and quality deterioration could be associated with absence of catchment management, land use change into developed land, population growth, rapid urbanization, climate change and water mismanagement.

Several production boreholes abandoned because of yield reduction and three of the 129 bore wells have ceased functioning because of filling up due to upland flooding. These malfunctioning wells are located in the middle of the lower slopes of the city near Mekanissa and on Little Akaki River (Kombe et al., 2015). The absence of catchment management and enhanced economic activities in Gefersa, Dire and Legedadi surface water catchments are reducing the capacities of the reservoirs through sedimentation (DAR AL-ORMAN and Associates, 2012).

The concentration of shallow, medium and deeps wells in well fields has started fierce competition among production wells causing frustration among water users since the increasing number of wells in small radius can significantly increase the existing unmet demand and decrease groundwater recharge by ultimately decreasing their yields very soon. The problem is compounded with the conversion of recharge zones into impervious developed land at a faster rate. Possible land use change in catchments might reduce the volume of water entering these reservoirs. 

The low level of awareness from all parties (decision makers, households and public connection beneficiaries) identified by this study calls for an integrated approach to achieve social equity, sustainable environment, and the economic efficiency. This makes identification and implementation of effective solutions much easier and improves the efficiency in water use (GWP, 2004). The fragmented management of the different elements of the water cycle has led to missed opportunities such as failure to exploit rainwater and recycled wastewater as a source of water supply for non-potable uses and unexpected impacts including the over abstraction of groundwater thereby reducing its sustainable yield. New approaches with a new mentality are required with a sense of urgency to successfully face the current urban water challenges in Addis Ababa. Planning, developing, and managing water resources to ensure adequate, inexpensive and sustainable and quality water supply for all types of demands can only be successful by addressing the causal socio-economic factors of inadequate education, population pressures and poverty (LoucksandBeek,2005).

CHAPTER SIX

 6. Conclusion and Recommendations


6.1. Conclusion 

Based on the findings of this study, the major conclusions were:
AAWSA’s design of water distribution systems is implemented by using universal design factors without taking into account the effects of local conditions, so that the design parameters should be modified to achieve water requirements. The current branch-based water supply distribution is characterized by supply inequity both in terms of weekly water supplying days and daily water supply hours. Although intermittent supply could be taken as the last measure in conditions of water shortage, it is mandatory for AAWSA to avoid it through proactive planning and timely response to critical conditions. Thus, investments in mere infrastructure and financing improved water supply systems, increased coverage and affordable access to the poor, leveraging additional local sources, estimations based on status assumptions, service standards and existing financial flows, and rigorous estimates are not adequate.

Amidst AAWSA’s miscellaneous efforts including new sources development, expansion and rehabilitation of existing water treatment plants and dam raising, wells extraction in pocket areas, truck water supply for low pressure areas via shift supply, water line installation for the poor and elderly with the support of charity organization demonstrates higher rates of water demand growth than the growth of water supply. Fluctuation in access to drinking water supply are due to inadequate institutional arrangement, lack of proper management of water resources, poor data collection, collation and archiving, poor community and private sector participation, epileptic power supply and inadequate awareness on issues of water conversation and management, weak management and executive capacity and low investment level in operation and maintenance. 
The majority of customers reported perceived improvement of water service compared to a reasonable proportion who reported worsening of the service. This overall expected increased water demand found by this study (due to the gradual deteriorations in the performance of the water system; inadequate and unreliable power with frequent and long-lasting power interruptions; old distribution network; inadequate pipes with many bursts along the main line; damages to service pipes during road construction and other land use activities; severe and frequent technical failure;  insufficient infrastructure, rapid and steady population growth, urbanization, better and modern style of life due increased income, and water intensive modern houses are also contributing factors is putting high pressure on the utility.

The existing Legedadi subsystem layout which has aged pipelines requires immediate replacement or extensive rehabilitation works to ensure satisfactory static pressure conditions. additional water sources, both surface and groundwater, will be needed to meet the needs of Addis Ababa metropolitan area. To avert this water customers’ suffering from the deficiency of water supply quantities and sharp pressure drops and meet consumer demand at satisfactory levels, the utility must improve and increase the efficiencies of the water distribution and management systems.
The WEAP model results signify the growth of demand at a faster rate than the growth of supply or production and can be the result of population growth, increased household income, economic growth, induced increased water consumption due to increased awareness and hence demand, increased connections to AAWSA water distribution network and/or change into better connection type, modern style of life with increased water use for sanitation and other activities as well as water intensive modern house types that are water intensive including condominiums lead to increased demand. GTP II’s leakage reduction plan to 20% may not be achieved due to AAWSA’s very long water distribution network having very old pipes and other infrastructure. If achieved, it can produce water volume equal to eight times Gefersa dams’ current capacity or 1.23 times the current production volume of Legedadi water treatment plant. 

AAWSA’s lack of a common strategy, multiplicity of institutions, institutional weakness and absence of integration among the various service providing institutions to integrate their action plans and programs at the city level have resulted in massive pollution of surface water resources. Lack of coordination has made the city suffer from fragmented institutional arrangement and overlapping mandates with confusing duties and responsibilities hampering the ability of city leaders to address critical socio-economic and environmental challenges. Sectors’ accountability differences since few are accountable to the city administration and others to the Federal State is contributing to the observed glitches. AACRA frequently breaks AAWSA’s water distributions while constructing and rehabilitating roads due to absence of prior communication or common plan. 

The defect in the performance of AAWSA’s network which has started negatively influencing most of the socioeconomic sectors. Customers disappointing by outages; and frequent interruptions have developed stress among customers could be improved if better information management systems that could give early warnings of requirements are in place. The absence of appropriate database about customers’ profile and inaccurate meter reading are enforcing the poor customers to pay more. Low quality inputs, slow and inefficient workmanship of technicians, budget shortage and wasting valuable working time with political meetings are believed to lag the renewal of these old infrastructures and hence slow down the achievement of leakage reduction target period. Eventually outdated database has brought both less effective and inefficient management. These inefficiencies originating from limited infrastructure and absence of effective management systems are still most relevant to resolve.

 6.2. Recommendations 

Based on the findings of this study, the following recommendations are forwarded to the respective stakeholders:

There are few scientifically documented literatures on the urban water supply problem of Addis Ababa city. Therefore, more empirical evidence is needed. This calls for research to assess the feasibility of shifting from predominantly imported water supply sources to more local resources through conservation, recycled water usage, storm water capture, and groundwater management. This perception study could be more comprehensive by including socio-economic input data and increasing sample size. It should also be backed up by monitoring. Loss reduction and demand reduction measures are expected to narrow the gap between supply and demand better than the development of new water sources or additional water production. As most new source development projects are either expensive or slow or usually fail, AAWSA better look for other alternatives. Conducting research on the extent of water demand increment or reduction due changed style of living, increased living standard or income, awareness, increasing water tariff, water conservation, and climate change is worth doing and timely. Water scarcity trend projection is very crucial and worth a study in order to prevent possible environmental degradation and prepare for possible remedies for the near future.
There remains much for AAWSA and its branch offices to do to narrow the wide gap between water supply and water demand, thereby changing its complex and fragmented water governance system. The utility has to shift from engineering-based supply side management to technology-based demand side management approaches. It should shift from predominantly imported sources to more local sources through conservation, recycled water usage, storm water capture, and groundwater management. AAWSA can enhance efficient use via awareness campaigns and /or tariff increments. AAWSA need to organize research and study unit in order not to depend on the recommendations of consultant reports which are expensive but might lack reliability. It should conduct full inventory of all boreholes in the city and keep accurate and up-to-date data of production capacity/status, GPS locations, and others for proper planning.

AAWSA may consider establishing updated geo-referenced data base for the boreholes and other basic water infrastructures and commence the use of up-to-date technology like digital water meters and leakage detectors. Branches should know their system input volume for proper leakage reduction and need to have full autonomy and strive for quality during the purchase and installation of infrastructure. Huge water consuming industries and commercial units should be advised to recycle their wastewater to minimize their pressure on treated freshwater for non-domestic demands which don’t need high quality water. This should be backed up with strong policy and government intervention. Water demand of day time population should be included in the planning of future water supply planning.

Efficiency improvements in water use require setting up of mechanisms for changing people’s attitudes and behaviors towards water use. This requires very strong and workable integration equivalent to positive attitudes and affections of the staff towards their institution and their customers; and developing professionalism to serve the poor and the needy. Inter-sectoral integration among the different service giving organizations with different accountabilities needs consolidation and requires their full autonomy. Training and short-term courses are mandatory to develop the skill and efficiencies of the technical staff. Developing positive and strong relationship with stakeholders such as water customers shouldn’t be overlooked. Commencing monitoring of corrupted and illegal activities is mandatory. Water lines should be connected to illegal settlers since water is both a necessity good without substitution and a basic human right that should be supplied to anyone without any precondition.

Emphasizing exclusively on either source is an issue of further investigation for reasons of budget, source sustainability, long years of design period, and water quality. Hence, groundwater sources should be used as alternative sources to augment surface sources for ensuring water security during reservoir maintenance and during drought periods is recommended.

References 

AACPPO (2014) Addis Ababa Land Use Development Plan. Unpublished Planning document. Addis Ababa City Planning Project Oﬃce: Addis Ababa, Ethiopia.

AAWSA (2000). Addis Ababa water Supply project. Stage-IIIA Groundwater-Phase II, Modeling of Akaki Well field, V1, Main Report, Addis Ababa Water and Sewerage Authority, Addis Ababa, Ethiopia, 54p.
AAWSA (2002), Gafarsa and Keranyo Water Supply - Rehabilitation of Dams and Water Treatment Plant, consultancy report.
AAWSA (2002), Gafarsa and Keranyo water supply - Rehabilitation of dams and Water Treatment Plant, Consultancy Report.

AAWSA (2004) Addis Ababa Water Supply and Sewerage Authority Document  

AAWSA (2005) Addis Ababa Water and Sewerage Authority Water Supply Situation Map Report

AAWSA (2008). Addis Ababa Water and Sewerage Authority, Formulating and Appraisal Study for Addis Ababa Water Supply and sanitation coverage. Addis Ababa Water and Sewerage Authority
AAWSA (2011). City Government of Addis Ababa, Addis Ababa Water and Sewerage Authority Business Plan 2011–2020, Final Report, Addis Ababa Water and Sewerage Authority: Addis Ababa 

AAWSA (2012). Water production and distribution in Addis Ababa: Addis Ababa Water Supply and Sewerage Authority. Addis Ababa Water and Sewerage Authority

AAWSA (2014). Addis Ababa Water and Sewerage Authority 2013/14 Annual Report. Addis Ababa City Administration, Addis Ababa

AAWSA (2014/15). Addis Ababa Water and Sewerage Authority 2014/15) Annual Report. Addis Ababa Water and Sewerage Authority

AAWSA (2015). Growth and Transformation Plan 1, Draft Report.

AAWSA. (2010). Bole Summit Condominium Project. Addis Ababa Housing Development Agency with Construction Designing Sharing Company, Addis Ababa

Abate, Z. (1994). Water Resources Development in Ethiopia: An Evaluation of present and Future Planning Concepts. Ithaca Press Reading. UK

Abo-El-Wafa, H., Yeshitela, K., and Pauleit, S. (2017). Exploring the future of rural–urban connections in sub-Saharan Africa: modelling urban expansion and its impact on food production in the Addis Ababa region. Geografisk Tidsskrift-Danish Journal of Geography, 117(2): 68-81

Adams, J. (1969). Iron and Manganese Removal. Water and Sewerage Works, 116 (7): 259.

ADB (Asian Development Bank) (2014). Economic Costs of Inadequate Water and Sanitation. Pacific Studies, South Tarawa, Kiribati. Asian Development Bank

Adgolign, T. B., Rao, G. V. R. S., Abdulu, Y. (2016). WEAP Modeling of Surface water Resources Allocation in Didessa Sub-Basin, West Ethiopia. Sustainable Water Resources Management, 2:55-70

Alam, I, Nandi, P., and Malik, U.S. (2011): Towns of Murshidabad District: Study of Perception on Urban Infrastructure. Practicing Geographer, 15 (1)1:265-280.

Alameddine, I., Jawhari, G. and El-Fadel, M. (2017). Social Perception of Public Water Supply Network and Groundwater Quality in an Urban Setting Facing Saltwater Intrusion and Water Shortages. Environmental management,59(4):571-583, Doi: 10.1007/s00267-016-0803-2.

Alcamo, J., Flörke, M., and Märker, M. (2007) Future long-term changes in global water resources driven by socio-economic and climatic changes. Hydrological Sciences Journal, 52 (2): 247-275, Doi: 10.1623/hysj.52.2.247k

Alemayehu, T. (2001). The Impact of Uncontrolled Waste Disposal on Surface Water Quality in Addis Ababa, Ethiopia. Short communication, SINET: Ethiopian. Journal of Science, 24 (1): 93-104.

Alemayehu, T., Legesse, D., Ayenew, T., Tadesse, Y., Waltenegus, S., and Mohammed, N. (2005). Hydrogeology, Water Quality and the Degree of Groundwater Vulnerability to Pollution in Addis Ababa, Ethiopia. UNEP/UNESCO report.

Alemayehu, T., Waltenigus, S., and Tadesse, Y. (2003). Surface and GroundwaterPollution Status in Addis Ababa, Ethiopia

Anderson, E.W., Fornell, C., and Mazuvancheryl, S. K. (2004). Customer Satisfaction and Stakeholder Value. Journal of Marketing, 68:172-185

Angelova, B., and Zekiri, J. (2011). Measuring Customers Satisfaction with Service Quality using American Customer Satisfaction Model (ACSI Model). International Journal of Academic Research in Business and Social Sciences, 1(3): 232-258.

Annan, Kofi. (2001, March 1). United Nations Secretary General Kofi Annan addresses the 97th Annual Meeting of the Association of American Geographers [Transcript of speech]. Association of American Geographers.
Annan, Kofi. (2001, March 1). United Nations Secretary General Kofi Annan addresses the 97th Annual Meeting of the Association of American Geographers [Transcript of speech]. Association of American Geographers.
Antonaropoulos, P., and Associates S.C. (2012). Consultancy Service for Non-Revenue Water Reduction, Hydraulic Modeling and GIS Development for Addis Ababa City Water Supply System, Draft Water Audit and Benchmarking. Addis Ababa City Water and Sewerage Authority, Addis Ababa City Government, Addis Ababa, Ethiopia.

Antonaropoulos, Z and A. P., and Associates S. B. (2013). Consultancy Service for Design and Study of Decentralized Waste Water Management, Financial inception Report. Tropical Consulting Engineers PLC. AAWSA Water and Sanitation Development and Rehabilitation Project Office.

Arranz, R. and McCartney, M. P. (2007). Application of the Water Evaluation and Planning (WEAP) Model to Assess Future Water Demands and Resources in the Olifants Catchment, South Africa, volume 116, IWMI.

Askew, K. L. (2012). The Relationship Between Cyberloafing and Task Performance and an Examination of the Theory of Planned Behavior as a Model of Cyberloafing. Graduate Theses and Dissertations. http://scholarcommons.usf.edu/etd/3957.

Assaf, H., and Saadeh, M., (2006). Development of Integrated Decision Support System for Water Quality Control in Upper Litani Basin, American University of Beirut, Lebanon.

Attari., S. Z. (2014) Perceptions of Water Use. School of Public and Environmental Affairs, Indian University, Bloomington, IN 47405.

Awulachew, S. B., Erkossa, T., Smakhtin, V., and Fernando, A. (2009). Water and Land Management in the Ethiopian Highlands: Its Impact on Downstream Stakeholders Dependent on the Blue Nile. Intermediate Results Dissemination workshop held in February 5-6, 2009, in Addis Ababa, Ethiopia.

Ayalew, S., Habtamu, G., Sahilu, G. and Raschid-Sally, L. (2012). Impacts of expansion of built environment on flooding regime of Addis Ababa city, unpublished project report.

Bahri, A. (2012). Integrated Urban Water Management. Global Water Partnership Technical Committee Background Paper No. 16. Available at;  www.gwp.org.

Bahri, A., Brikke, F. and Vairavamoorthy, K. (2016). Managing change to implement integrated urban water management in African cities. Aquatic Procedia, 6: 3-14, doi: 10.1016/j.aqpro.2016.06.002, Available at: www.sciencedirect.com.

Barata, E., Martins, R., Cruz, L., and Tralhão, S. (2012). Water use, perceptions and Real behavior. Paper presented for Ecological Economics and Rio+20: Challenges and Contributions for a Green Economy (ISEE) held at Rio de Janeiro-Brazil.

Beal. C, Stewart, R.A., Fielding, K. (2011) A Novel mixed method smart metering approach to reconciling differences between perceived and actual residential end use water consumption. Journal of Cleaner Production, doi: 10.1016/j. jclepro. 2011.09.007.

Bekele, T., and Leta, S. (2016). Water Supply Coverage and Health: Drinking Water and Sanitation Coverage in Ethiopia 190-2015 Review. International Journal of Environment, Agriculture, and Biotechnology (IJEABT): 1(1): 11-24. Available at: www.ijeabt.com
Benington, J. (2007). In Search of Public Value – Beyond Private Choice. Palgrave, Coventry, 2007.

Berhe, T. (1988). The Degradation of the Abo-Kebena River in Addis Ababa. M.Sc. Thesis, Addis Ababa University. Available at: http://www.ict prieste.it/~eee/Workshops/smr1597/Kuma_1.doc 

Biru, A. (2002). Assessment of the fertility and pollution status of irrigated vegetable farms around Addis Ababa City Agricultural Office. Final Report. Addis Ababa, Ethiopia. 

Biswas, A. K. (2008). Integrated Water Resources Management: Is It Working? Water Resources Development, 24 (1): 5-22.

Brady, M. K., and Robertson, C. J. (2001). Searching for a Consensus on the Antecedent Role of Service Quality and Satisfaction: An Exploratory Cross-national Study, Journal of Business Research, 51(1): 50-63

Brikké, F., and Vairavamoorthy, K. (2016). Managing Change to Implement Integrated Urban Water Management in African Cities.Aquatic Procedia, 6: 3-14.

Butterworth, J., Welle, K., Bostoen, K., and Schaefer, K. (2013). WASH sector monitoring. Achieving water security: Lessons from research in water supply, sanitation and hygiene in Ethiopia, 49-67

CGAA (2013). Annual Reports on Socio-Demographic Situation of Addis Ababa city, Ethiopia. City Government of Addis Ababa. Available online at: www.addisababacity.gov.et.
Chen, H. (2015). The human Right to Water and Foreign Investment: Friends or Foes? Water International, 40 (2): 297-311.

Chen, M, Zhang H, Liu W, Zhang W (2014) The Global Pattern of Urbanization and Economic Growth: Evidence from the Last Three Decades. PloS one ,9(8): 1-15.

Chenal, J. (2016). Capitalizing on Urbanization: The importance of Planning, Infrastructure, and Finance for Africa’s Growing Cities. Africa Growth Initiative by Brookings, 4:59-71

Chenoweth, J., Kaime, T., Malcolm, R., and Pedley, S. (2013). Water Law, Human Health and the Human Right to Water and Sanitation. Water Security, principles, Perspectives and Practices, London: Routledge: 317-331

Chigwenya, A. (2010). Decentralization without devolution and its impacts on service delivery: The case of Masvingo municipality in Zimbabwe. Journal of Sustainable Development in Africa, 12 (1).

Chowdhury, S., Mazumder, M. J., Al-Attas, O., and Husain, T. (2016). Heavy Metals in Drinking Water: Occurrences, Implications, and Future Needs in Developing Countries. Science of the Total Environment, 569: 476-488 

Clarke, M. B. (1984). Linking the Urban Transportation Planning Package with the Urban Transportation Planning System. Urban Transportation Planning in the 1980s, 9(8), 27.
Conyers, D. and Hill, P. (1989). An Introduction to Development Planning in the Third World. John Wiley and Sons, New York. 

Cronin, A. A., Shrestha, D. Cornier, N., Abdalla, F., Ezard, N., and Aramburu, C. (2008). A Review of Water and Sanitation provision in Refugee Camps in Association with Selected Health and Nutrition Indicators- The Need for Integrated Service Provision. Journal of Water and Health, 6 (1):1-13 

CSA (2007). Federal Democratic Republic of Ethiopia, Central Statistical Agency annual abstract. Central Statistical Agency: Addis Ababa; Ethiopia 

CSA (2008). Central Statistical Authority, Statistical Abstract 2007. Ethiopia Statistical Abstract 2007. Central Statistical Authority, Addis Ababa, Ethiopia.

CSA (2010) Federal Democratic Republic of Ethiopia Population Census Commission Central Statistical Agency. The 2007 Population and Housing Census of Ethiopia Results for Southern Nation Nationalities, and People Region. Part I: Statistical Report on Population Size and Characteristics. August 2010, Addis Ababa.

CSA (2011). Central Statistical Agency of Ethiopia, Measure DHS: Ethiopia Demographic and Health Survey 2011. Addis Ababa and Calverton.

CSA (2012). Ethiopian Welfare Monitoring Survey 2011, Summary Report.  Central Statistical Agency: Addis Ababa, Ethiopia.

CSA (2013). Population Projections for Ethiopia, 2007-2037. Central Statistical Agency, Addis Ababa, Ethiopia.

CSA (2016). Ethiopia Demographic and Health Survey 2016: Key Indicators Report. Central Statistical Agency Addis Ababa, Ethiopia
Cui, L. and Shi, J. (2012). Urbanization and its environmental effects in Shanghai, China. Urban Climate, 2: 1-15.

Cutter, A., Osborn, D., Romano, J., and Ullah, F. (2015). Sustainable Development Goals and integration: Achieving a Better Balance between the Economic, Social and Environmental Dimensions. A study Commissioned by the German Council for Sustainable Development.

Damhaug, T., Sørensen, J., and Wathne, B.M. (2000). Managing Water for African Cities Addis Ababa City Implementation Plan Environmental Component Appraisal Report. Norwegian Institute for Water Research: Norway, Oslo.

De la Harpe, J. (2008). Challenges of integration in urban Water Management: A mid Term Assessment in Alexandria, Egypt. Available at: www.switchuranwater.eu.
Deichmann, U., and Lall, S.V. (2003). Are you satisfied? Citizen Feedback and Delivery of Urban Services. Development Research Group, World Bank, Washington DC, USA.

Del Grande, M.H., Galvaão, C.D.O., Miranda, L.I.B.D., Sobrinho, G. and Dourado, L. (2016). The perception of users about the impacts of water rationing on their household routines. Ambiente and Sociedade, 19(1):163-182.

Dessalegn, R. (1999). Water Resource Development in Ethiopia: Issues of Sustainability and Participation. Forum for Social Studies. Discussion Paper No.1, Addis Ababa. 

Dessi, C., and Floris, M. (2010). When management and Customer See Eye to Eye: The Agreement Factor and Performance. Journal of Small Business and Enterprise Development, 17(1): 102-122.

Dietrich, A. M. (2006). Aesthetic Issues for Drinking Water. Journal of Water and Health, 4:11-16

Dietrich, A. M., and Burlingame, G. A. (2015). Critical review and rethinking of USEPA secondary standards for maintaining organoleptic quality of drinking water. Environmental science & technology, 49(2): 708-720.

Dociu, M., and Dunarintu, A. (2012). The Socio-Economic Impacts of Urbanization. International Journal of Academic Research in Accounting, Finance and Management Sciences, 2(1):47.52, ISSN: 2225-8329.
Doria, M. D. F (2010). Factors Influencing Public Perception of Drinking Water Quality. Water policy, 12:1-19. Doi: 10. 2166/wp. 2009.05.1

Doria, M.d. (2006). Bottle Water versus Tap Water: Understanding Consumers’ Preference. Journal of Water and Health, 271-276

Dowa, A. A., Noel, S., Shone, G., Barron, J. and Soussan, J. (2007). Water and poverty linkages in Africa: Ethiopia case study. Stockholm Environment Institute.

EC (European Commission) (2004, editor): Aid Delivery Methods, Project Cycle Management Guidelines. Brussels: European Commission - EuropeAid Cooperation Office

Ellis, J. B., Lundy, L., and Revitt, M. (2011). An Integrated Decision Support Approach to the Selection of Sustainable Urban Drainage Systems (SUDS). In SWITCH Conference: The future of urban water; solutions for livable and resilient cities. Decision support tools; 24-26 January 2011.
Engel, E., Fischer, R., and Galetovic, A. (2011) The Basic Public Finance of Public-Private Partnerships. Discussion Paper 957, Yale University Economic Growth Centre. 
Evison, L., and Sunna, N. (2001). Microbial regrowth in household water storage tanks. Journal of the American Water Works Association, 93(9), 85-94.
Falkenmark, M., Lundqvist, J., and Widstand, C. (1990). Water scarcity—An ultimate constraint in third world development. Linkoping University, Stockholm, Sweden

Ferrier, C. (2001). Bottled Water: Understanding a Social Phenomenon. World Wild Foundation (WWF). Available at: http://www.panda.org/livingwaters/pubs/bottled_water.pdf.
Fife-Schaw, C., Kelay, T., Vloerbergh, I., Ramaker, T., Chenoweth, J., Morrison, G. and Lundéhn, C. (2007). Consumer trust and Confidence: An Overview. TECHNEAU reports (D 6.1.2.). Available on line at : http://www.techneau.org/fileadmin/files/Publications/Publications/Deliverables/D6.1.2.pdf
Fufa, E. (2016). Socio-Economic Problems of Water Pollution: The Case of Akaki River (Doctoral dissertation, St. Mary's University)

Gebre, G. and Van Rooijen, D. (2009). Urban Water Pollution and Irrigated Vegetable Farming in Addis Ababa. Referred paper 166 presented at the 34th WEDC Conference in Water, Sanitation and Hygiene: Sustainable Development and Multispectral Approaches, Addis Ababa, Ethiopia.

Gebrehiwot, B. A., Weldeselasie, A. B., and Gebre-eyesus, M. (2017). Growing Demand, Shrinking Supply of Industrial Lands in Addis Ababa, Ethiopia: Underlying Causes and Possible Solutions.  Draft paper prepared for presentation at the 2017 World Bank Conference on Land Poverty, The World Bank-Washington Dc, March 20-24.

Gebremichael, D., Gebremichael, A. T., Worku, A., Abshare, M. W., Habtemariam, Y.M., Balcha, G. and Gebremichael, D. (2014). Building Urban Resilience: Assessing Urban and Peri-urban Agriculture in Addis Ababa, Ethiopia. United Nations Environment Programme, Nairobi, Kenya.

Gemma, P., Sang, Z., Mc Itosh, A., and V Ospina, A. (2014). Smart Water Management in Cities: ITU-T Focus Group on Smart Sustainable Cities. Focus Group Technical Report, International Telecommunication Union. Available at: www. Itu.int. itu-t/climate change.
Genius, M. and Tsagarakis, K. P. (2006). Water shortages and implied water quality: A contingent valuation study. Water Resources Research, 42, W 12407, doi: 10.1029 / 2005 WR 004833.

Girard, M., and Stewart, R. A. (2007). Implementation of pressure and leakage management strategies on the Gold Coast, Australia: Case study. Journal of Water Resources Planning and Management, 133(3): 210-217.

Girma, A. (2013). Water, Sanitation &Hygiene (WaSH) in Ethiopia. Federal Democratic Republic of Ethiopia Ministry of Water and Energy. MoWE (NWCO): Addis Ababa, Ethiopia.

Girma, E. (2012). Climate Change Impact on Surface Water Sources of Addis Ababa: A Case Study in Legedadi-Dire-Gefersa Catchments and Reservoirs (Doctoral Dissertation, School of Graduate Study, Addis Ababa University).
Givental, E. (2017). Addis Ababa Urbanism: Indigenous Urban Legacies and Contemporary Challenges. Journal of Geography and Geology; 9(1); 25-36

Gosling, S. N., and Arnell, N. W. (2016). A Global Assessment of the Impact of Climate Change on Water Scarcity.Climatic Change,134 (3): 371-385.

Grady, C. A., Weng, S. C., and Blatechley, III, E. R. (2014). Global Potable Water: Current Status, Critical problems and Future perspectives. Potable Water, 17 (233):37-60. Available online at: http://www.Springer.com/978-3-319-06562-5.

Grande, M. H., Galvao, C.O., Miranda, L.J.B., and Sobrinho, L.D, G. (2016). The Perception of Users about the Impacts of Water Rationing on Their Household Routines. Abiente and Sociedade, 19 (1): 163-182.

Grigg, N. S. (1997). Systemic Analysis of Urban Water Supply and Growth Management. Journal of Urban Planning and Development, 123 (2): 23-33.

Gulyani, S., Talukdar, D., and Kariuki, M. (2005). Universal (Non) Service? Water Markets, Household Demand and the poor in urban Kenya. Urban Studies, 42(8):1247-1274.

GWP (2004, Ed.): Catalyzing Change: A handbook for developing IWRM and water efficiency strategies. Stockholm: Global Water Partnership

GWP (2011). Towards integrated urban Water Management. Perspectives paper, Global Water partnership, Stockholm: Sweden. Available at: www.gwp.org, www.gwptoolbox.org
GWP (2013). Integrated Urban Water Management: Towards Diversification and Sustainability. Policy Brief, 1: 1-4.

GWP (2015). Integrated Water Resources Management in Central and Eastern Europe: IWRM Vs EU Water Framework Directive. Global Water Partnership. Available online at: www.gwp.org
Haile, T., and Abiye, T. A. (2012). Environmental impact and vulnerability of the surface and ground water system from municipal solid waste disposal site: Koshe, Addis Ababa. Environmental earth sciences, 67(1): 71-80.
Hailemariam, A., Gotu, B., Gurmu, E., Regassa, N., Castilla, R. F., and Levin, M. J. (2009). An Assessment of the 2007 Population Census with Emphasis on the Amhara Region. Consultants’ Report Submitted to CSA and UNFPA, April 30, 2009.

Hall, R.P., Koppen, B.V., and Houweling, E.V. (2014). The Human Right to Water: The Importance of Domestic and Productive Water Rights. Science. Engineering Ethics, 20: 849-868. Doi: 10.1007/s11948-013-9499-3.

Halliday, S. (2004). Water: A Turbulent History. Sutton Publishing Limited, Stroud

Hamaideh, A., Al-Karablieh, E. K., Salman, A., and Al–Najjar, F. O. (2015). Participatory Approach in Domestic Water Demand Management. Journal of American Science, 11(6):175-187. Available at: www.jofamericanscience.org.
Hamlat, A., Errih, M., and Guidoum, A. (2013). Simulation of water resources management scenarios in western Algeria watersheds using WEAP model. Arabian Journal of Geosciences, 6 (7): 2225-2236.

Haque, I. (2016). Infrastructure Development and Access to Basic Amenities in Class-I Cities of West Bengal, India: Insights from Census Data. Journal of Infrastructure Development, 8 (1): 36-84.
Haregewoin, Y. M. (2007, June). Integrated Housing Development Programs for Urban Poverty Alleviation and Sustainable Urbanization: The Case of Addis Ababa. In ENHR International Conference on Sustainable Urban Areas. Rotterdam.

Haughton, G., and Hunter, C. (2004). Sustainable cities. Routledge, Regional Studies Association. Taylor & Francis Group, London and New York. 
Hegerl, G. C., Black, E., Allan, R. P., Ingram, W. J., Polson, D., Trenberth, K. E., and Dai, A. (2015). Challenges in Quantifying Changes in the Global Water Cycle. Bulletin of the American Meteorological Society, 96 (7): 1097-1115

Hellström, D., Jeppsson, U., and Kärrman, E. (2000). A framework for systems analysis of sustainable urban water management. Environmental Impact Assessment Review, 20 (3):311-321.

Hermans, L., Renault, D., Emerton, L., Perrot-Maỉtre, D., Nguyen-Khoa, S., and Smith, L. (2006). Stakeholder- Oriented Valuation to Support Water Resources Management Processes-Confronting Concepts with Local Practice. FOA Water Reports 30, Rome.

Hoff, H., Noel, S., Droogers, P. and Dent, D. L. (2007). Water use and demand in the Tana Basin: Analysis using the Water Evaluation and PlanningTool (WEAP) (No. 4). ISRIC-World Soil Information

Hoselitz, B. F. (1953). The role of cities in the economic growth of underdeveloped countries. Journal of Political Economy,61(3):195-208.

Hotton, G., and Chase, C. (2016). The knowledge base for achieving the Sustainable Development goal targets on water supply, sanitation and hygiene. International journal of Environmental Research and Public Health, 13(6), P. 536

Hunnes, D. E. (2012). An Analysis of Ethiopian Rural-to-Urban Migration Patterns from Primary Interviews. Journal of Global Health Perspectives, Edition 1:1-14 

ICSU (International Council for Science) (2011) Report of the ICSU Planning Group on Health and Wellbeing in the Changing Urban Environment: A Systems Analysis Approach. International Council for Science, Paris.

ICSU (International Council for Science), ISSC (International Social Science Council) (2015): Review of the Sustainable Development Goals: The Science Perspective. Paris: International Council for Science (ICSU).

IIR (India Infrastructure Report) (2006): India Infrastructure Report 2006, Planning for Urban Infrastructure: Toutain, O and S. Gopiprasad, 3i Network Oxford University Press, New Delhi.
Itanna, F. (2002). Metals in Leafy Vegetables Grown in Addis Ababa and Toxicological Implications. Ethiopian. Journal. of Health Development, 16(3):295-302.  

Iyo, T. S. (2015). Assessment on Customer’s Accessibility and Satisfaction on Quality Water Supply: The Case of Magugu Water Supply Authority. Unpublished Master’s Thesis, Mzumbe University

Jaccobsen, M. Webster, M., and Vairavamoorthy, K. (2013, Eds.). The future of water in African cities: Why waste water? The World Bank: Washington DC. Available at: www.worldbank.org.
Jafar, A. A., Loganathan, K., and Ananthakrishnan, S. (2013). A Comparative Evaluation of Groundwater Suitability for Drinking and Irrigation Purposes in Pugalur Area, Karu District, Tamilanadu, India. Achieves of Applied Sciences Research, 5(1):213-223. Available at: www.scholarsresearchlibrary.com.
Jägerskog, A., Clausen, T. J., Holmgren, T. and Lexén, K. (2015, Eds.). Water for Development – Charting a Water Wise Path. Report No 35. SIWI, Stockholm.
Jayawardena, A. W. (2014). Challenges for Sustainable Water Management. Journal of Japan Society of Hydrology and Water Resources, 27(1):12-16.

Johnson, R. and Scherer, T. (2010). Drinking Water Quality: Testing and Interpreting Your Results.

Johnson, R., Scherer, T. (2012). Drinking Water Quality: Testing and Interpreting Your Results. Water Quality- 1341 

Jones, N., Evangelinos, K., Gaganis, P. and Polyzou, E. (2010). Citizen’s Perceptions on Water Conservation Policies and the role of Social Capital. Water Resources Management, 25: 509-522.

Jorgensen, B., Graymore, M. and O'Toole, K. (2009). Household Water Use Behavior: An Integrated Model. Journal of Environmental Management, 91: 227-236.

Kallis, G. and Cocossis, H. (2003): Managing Water for Athens: From the Hydraulic to the Rational Growth Paradigms. European Planning Studies, 11: 245-261.

Kallis, G., and Coccossis, H. (2002). Managing Water for Athens: From the Hydraulic to the National Growth Paradigm. Discussion Paper Series, 8 (11): 263-286.

Kaplan, R. S. (2005). How the Balanced Score Card Complements the Mckinsey 7-S Model? Strategy and Leadership, 33(3): 41- 46.

Kassa, L., Zeleke, G., Alemu, D., Hagos, F., and Heinimann, A. (2011). Impact of Urbanization of Addis Abeba City on Peri-Urban Environment and Livelihoods. 

Kassahun, S and Tiwari, A. (2012). Urban Development in Ethiopia: Challenges and Policy Responses. Author’s Copy 

Keiningham, T. L., Cooil, B., Aksoy, L., Andreassen, T. W. and Weiner, J. (2007). The Value of Different Customer Satisfaction and Loyalty Metrics in Predicting Customer Retention, recommendation, and share-of-wallet. Managing Service Quality: An International Journal, 17(4): 361-384.
Keivani, R. (2010). A Review of the main challenges to urban sustainability.  International Journal of Urban Sustainable Development, 1(1-2): 5-16, doi: 10.1080/ 19463131003704213.  Available at: http://dx.doi.org/10.1080/19463131003704213
Kerneis, A., Nakache F., Dequin, A. and Feinberg, M. (1995). The Effects of Water Residence Time on the Biological Quality in a Distribution Network. Water Research, 29: 1719–1727.

Khatri, K. B., and Vairavamoorthy, K. (2007). Challenges for urban water supply and sanitation in the developing countries. Discussion Draft Paper for the session on Urbanization, Delft: The Netherlands

Kifle, B. (2002). Urban Heat Island and its Temperature in Addis Ababa (Case Study). National Metrological Services Agency, Addis Ababa, Ethiopia: 1-6 

Kiparsky, M., Sedlak, D.L, Thompson, B. H. Jr and Truffer, B. (2013). The Innovation Deficit in Urban Water: The Need for an Integrated Perspective on Institutions, Organizations, and Technology. Environmental Engineering Science, 30 (8): 395-408, doi: 10.1089/ees. 2012.0427

Kombe, W., Limbumba, T.M., Mkupasi, M. J., Abebe, K., and Workalemahu, L. (2015). City level institutional comparisons of landscape-based store water Management in Dar se Salaam and Addis Ababa Cities. Water Resilient Cities in Africa

Kummu, M., J Ward, P., de Moel, H., and Varis, O. (2010). Is Physical Water Scarcity a new Phenomenon? Global Assessment of Water Shortage Over the Last two Millenia. Environmental Research Letters, 5:034006, doi: 10.1088/1748-9326/5/3/034006 

Laín, M. M. (2008). Drought and Climate Change Impacts on Water Resources: Management Alternatives. Unpublished PhD Thesis. Universidad Politécnica de Madrid. Spain.
Larson, K, Gustafson, A., and Hirt, P. (2009). Insatiable Thirst and a Finite Supply: An Assessment of Municipal Water- Conservation Policy in Greater Phoenix, Arizona, 1980-2007. Journal of Policy History, 21 (2): 107–137

Larson, K. L., White, D. D., Gober, P., and Wutich, A. (2015). Decision-Making Under Uncertainty for Water Sustainability and Urban Climate Change Adaptation. Sustainability, 7: 14761-14784, doi: 10.3390/su 71114761. Available online at: www.www.mdpi.com/journal/sustainability.
Larson, K., White, D., Gober, P., Harlan, S., and Wutich, A. (2009). Divergent Perspectives on Water Resource Sustainability in a Public–policy–science Context. Environmental Science & Policy, 12 (7): 1012–1023

Lazo, J. K, Morss. R. E., Demuth, J. L. (2009). 300 Billion Served: sources, perceptions, uses, and values of weather forecasts. Bulletin of the American Meteorological Society, 90 (6): 785–798.

Lee, E. J., and Schwab, K. J. (2005). Deficiencies in Drinking Water Distribution Systems in Developing Countries. Journal of Water and Health, 3(2): 109-127.

Leenheer, J. A. (2004). Comprehensive assessment of precursors, diagenesis, and reactivity to water treatment of dissolved and colloidal organic matter. Water Science and Technology: Water Supply, 4(4), 1-9

Levin, R. B., Epstein, P.R., Ford, T. E, Winston, H., Olson, E., and Reichard, E.G. (2002). U.S. drinking water challenges in the twenty-ﬁrst century. Environmental. Health Perspectives. 110: 43–52.

Lévite, H., Sally, H., and Cour, J. (2003). Testing water demand management scenarios in a Water stressed basin in South Africa: Application of the WEAP model. Physics and Chemistry of the Earth, Parts A/B/C, 28(20): 779-786

Liemberger, R., and Farley, M. (2004). Developing a non-revenue Water Reduction Strategy, Paper Presented at the International Water Demand Management Conference, May 30-3 June 2004, Dead Sea, Jord
Liu, G., Zhang, Y., Knibbe, W., Feng, C., Liu, W., Medema, G., and Van der Meer, W. (2017). Potential Impacts of Changing Supply-Water Quality on Drinking Water Distribution: A Review. Water Research, 116: 135-148

Loucks, D. P., and Van Beek, E. (2017). Water Resource Systems Planning and Management: An Introduction to Methods, Models, and Applications. Springer.

Loucks, D., and Van Beek, E. (2005). Water Resources System, Planning and Management. UNISCO Publishing, Italy.

MacAdam, J., and Parsons, S. A. (2004). Calcium carbonate scale formation and control. R/eviews in Environmental Science and Bio/Technology, 3(2): 159-169

Macro, K. (2006). Managing Urban Futures: Sustainability and Urban Growth in Developing Countries, 2nd edn. Federal Institute of Technology, Zurich.

Madlener, R., and Sunak, Y. (2011). Impacts of Urbanization on Urban Structures and Energy Demand: What can we Learn for Urban Energy Planning and Urbanization Management? Sustainable Cities and Society, 1(1): 45-53.
Mahiteme, Y. (2007). Carrying the Burden of Long-term Ineffective Urban Planning, An Overview of Addis Ababa’s Successive Master Plans and their Implications on the Growth of the City, Working paper on Population and Land Use Change in Central Ethiopia, no.7, Acta Geographica, NTNU.

Malmqvist, B., and Rundle, S. (2002). Threats to the Running Water Ecosystems of the World. Environmental conservation, 29 (02): 134-153

Marobhe, N, J, M. (2008).  Water Supply in Tanzania and Performance of Local Plant Materials in Purification of Turbid water. TRIA-LWR PhD Dissertation, Royal Institute of Technology (KTH), Department of Land and Water Resource Engineering 

Mason, N. (2009). Access for the Poor and Excluded: Tariffs and Subsidies for Urban Water Supply. Discussion Paper, Water Aid.

Mason, N., MacDonald, A., Mtisi, S., Haylamicheal, I. D., and Abebe, H. (2013). Sustainability of water services in Ethiopia.

McCaffrey, S. (1992). A Human Right to Water: Domestic and International Implications. Georgetown International Environmental Law Review, 5(1): 1–24.

McCartney, M. P., Girma, M. M. (2012). Evaluating the Downstream Implications of Planned Water Resource Development in the Ethiopian portion of the Blue Nile River. Water International, 37(4): 362-379, DOI: 10.1080/02508060.2012.706384

McCartney, M., Ibrahim, Y. A.; Sileshi, Y.; Awulachew, S. B. (2009). Application of the Water Evaluation and Planning (WEAP) Model to simulate current and future water demand in the Blue Nile.
McDaniels, T. L., Axelrod, L.J., and Cavanagh, N. (1998). Public perceptions regarding water quality and attitudes toward water conservation in the lower Fraser Basin. Water Resource Research, 34:1299–1306 

McDonald, R., Weber, K., Padowski, J., Flo¨rke, M., Schneider, C., Green, P.A., Gleeson, T. SEckman, S., Lehner, B., Balk, D., Boucher, T., Grill, G., and Montgomery, M. (2014). Water on an Urban Planet: Urbanization and the Reach of Urban Water Infrastructure. Global Environmental Change, 27: 96–105

McIntosh, A. C. (2003). Asian Water Supplies Reaching the Urban Poor. Publication Stock No. 070101. Asian Development Bank and International Water Association, Chiang Mai. Available at: www.adb.org/Documents/Books/Asian -Water Supplies.

Mckenzie, R. S., and Wegelin, W. (2009). Challenges Facing the Implementation of Water Demand Management initiatives in Gauteng province. Water Science, technology, engineering and policy,35(2):168-174. Available at: www.wrc.org.za
Means, E.G. (2002). Drinking water quality in the new millennium: the risk of underestimating public perception. Journal of American Water Works Association, 94:28

Mehrotra, S., Vandermoortele, J. and Delamonica, E (2000), Basic Services for All? Public Spending and the Social Dimensions of Poverty. Innocenti Publications, Florence: UNICEF Innocenti Research Centre

Meinzen-Dick, R., and Jackson, L. A. (1996). Multiple uses, Multiple users of Water Resources. International Food Policy Research Institute, 1200 17th St, NW: Washington DC 20036-3006

Melaku, S., Wondimu, T., Dams, R., and Moens, L. (2007). Pollution Status of Tinishu Akaki River and its Tributaries (Ethiopia) Evaluated Using Physico-Chemical Parameters, Major ions, and Nutrients. Bulletin of the chemical society of Ethiopia, 21(1).
Montibeller, G., and Franco, A. (2010). Chapter 2: Multi-Criteria Decision Analysis for Strategic Decision Making. Handbook of Multicriteria Analysis, Applied Optimization. Available at: www.springer.com/978-3-540-92827-0.

MoWIE (2013). Federal Democratic Republic of Ethiopia: One WASH National Peogramme- A multisectoral SWAP programme Augut 2013, Ministry of Water, Irrigation and Energy, Addis Ababa, Ethiopia

MoWIE (2015). Second Growth and Transformation National Plan for the Water Supply and Sanitation Sub-Sector (2015/16-2019/20). Federal Democratic Republic of Ethiopia Ministry of Water, Irrigation and Energy, Addis Ababa, Ethiopia

MoWIE (2017). Urban Water Supply and Sanitation Project Phase II Environmnetal and Social Management Framework Fnal.  Federal Demorcatic Republic of Ethiopia Ministry of Water, Irrigation, and Electricty, Addis Ababa, Ethiopia

MoWR (2002) Water Sector Development Program-Project ETH/98/001, Ethiopia, Vol. I, Unpublished Final Executive Summary, June 2002, Ministry of Water Resources, Addis Ababa
MUDHc (2014). National Report on Housing and Sustainable Urban Development. Ministry of Urban Development and Housing Construction 

Mukokoma, M. M. N, and Van Dijk, M.P (2011). An Assessment of the Urban Water Service Delivery Quality Gap in Uganda and Tanzania: Taping the Customer ‘Voice in Water Services. Water Resource Management, 145 (6):349-359, doi: 10.2495/WRM110301.

Mutikanga, H. E., Sharma, S. K., and Vairavamoorthy, K. (2012). Methods and tools for managing losses in water distribution systems. Journal of Water Resources Planning and Management,139 (2): 166-174.
Naik, K. S., and Glickfeld, M. (2015). Water Distribution System Efficiency: An Essential for Los Angeles County Water Retailers? UCLA Water Resources Group, institute of the Environmental and Sustainability, University of California: Los Angeles.

Ndaruzaniiye, V. (2011). Water Security in Ethiopia:  Risks and Vulnerabilities’s Assessment. Issue 2:1-13

Nicolini, M., and Zovatto, L. (2009). Optimal Location and Control of Pressure Reducinssg Valves in Water Networks. Journal of water resources planning and management, 135 (3): 178-187.
Njiru, C., Sansom, K. (2003). Strategic Marketing of Water Services in Developing Countries. Proceedings of the Institution of Civil Engineers.  Municipal Engineer, 56(2): 143-148

Novotny, V. (2010). Footprint tools for Cities of the Future: Moving towards
sustainable urban water use. Water, 21: 14-16
ODI (Overseas Development Institute) (2009, Ed.): Problem Tree Analysis. Successful Communication: Planning Tools. London: Overseas Development Institute

Oki, T and Kanae, S. (2006). Global Hydrological Cycles and World Water Resources. Science, 313: 1068–1072

Oliver, R. L. (1981). Measurement and Evaluation of Satisfaction Processes in Retail Settings. Journal of Retailing, 57 (3): 25–48

Olukanni, D. O., Ebuetse, M. A., and Anake, W. U. (2014). Drinking water quality and sanitation issues: A survey of a semi-urban setting in Nigeria. International Journal of Research in Engineering and Science), 2(11), 58-65 

Ong, H. T., and Salle, D. L. (2014). The Application of Decision Support Systems (DSS) Among the Top Corporations in Metro Manila and Its Perceived Advantages. Review of Integrative Business & Economics Research, 3(2): 169-178. Available at: www.sibresearch.org.

ORAAMP (2001). Land Use and City Structure Studies of Addis Ababa and the Metropolitan Areas. Office for the Revision of the Addis Ababa Master Plan: Addis Ababa, Ethiopia

ORAAMP (2002). Addis Ababa in action: Progress through Partnership City Development Plan 2001-2010 Executive Summary. Addis Ababa: Office for the Revision of the Addis Ababa Master Plan

Osborn, D., Cutter, A., and Ullah, F. (2015). Universal Sustainable Development Goals: Understanding the Transformational Challenges for Developed Countries. Report of a Study by Stakeholder Forum.
Oswald, W. E., Hunter, G. C., Kramer, M. R., Leontsini, E., Cabrera, L., Lescano, A. G., and Gilman, R. H. (2014). Provision of private, Piped Water and Sewerage Connections and Directly Observed Handwashing of Mothers in a Peri‐urban Community of Lima, Peru.Tropical medicine and international health,19(4): 388-397
Padowski, J. C., and Jawitz, J. W. (2012), Water availability and vulnerability of 225 large cities in the United States. Water Resources. Research, 48, W12529, doi: 10.1029/2012WR012335.

Pah, J. J. S. (2007). Causes and Solutions to the lack of Water Supply in Indonesian Urban. Department of civil Engineering, Faculty of Science and Engineering, Nusa Cen Dana University.

Patt, A. G, Schroter, D. (2008) Perceptions of climate risk in Mozambique: implications for the success of adaptation strategies. Glob Environ Change Hum Policy Dimens 18:458–467

Petrescu, D.C. (2013). Consumers’ Perceptions on Urban Water services and Connections to Sustainable Water. International Journal of the Bioflux Society, 6 (2):105-110

Philip, R., Anton, B., and Van der Steen, P. (2011). SWITCH training kit. Integrated Urban Water Management in the city of the Future. Module 1. Strategic planning, ICLEI, Freiburg. http://www.switchtraining.eu/.

Pories, L. (2016). Income-enabling, Not Consumptive: Association of Household Socio-economic Conditions with Safe Water and Sanitation. Aquatic Procedia, 6: 74-86.  Also available online at: www.sciencedirect.com.

Psomas, A., Panagopoulos, Y., Konsta, D., and Mimikou, M. (2016). Designing Water Efficient Measures in a Catchment in Greece using WEAP and SWAT Models. Procedia Engineering, 162:269-276. Available at:  www.scinecedirect.com.

Puttaswamaiah, S. (2005). Drinking Water Supply: Environmental Problems, Causes, Impacts and Remedies-Experiences from Karnataka.  Paper presented in the Drinking Water Session of the IWMI the IWMI –TATA 4th Annual Partners Meet, held February 24-26, 2005 at Anad Gujrat

Qiang, H., Li, H., and Jun, Z. (2008). Applications of Sustainable water systems- The Demonstration in Chengdu (China), paper presented at the 3rd SWITCH Scientific meeting held at Belo Horizonte, Brazil during 30 Nov-Dec 2008
Read (2014). Commuter Adjusted Daytime Population on Oahu: Statistics Brief, December 2014. Research & Economic Analysis Division, Department of Economics Development and tourism.

Riepl, D. (2013). Knowledge-Based Decision Support for Integrated Water Resources Management with an application for Wadi Shueib, Jordan. Unpublished PhD Dissertation, Fakultät für Bauingenieur-, Geo- und Umweltwissenschaften, Karlsruher Institut für Technologie (KIT), KIT Scientific Publishing, Karlsruhe, Germany. 

Rodriguez-Sanchez, C, and Sarabia-Sanchez, F. J. (2016). Perceived risk of Urban Water Consumption: Scale Development, Validation and Characterization in Spain. Urban Water Journal.: 1–7.

Rondi, L., Sorlini, S., and Collivignarelli, M. C. (2015). Sustainability of Water Safety Plans Developed in Sub-Saharan Africa. Sustainability,7(8): 11139-11159.

Roudi-Fahimi, F., Creel, L. and De Souza, R.M. (2002). Finding the balance: Population and water scarcity in the Middle East and North Africa. Population Reference Bureau Policy Brief: 1-8.

Rousdy, R., Sieverding, M., and Radwan, H. (2012). The Impact of Water Supply and Sanitation on Child Health: Evidence from Egypt. Poverty, Gender and Youth Working paper, No. 24: New York. Available at: www.popcouncil.org
Russell, H. H., Jackson, R. J., Spath, D. P., and Book, S. A. (1987). Chemical contamination of California drinking water. Western Journal of Medicine, 147(5): 615-615
Saghi, H. and Aval, A. A. (2015). Effective Factors in Causing Leakage in Water Supply Systems and Urban Water Distribution Networks. American Journal of Civil Engineering, 3(2-2): 60-63.

Sahilu, G. (2017). Urbanization and water Management Issues in Ethiopia Based on case Study of Addis Ababa. Discussion paper presented for the discussion held at Kigali, Rwanda on September 27, 2017.

SEI (Stockholm Environment Institute) (2011). WEAP Water Evaluation and Planning System: User Guide for WEAP21. Stockholm Environment Institute, Boston.

Sharma, S. K., and Bereket, B (2008). Water supply Systems in Selected Urban poor areas of Addis Ababa, Ethiopia. Reviewed Paper Presented at the 33rd WEDC International Conference held in Accra, Ghana.

Sheat A. (1992). Public Perception of Drinking Water Quality. Should we care? Paper presented at the New Zealand Water Supply and Disposal Association Annual Conference. Cited in Syme and Williams (1993). Slovic, P. (2000). The Perception of Risk. Earthscan, London

Shitie, A. (2011). Status of Water Quality during the Dry Season in Addis Ababa Water System. Unpublished Master’s Thesis, Department of Environmental Sciences, Addis Ababa University, Addis Ababa, Ethiopia. 

Shofiani, N.E. (2003). Reconstruction of Indonesia’s Drinking Water Utilities Assessment and Stakeholder’s Perspectives of private Sector Participation in the Capital Province of Jakarta. TIRTA- LWR Unpublished Master’s Thesis, Department of Land and Water Resources Engineering Royal Institute of Technology, Stockholm. Available at: www.lwr.kth.se/publiktioner/PDF_Files/LWR_Ex_03_30.PDF.

Shrama, S. K., and Bereket, B. W. (2008). Water Supply Systems in Selected Urban Poor Areas of Addis Ababa, Ethiopia. Paper presented at the 33rd WEDC International conference on Access to Sanitation and Safe Water: Global Partnerships and Local Implications held at Accra, Ghana

Shumet, A.G., and Mengistu, K. T. (2016). Assessing the Impact of Existing and Future Water Demand on Economic and Environmental Aspects (Case study from Rift Valley Lake Basin: Meki-Ziway Sub Basin), Ethiopia. International Journal of Water Resources, 6 (2): 1-14.  Also available online at: http://dx.doi.org/10.4172/252-5211.1000223
Sieber, J., and Purkey, D. (2015). WEAP-Water Evaluation And Planning System: User Guide for WEAP 2015.  Stockholm Environment Institute, US Center, Somerville: USA

Sieber, J., Swartz, C., and Huber-Lee, A. (2005). WEAP: Water Evaluation And Planning System User Guide for WEAP21. Stockholm Environment Institute 

Simms, G. And de Loë, R. C. (2010). Challenges for Water Governance in Canada: A Discussion Paper. Governance for Source Water Protection in Canada Report No. 2. Waterloo, On Water Policy and Governance Group. Journal of Engineering and Technology Research, 3. 

Šliužas, R. V. (2004). Managing informal settlements: A study using geo-information in Dares Salaam, Tanzania.

Sohail, K., Cavill, S., and Cotton, A.P. (2005). Sustainable Operation and Maintenance of Urban Infrastructure: Myth or Reality? Journal of Urban Planning and Development, 13 (1): 39-49

Solo, T. M., Perez, E., and Joyce, S. (1993). Constraints in providing water and Sanitation Services to the Urban Poor. WASH Technical Paper No. 85.

Sörme, L and Lagerkvist, R. (2002). Sources of heavy metals in urban wastewater in Stockholm. The Science of the Total Environment, 298: 131-145

Steen, P. V. (2006). Sustainable Water Management in the City of the Future. SWITCH

Sterman, J. (2000). Business Dynamics: Systems Thinking and Modeling for a Complex World, McGraw-Hill, Boston. 

Swyngedouw, E., Kaika, M., Castro, E. (2002). Urban water: A political ecology perspective. Built Environment, 28 (2): 124–137.

Tadesse, M. (2009): Spatial Metrics and Landsat Data for Urban Land Use Change Detection in Addis Ababa, Ethiopia. Dissertation Submitted in Partial Fulfillment for The Requirement of the Degree of Master of Science in Geospatial Technologies in The Department of Information Systems, Universitat Jaume I, Castellon, Spain.

TAHAL (2005). Addis Ababa Water Supply Project – Stage IIIA, Completion of Detail Design and Preparation of Tender Documents, Distribution and Transfer Networks (DTN). TAHAL Consulting Engineers Ltd.

Tegegne, A., Tadesse, M., Alemayehu, M., Woltedji, D., and Sileshi, Z. (2015). Scoping Study on Urban and Peri Urban Livestock production in Addis Ababa, Ethiopia. 

Tegenu, T. (2010). Urbanization in Ethiopia: Study on Growth, Patterns, Functions, and Alternative Policy Strategy. Unpublished Master’s Thesis, Stockholm University: Stockholm.

Tesfazghi, E. S., Martinez, J.A., and Verplanke, J. J. (2010). Variability of Quality of Life at Small Scales: Addis Ababa Kirkos Sub City. Social Indicators Research, 98: 73-88, Doi: 10.1007/s1205-009-9518-6

Tokajian, S. and Hashwa, F. (2003). Water quality problems associated with intermittent water supply. Water Science and Technology, 47(3): 229-234

Trevett, A. F., Carter, R. C., and Tyrrel, S. F. (2005). The Importance of Domestic Water Quality Management in the context of Faecal–oral Disease Transmission. Journal of Water and Health, 3(3): 259-270

Tsegaye, A. (2014). Assessing GroundwaterQuality of Addis Ababa City by Using Geographical Information System. Unpublished Master’s Thesis. Addis Ababa University, College of Social Sciences, Department of Geography and Environmental Studies. 

Tsegaye, S., Eckart, J. and Vairavamoorthy, K. (2012). Urban Water Management in Cities of the Future - Emerging Areas in Developing Countries. In J. Lundqvist (Ed.) On the water front - selections from the 2011 World Water Week in Stockholm (pp. 42-48). Stockholm: SIWI.
UN (2006). Coping with water scarcity: A strategic issue and priority for system-wide action. United Nations - Water Thematic Initiatives. www.unwater.org.

UN (2008). United Nations Population Prospects. The 2007 Revision Population Database. United Nations. Available online at: http://esa.un.org/unup/index.asp?panel=1

UN (2014). World Urbanization Prospects: The 2014 Revision, Highlights (ST/ESA/SER.A/352). United Nations, Department of Economic and Social Affairs, Population Division (2014)

UN (2015). Millennium Development Goals and Beyond 2015, Goal 7: Ensure Developmental Sustainability. Available at: www.un.org/millennium goals/environ.shtml
UN Water (2008). The United Nations World Water Development Report3: Water in a Changing World.

UNCED (1992). The Dublin Statement on water and sustainable development. Rio de Janeiro: United Nations Conference on Environment and Development (UNCED). Principle No. 4. Available at: http://www.wmo.int/pages/prog/hwrp/documents/english/icwedece.html.
UNDP (2000): Sustainable Development Goals. United Nations Development Program.
UNDP (2001). World Urbanization Prospects: The 1999 Revision. Key Findings. United Nations Population Division. Available at: http://www.un.org/esa/population/pubsarchive/urbanization/urbanization.pdf
UNDP (2006). Human Development Report 2006: Beyond Scarcity: Power, Poverty and the Global Water Crisis. United Nations Development Programme, Basingstoke and New York, Palgrave Macmillan. Available at: http://hdr.undp.org/en/content/human-development-report-2006 (Accessed 3 June 2015)
UNDP (2012). One Planet to Share: Sustaining Human Progress in a Changing Climate. Asia-Pacific Human Development Report. New Delhi: Routledge. Note: Mega cities are defined as having over 10 million people

UNDP (2013). Sustainable Urbanization and Poverty Reduction: A Strategy Paper for Asia and the Pacific. Bangkok: UNDP APRC

UNEP (2012). Global Environmental Outlook 5, Chapter 4; Water. United Nations Environmental Programme. Available at:  http://www.unep.org/ geo/pdfs/geo5/GEO5_report_C4.pdf 
UNEP (2013). Africa Environmental Outlook—third edition. United Nations Environment Programme.

UNEP/IETC (UnitedNationsEnvironmentProgramme/InternationalEnvironmentalTechnology Centre). (1998). Sourcebook of alternative technologies for freshwater augmentation in Africa. UNEP, Nairobi, Kenya

UNEP/UNESCO (2005). Early warning Bulletin No. 4 on surface and Groundwaterquality, Addis Ababa, Ethiopia. Summarized Bulletin, Department of Earth Science: Addis Ababa University. 

UNESCO (2015). Water for A Sustainable World: The United Nations World Water Development Report 2015. United Nations Educational, Scientific and Cultural Organization.

UNF-DPAC (2015). Water and Sustainable Development.  Information Brief 1:1-6

UN-HABITAT (2006). Options for small urban centers in developing countries (or nearly a third of the world’s population).

UN-HABITAT (2007). Global Reports on Human Settlements 2007: Enhancing Urban Safety and Security. United Nations Human Settlements Programme, Nairobi

UN-HABITAT (2009). Planning Sustainable Cities: Global Report on Human Settlements 2009. United Nations Human Settlements Programme, Nairobi and Earthscan, London.

UN-HABITAT (2010). The State of African Cities 2010: Governance, Inequality and Urban land markets, Nairobi, UN-Habitat

UN-HABITAT (2011). State of the World’s Cities 2010/2011 – Cities for All: Bridging the Urban Divide. United Nations Human Settlements Programme (UN-HABITAT)/ Earthscan. Available at: http://www.unhabitat.org/pmss/listItemDetails.aspx?publicationID=2917)

UN-HABITAT (2017). The State of Addis Ababa 2017. The Addis Ababa we want. United Nations Human Settlements Programme(UN-HABITAT): Nairobi, Kenya

UNICEF and WHO (2015). 25 years Progress on Sanitation and Drinking Water: 2015 Update and MDG Assessment. UNICEF and World Health Organization, United States of America.

UNICEF and WSP (2015). Water Supply and Sanitation in Ethiopia: Turning Finance into Services for 2015 and Beyond. Water and Sanitation Program. 

Uttara, S., Bhuvanddras, N., and Aggarwal, V. (2012). Impacts of Urbanization on Environment. International Journal of Research in Engineering and Applied Sciences, 2(2): 1637-1649. Also available online at: www.euroasiapub.org.

V¨or¨osmarty, C. J, Green P, Salisbury J and Lammers, R. B. (2000). Global Water Resources: Vulnerability from Climate Change and Population Growth.  Science, 289 :284–288

Van den Berg, C. (2014). The Drivers of Non -Revenue Water: How effective Are Non-Revenue Water Reduction programs? World Bank Group, Water Global Practice Group. Policy Research Working Paper 6997.

Van Loon, A., and Droogers, P. (2006). Water Evaluation And Planning System. Kitui, Kenya

Van Rooijen, D. J., Biggs, T. W., Smout, I., and Drechsel, P. (2010). Urban growth, wastewater production and use in irrigated agriculture: A comparative study of Accra, Addis Ababa and Hyderabad. Irrigation and Drainage Systems, 24(1-2): 53-64.

Vasquez, W. F (2012). Reliability Perceptions and Water Storage Expenditure: Evidence from Nicaragua.  Water Resources research, 48, W10547, doi: 10.1029/2011WR011024.

Wanger, I., Marsalek, J., and Breil., P. (2002). Aquatic Habitats in Sustainable Urban Water Management: Science Policy and practice, The United Nations Educational, Scientific and Cultural Organization, Paris: France.
Water Aid (2011). Report - People’s perception on sanitation: Findings from Nepal.Water Management Institute

WBG (World Bank Group) (2015). Addis Ababa, Ethiopia: Enhancing Urban Resilience. Global Practice on Social, Urban, Rural, and Resilience: The World Bank Group, Washington, DC.

WEF (World Economic Forum) (2014). The Future Availability of Natural Resources: A New Paradigm for Global Resource Availability. World Economic Forum.

Whitler, J. Y. and Warner, J. (2014). Integrated Urban Water Management for Planners. Water Resources Foundation, American Planning Association (APA)

WHO (2004). Guidelines for Drinking-water Quality, World Health Organization, Geneva. 

WHO (2005). Rapid Assessment of Drinking water quality. A Handbook for Implementation. World Health Organization, UNICEF: Paris, France.

WHO (2015). Progress on Sanitation and Drinking Water: 2015 Update and MDG Assessment. World Health Organization.

WHO and UNICEF (2008). A Snapshot Assessment of Drinking Water in Africa: A Regional Perspective Based on New Data for Water Supply and Sanitation. UNICEF and World Health Organization: Cairo, Egypt.

WHO.UNICEF(2015). Key Facts from JMP 2015 Report. World Health Organization.

Wildrick, J. T., Kuhn, K. W., and Kerns, W. R. (1976). Urban water runoff and water quality control. A publication of Virginia Water Resources Research Center 617 North Main Street, Blacksburg, Virginia: 24011

Williams, M., and Suh, B. (1986). The Demand for Urban Water by Customer Class. Applied Economics, 18 (12): 1275-1289.

Williams, R.A. (2000). Environmental Planning for Sustainable Urban Development. Paper presented for Caribbean Water and Wastewater Association at the 9th Annual Congruence and Exhibition held at Chaguaramas, Trinidad during 2-6 October 2000.
World Bank (2005). Integrating Environmental Considerations in Policy Formulation: Lessons from Policy-Based SEA Experience. Environment Department Report 32783. Washington, DC: World Bank.

World Bank (2012). Integrated Urban Water Resources Management -Lessons and Recommendations from Regional Experiences in Latin America, Asia and Africa. The World Bank, Water Partnership program, Washington DC 20433 U.S.A.

WSP (Water and Sanitation Program) (2003). 24 Hours Water Supply; Is this Goal Achievable? Paper presented at the Fifth Meeting of the Urban Think Tank during Sept. 23-24, 2003 held at Hyderabad, India, Water and Sanitation Program

WSUP (2013). Getting to Scale in Urban Water Supply. Topic Brief, 012:1-22. Water and Sanitation for the Urban Poor.

WWC (The World Water Council) (WWC, 2015). Water fit to Finance? catalyzing National Growth Through Investment in Water Security. Report of the High-level panel on Financing Infrastructure for a water secure world

Yang, C. Y., Cheng, M. F., Tsai, S. S., and Hsieh, Y. L. (1998). Calcium, magnesium, and nitrate in drinking water and gastric cancer mortality. Cancer Science, 89(2): 124-130

Yang, H., Reichert, P., Abbaspour, K., and Zehnder, A. J. B. (2003). A Water Resources Threshold and its Implications for Food Security. Environmental Science and Technology, 37: 3048-3054.

Yates, D., Sieber, J., Purkey, D., Huber-Lee, A. (2005). WEAP21- A Demand-Priority, and Reference-Driven Water Planning Model, Part 1: Model Characteristics. Water International, 30: 487-500

Yin, R. K. (2011, 3rd Ed.). Applications of Case-Study Research London: Sage.

Zhao, Y. and Wang, S. (2015). The Relationship between Urbanization, Economic Growth and Energy Consumption in China: An Econometric Perspective Analysis. Sustainability, 7: 5609-5627; Doi: 10.3390/su 7055609. Also available online at: www.mdpi.com/journal/sustainability
Appendices

Appendix A: Details of the materials and methods section 

Appendix A-1: Number of weredas and kebeles of the ten sub cities

	Sub city 
	Kebele (#)
	Wereda (#)
	Area (Ha)
	% (area)

	Addis Ababa city 
	190
	116
	51949.89
	100

	Addis Ketema
	21
	10
	663.86
	1.66

	Akaki Kality
	19
	11
	12400.71
	23.87

	Arada
	16
	10
	949.85
	1.83

	Bole
	22
	14
	11849.49
	22.81

	Gulele
	21
	10
	3119.1
	6

	Kirkos
	19
	11
	1464.76
	2.82

	Kolfe
	16
	15
	6348.09
	12.22

	Lideta
	17
	10
	918.28
	1.77

	Nifas Silk Lafto
	18
	12
	8213.11
	15.81

	Yeka
	21
	13
	8213.11
	15.81


                 Source: CGAA (2013)

Appendix A -2:  Climate data collection weather stations in and around Addis Ababa

	Station Name


	Addis 

Ababa Bole
	Observatory


	Addis Alem


	Akaki


	Ayer Tena


	Intoto 


	Kality


	Sebeta


	Sendafa


	Sululta



	Longitude (Deg)
	38.75
	38.748
	38.383
	38.786
	38.696
	38.721
	38.767
	38.63
	39.022
	38.733

	Latitude (Deg)
	9.033
	9.019
	9.042
	8.87
	8.983
	9.084
	8.933
	8.93
	9.152
	9.183

	Elevation(m)
	2354
	2386
	2372
	2057
	2325
	2903
	2186
	2240
	2569
	2610


Source:  NMA (2015)
Appendix A-3:  LTM rainfall depths of the ten sub cities

	Sub City
	Area (km2)
	Minimum Rainfall (mm)
	Max rainfall (mm)
	 Mean Rainfall (mm)

	Addis_Ketema
	7.36
	1087.5
	1087.5
	1087.5

	Akaki- Kality
	124.15
	1001.5
	1045.5
	1023.8

	Arada
	9.46
	1087.5
	1087.5
	1087.5

	Bole
	118.91
	1079.9
	1125.9
	1102.1

	Kirkos
	14.65
	1146.9
	1146.9
	1146.9

	Gulele
	30.98
	1195.6
	1195.6
	1195.6

	Kolfe-keranyo
	62.55
	980.6
	1255.1
	1096.1

	Lideta
	10.85
	1087.5
	1087.5
	1087.5

	Nefas Silk Lafto
	57.89
	1019.1
	1071
	1045

	Yeka
	81.85
	1118.6
	1137.5
	1127.7


Source: Own Interpolation from the nine stations climate record of NMA

Appendix A-4: Summary of water user interview participants

	No.
	Sub city 
	Branch 
	Wereda
	GPS location
	User category
	Name of participant 
	Sex
	House morphology
	Household size

	
	
	
	Woreda
	Latitude
	Longitude
	Elevation
	
	
	
	
	

	1
	Yeka
	Gurd Shola
	11
	481724.49
	998729.49
	 
	Commercial
	Debebe Ejeta Clinic
	F
	Villa
	variable

	2
	yeka
	Megenagna
	5
	477761
	997887
	 
	Domestic
	HaileGiorgis Damitew
	M
	Villa
	7

	3
	Yeka
	Megenagna
	5
	477490
	997813
	2458
	Domestic*
	Asbegiorgis Jembere
	M
	G+1
	Variable

	4
	Bole
	Megenagna
	4
	 
	 
	 
	Commercial
	Eyerusalem Simegn
	F
	G+5
	Variable

	5
	Bole
	Gurd Shola
	6
	 
	 
	 
	Domestic
	Tewabech Tesfa
	F
	Villa
	6

	6
	Bole
	Gurd Shola
	6
	478868.03
	996759.94
	 
	Commercial
	Hizkiyas Dawit
	M
	Villa
	Variable

	8
	Yeka
	Gurd Shola
	13
	485032.35
	999165.02
	 
	Commercial
	Yonas Lemma
	M
	Villa
	8

	9
	Yeka
	Gurd Shola
	12
	482819.9
	997251.66
	 
	Domestic
	Mulatu Damite
	M
	Villa
	8

	10
	Yeka
	Gurd Shola
	12
	484642
	999210
	2555
	Institutional
	Haileleul Dagne
	M
	Villa
	Variable

	11
	Yeka
	Gurd Shola
	12
	483711
	998895
	2505
	Domestic
	Meaza
	F
	Villa
	8

	12
	Yeka
	Gurd Shola
	12
	484358
	999281
	 
	Domestic
	Menerwork Lijalem
	F
	Villa
	3

	13
	Yeka
	Gurd Shola
	9
	480912.57
	998903.87
	 
	Domestic
	Getachew W/Gebriel
	M
	Villa
	10

	14
	Yeka
	Gurd Shola
	10
	479821.91
	999569.87
	 
	Domestic
	G/Mariam Tewolde
	M
	G+2+b
	6

	15
	Yeka
	Gurd Shola
	11
	481871.93
	999142.94
	 
	Domestic
	yeshi kassa
	F
	Villa
	5

	16
	Yeka
	Gurd Shola
	10
	480058.17
	999553.2
	 
	Domestic
	Tsige  Belda
	F
	Villa
	16

	17
	Yeka
	Gurd Shola
	9
	480890.18
	999448.38
	 
	Domestic
	Mekasha Digafe
	M
	Villa
	4

	18
	Yeka
	Gurd Shola
	11
	481508.41
	999079.16
	 
	Domestic
	Addis Zewdu
	M
	Villa
	7

	19
	Yeka
	Gurd Shola
	9
	480265.7
	996477.28
	 
	Institutional
	Tsigereda Tesfaye
	F
	Villa
	Variable

	20
	Bole
	Gurd Shola
	6
	38°45''54'
	9°00''54'
	2293
	Institutional
	Gizachew Yadeta
	M
	G+1
	Variable

	21
	Bole
	Gurd Shola
	6
	37°04''.73374
	993784
	 
	Commercial
	Dawit Tolesa
	M
	G+4+b
	Variable

	22
	Bole
	Gurd Shola
	7
	 
	 
	 
	Institutional
	Getachew Mengistu
	M
	G+4+b
	Variable

	23
	Bole
	Gurd Shola
	7
	480262.89
	996384.58
	 
	Domestic
	Mulunesh Molla
	F
	Villa
	6

	24
	Bole
	Gurd Shola
	10
	 
	 
	 
	Domestic
	Peruz Murad
	F
	Condo
	5

	25
	Bole
	Gurd Shola
	10
	 
	 
	 
	Domestic
	Kanchiwodiya Seyoum
	F
	Condo
	5

	26
	Bole
	Gurd Shola
	10
	 
	 
	 
	Domestic
	Addis Assefa
	F
	Condo
	5

	27
	Bole
	Gurd Shola
	10
	 
	 
	 
	Domestic
	Zenebech Mergia
	F
	Condo
	5

	28
	Bole
	Gurd Shola
	6
	 
	 
	 
	Commercial
	Ababaye Ayana
	M
	Condo
	Variable

	29
	Bole
	Megenagna
	3
	 
	 
	 
	Institutional
	Abera Alemayehu
	M
	G+2+b
	Variable

	30
	Bole
	Megenagna
	4
	 
	 
	 
	Commercial
	Belay Negash
	M
	G+6
	Variable

	31
	Bole
	Megenagna
	4
	476415
	996281
	 
	Institutional
	Mulunesh Darmie
	F
	G+4
	Variable

	32
	Bole
	Megenagna
	4
	 
	 
	 
	Institutional
	Kebede Deresse
	M
	G+7
	Variable

	33
	Bole
	Megenagna
	4
	 
	 
	 
	Domestic
	Asegedech Gemechu
	F
	Villa
	10

	34
	Bole
	Megenagna
	3
	 
	 
	 
	Commercial
	Mathias Desta
	M
	G+8
	Variable

	35
	Bole
	Megenagna
	3
	 
	 
	 
	Commercial
	Muhaba Sherif
	M
	Villa
	Variable

	36
	Akaki Kality
	Nefas Silk
	6
	 
	 
	 
	Domestic
	Nahom W/Mariam
	M
	Villa
	7

	37
	Akaki Kality
	Nefas Silk
	1
	477113
	980481
	 
	Domestic
	Abdulahi Edris
	M
	Villa
	10

	38
	Aka. Kal
	Nefas Silk
	6
	474121
	988712
	2215
	Industrial
	Nebil Abdurahman
	M
	Villa
	Variable

	39
	Aka. Kal
	Akaki
	3
	476638
	980770
	2068
	industrial
	Colonel Tsehay Feleke
	M
	G+1
	Variable

	40
	Aka. Kal
	Akaki
	1
	476755
	980384
	2076
	institutional
	Birhanu Tolera
	M
	Villa
	Variable

	41
	Aka. Kal
	Akaki
	3
	476353.09
	979923.5
	 
	Domestic
	Yasin Hassen
	M
	Villa
	16

	42
	Aka. Kal
	Akaki
	9
	478622
	983625
	2157
	Institutional
	Getawork Belay
	M
	G+4
	Variable

	43
	Aka. Kal
	Akaki
	2
	 
	 
	 
	Domestic
	Etagegnehu Belay
	F
	Villa
	5

	44
	Aka. Kal
	Akaki
	1
	476892
	980081
	2105
	Domestic
	Alemie Bobassa
	F
	Villa
	6

	45
	Aka. Kal
	Akaki
	1
	476687
	981095
	2063
	Institutional
	Legesse Ketema
	M
	G+1
	Variable

	46
	Yeka
	Gurd Shola
	7
	 
	 
	 
	Commercial
	Endale Tafesse
	M
	G+6
	Variable

	47
	Arada
	Ararda
	10
	 
	 
	 
	Domestic
	Reshid Nasir
	M
	Villa
	7

	48
	Kirkos
	Arada
	10
	 
	 
	 
	Commercial
	Selam Dejene
	F
	G+10
	Variable

	49
	Yeka
	Megenagna
	10
	476470
	997191
	2378
	Domestic
	Tiztaye Eshetu
	F
	Villa
	8

	50
	Yeka
	Megenagna
	7
	476290
	997845
	2418
	Institutional
	Sintayehu Anjiso
	M
	G+4
	Variable

	51
	Yeka
	Megenagna
	8
	476127
	996422
	2377
	Domestic
	Tigist Sisay
	F
	Condo
	2

	52
	yeka
	Megenagna
	7
	476146
	997698
	2415
	Domestic
	Haymanot Solomon
	F
	Condo
	2

	53
	Bole
	Gurd Shola
	7
	479968
	994943
	2350
	Institutional
	Hana Simie
	F
	Villa
	variable

	54
	Bole
	Gurd Shola
	10
	480344
	994460
	2356
	Domestic
	Emebet Worku
	F
	G+2+b
	3

	55
	Bole
	Gurd Shola
	8
	483489
	995606
	2367
	Domestic
	Fikirte Assefa
	F
	G+1
	5

	56
	Bole
	Gurd Shola
	7
	476109
	994632
	2365
	Domestic
	Rishan Fiwi
	F
	Villa
	5

	57
	Bole
	Gurd Shola
	7
	480271
	994531
	2321
	Domestic*
	Pawlos Shiferaw
	M
	G+1+b
	variable

	58
	Bole
	Gurd Shola
	9
	481140
	993785
	2332
	Institutional
	Abera Lemma
	M
	G+2+b
	variable

	59
	Bole
	Gurd Shola
	8
	483322
	995234
	2366
	Domestic
	Biruk Tadesse
	M
	G+1
	7

	60
	Bole
	Gurd Shola
	8
	482622
	996829
	2387
	institutional
	Nitsuh Workneh
	F
	Villa
	variable

	61
	Yeka
	Gurd Shola
	11
	482404
	997195
	2393
	Domestic
	Wudie Tadesse
	F
	Condo
	8

	62
	Yeka
	Gurd Shola
	11
	482438
	997239
	2414
	domestic*
	Meron Fekadesilassie
	F
	Condo
	14

	63
	Yeka
	Gurd Shola
	13
	486870
	999988
	2449
	Domestic
	Firehiwot Eshetie
	F
	Condo
	6

	64
	Yeka
	Gurd Shola
	13
	485951
	1000158
	2498
	Domestic
	Aster Tadesse
	F
	Condo
	4

	65
	Yeka
	Gurd Shola
	13
	486873
	999988
	2459
	Domestic
	Urgie Cheru
	F
	Condo
	7

	66
	Add. Ket
	Addis Ketema
	6
	70981.837
	999295.98
	 
	Institutional
	Ameha Berhe
	M
	G+b
	variable

	67
	Add. Ket
	Addis Ketema
	6
	70828.069
	999706
	 
	Institutional
	Netsanet Tesfaye
	M
	G+4
	variable

	68
	Bole
	Gurd Shola
	11
	481454
	993274
	2328
	Domestic
	Firehiwot  Belay
	F
	Villa
	11

	69
	Bole
	Gurd Shola
	13
	478596
	994283
	2343
	Domestic
	Mekides Haile
	F
	Villa
	4

	70
	Bole
	Gurd Shola
	14
	478460
	994657
	2336
	Domestic
	Ahmed Hashim
	M
	Villa
	8

	71
	Bole
	Gurd Shola
	13
	477996
	994718
	2351
	Domestic
	Ashenafi Tesfaye
	M
	G+1
	7

	72
	Kirkos
	Gurd Shola
	2
	 
	 
	 
	Domestic
	Mekides Tadesse
	F
	Villa
	6

	73
	Arada
	Arada
	1
	472639
	997528
	2397
	Commercial
	Eshetu Abebe
	M
	G+12+b
	variable

	74
	Arada
	Arada
	2
	472942
	996801
	2369
	Domestic
	Meymuna Abidela
	F
	Villa
	9

	75
	Gulelele
	Gulele
	3
	473289
	1000334
	2509
	Domestic
	Yoseph Mengistu
	M
	Villa
	8

	76
	Arada
	Gulele
	7
	475132
	998378
	2436
	Domestic
	Etetu Bishaw
	F
	Villa
	4

	77
	Arada
	Gulele
	7
	474783
	998788
	2465
	Domestic
	Sahle Zewdie
	M
	Villa
	25

	78
	Gulelele
	Gulele
	2
	474017
	999680
	2475
	Institutional
	Lemma Yimer
	M
	G+6
	variable

	79
	Gulelele
	Gulele
	1
	473930
	1004718
	2984
	PF
	Ayichew Girma
	M
	Villa
	12

	80
	Gulelele
	Gulele
	2
	473875
	1001735
	2586
	Domestic
	Haymanot Birhanu
	M
	Villa
	18

	81
	Gulelele
	Gulele
	1
	473071
	1003171
	2707
	Domestic
	Yemane Mihretu
	M
	Villa
	5

	82
	Yeka
	Gulele
	2
	477085
	1001288
	2603
	Domestic
	Afework Dereje
	M
	Villa
	13

	83
	Yeka
	Gulele
	3
	475234
	1000871
	2529
	Domestic
	Teshome Mamo
	M
	Villa
	4

	84
	Yeka
	Gulele
	3
	475878
	999199
	2460
	Domestic
	Zewditu Abebe
	F
	Villa
	13

	85
	Yeka
	Gulele
	1
	475192
	1001359
	2538
	Domestic
	Aragie Asmare
	M
	G+1
	15

	86
	Yeka
	Gulele
	3
	476334
	999593
	2485
	Domestic
	Ejigayehu Asbu
	F
	Villa
	8

	87
	Gulelele
	Gulele
	6
	472723
	1002011
	2624
	Commercial
	Aliyou Seid
	M
	Villa
	9

	88
	Yeka
	Gurd Shola
	10
	477816
	1001192
	2611
	PF
	Almaz Alemu
	F
	Villa
	5

	89
	Yeka
	Gulele
	1
	476144
	1002188
	2627
	YC(s)
	Tesfaye Zeleke
	M
	Villa
	15

	90
	Yeka
	Megenagna
	7
	476290
	997850
	2404
	Institutional
	Tezera Moges
	F
	G+4
	variable

	91
	Yeka
	Megenagna
	5
	477018
	998121
	2474
	Domestic
	Wederyelsh Yoseph
	F
	Villa
	10

	92
	Yeka
	Megenagna
	7
	475856
	998065
	2398
	Domestic
	Bekele Gurumu
	M
	Villa
	17

	93
	Yeka
	Megenagna
	5
	475920
	998669
	2428
	Institutional
	Haymanot Akalu
	M
	G+3
	variable

	94
	Yeka
	Megenagna
	4
	475461
	998931
	2424
	Domestic
	Muluemebet Tafesse
	F
	Villa
	17

	95
	Bole
	Megenagna
	12
	476311
	989989
	2278
	Domestic
	Baysa Getu
	M
	G+2+b
	7

	96
	Bole
	Megenagna
	1
	474913
	992392
	2306
	commercial
	Shewalem Girma
	M
	Villa
	variable

	97
	Bole
	Megenagna
	1
	475133
	992994
	2306
	Domestic
	Semira Ayalew
	F
	Villa
	10

	98
	Bole
	Megenagna
	12
	475841
	989141
	2211
	Domestic
	Workinesh Abate
	F
	Villa
	6

	99
	Bole
	Megenagna
	2
	475472
	993704
	2303
	Domestic
	Hikma Getu
	F
	Villa
	5

	100
	Bole
	Megenagna
	2
	475477
	993090
	2337
	Domestic
	Aster Aragie
	F
	Villa
	10

	101
	Aka. Kal
	Akaki
	3
	476057
	979275
	2065
	Domestic
	Siyitie Tirunesh
	F
	muddy
	14

	102
	Aka. Kal
	Akaki
	2
	476200
	978776
	2068
	Domestic
	Almaz Takele
	F
	Villa
	8

	103
	Aka. Kal
	Akaki
	3
	476338
	980195
	2075
	Domestic
	Abenezer Nigussie
	M
	Villa
	14

	104
	Gulelele
	Gulele
	8
	470493
	1001626
	2628
	Domestic
	Akilele G/Michael
	M
	G+3
	3

	105
	Gulelele
	Gulele
	7
	471009
	1002281
	2670
	Domestic
	Alem Gessesse
	F
	Villa
	37

	106
	Gulelele
	Gulele
	7
	471622
	1002067
	2669
	Domestic*
	Bogalech Etissa
	F
	G+2
	variable

	107
	Gulelele
	Gulele
	6
	473245
	1002445
	2642
	Institutional
	Missa Mekunint
	F
	G+5
	variable

	108
	Gulelele
	Gulele
	5
	472553
	1001774
	2595
	Domestic
	Emiyou Tefera
	F
	Villa
	8

	109
	Gulelele
	Gulele
	3
	473646
	1001165
	2559
	Domestic
	Amelework W/Tensay
	F
	Villa
	7

	110
	Yeka
	Megenagna
	8
	477542
	996767
	2374
	commercial
	Senay Zenamarkos
	M
	G+2
	variable

	111
	Kolfe-Ker
	Mekanisa
	9
	468625
	996156
	2341
	Domestic
	Yeshi  Tefera
	F
	Villa
	5

	112
	Kolfe-Ker
	Mekanisa
	9
	468725
	995555
	2338
	Domestic
	Abebech Demisie
	F
	Villa
	5

	113
	Kolfe-Ker
	Mekanisa
	5
	468472
	993849
	2298
	Domestic
	Migbar Wondimu
	F
	Villa
	12

	114
	Lideta
	Addis Ketema
	2
	468643
	997792
	2423
	Domestic
	Ejigayehu Worku
	F
	Villa
	15

	115
	Addis Ketema
	Addis Ketema
	3
	469089
	997675
	2419
	Domestic
	Tekola Abebe
	M
	Villa
	4

	116
	Add.Ket
	Addis Ketema
	3
	469396
	997525
	2429
	Domestic
	Azeb Getachew
	F
	G+3
	4

	117
	Kirkos
	Nefas Silk
	3
	473527
	993334
	2340
	Domestic
	Enanu Zeleul
	F
	Villa
	38

	118
	Kirkos
	Nefas Silk
	3
	474038
	993510
	2338
	Domestic
	Meskel Flower
	F
	G+4
	7

	119
	Kirkos
	Nefas Silk
	2
	474296
	993663
	2337
	Institutional
	Beletu Assefa
	F
	G+3
	variable

	120
	Kirkos
	Nefas Silk
	2
	474956
	993753
	2367
	Institutional
	Birhanu Atomsa
	M
	G+4
	variable

	121
	Kirkos
	Nefas Silk
	2
	474852
	994285
	2403
	Domestic
	Elsabeth Beshah
	F
	G+4
	5

	122
	Kirkos
	Nefas Silk
	1
	474798
	994767
	2342
	Domestic
	Zenebech Wudineh
	F
	Villa
	21

	123
	Kirkos
	Megenagna
	1
	474675
	995751
	2347
	Domestic
	Workinesh Kifle
	F
	Villa
	14

	124
	Yeka
	Arada
	6
	475384
	997489
	2402
	Domestic
	Bethelhem Tilahun
	F
	Villa
	6

	125
	Yeka
	Arada
	6
	474767
	997218
	2390
	Domestic
	Addis Sisay
	M
	Villa
	9

	126
	Arada
	Gulele
	7
	475095
	997767
	2409
	Domestic
	Andargachew Demissie
	M
	Villa
	20

	127
	Arada
	Arada
	8
	474676
	997631
	2394
	Domestic
	Aynalem Bezabih
	F
	Villa
	3

	128
	Arada
	Arada
	8
	474352
	997233
	2411
	Institutional
	Meseret Tadesse
	F
	Villa
	variable

	129
	Kirkos
	Arada
	8
	474823
	996636
	2378
	Domestic
	Chanyalew Tegegn
	M
	Villa
	3

	130
	Kirkos
	Arada
	8
	474172
	997126
	2410
	Domestic
	G/Mariam Yohannis
	M
	Villa
	5

	131
	Kirkos
	Nefas Silk
	2
	474331
	994550
	2369
	Domestic
	Hussien Fereja
	M
	Villa
	7

	132
	Kirkos
	Nefas Silk
	9
	473571
	995528
	2362
	Domestic
	Eartro Abo
	M
	Villa
	5

	133
	Kirkos
	Nefas Silk
	9
	474063
	994793
	2360
	Domestic
	Solomon Demissie
	M
	Villa
	18

	134
	Kirkos
	Nefas Silk
	2
	474414
	994970
	2392
	Institutional
	Mehbuba Adem
	F
	G+6
	variable

	135
	Kirkos
	Nefas Silk
	1
	474648
	995405
	2345
	Institutional
	Beletech Gobere
	F
	Villa
	variable

	136
	Aka.Kal
	Akaki
	8
	475348
	983273
	2172
	Domestic
	Tena Aklile
	F
	G+4
	3

	137
	Aka.Kal
	Akaki
	4
	474551
	982445
	 
	industrial
	Birhanu Gebre
	M
	Villa
	4

	138
	Aka.Kal
	Akaki
	4
	473337
	982237
	2145
	Domestic*
	Mebrat Haile
	F
	Villa
	7

	139
	Aka.Kal
	Akaki
	4
	474405
	981423
	2065
	Domestic
	Zinetu Hassen
	F
	G+4
	6

	140
	Kolfe- Ker
	Addis Ketema
	9
	468177
	996984
	2361
	Institutional
	Afework Gorfu
	M
	Villa
	variable

	141
	Bole
	Megenagna
	3
	476959
	995353
	2354
	Domestic*
	Enguday Munye
	F
	Villa
	variable

	142
	Bole
	Megenagna
	5
	477670
	996066
	2362
	Institutional
	Yabsira Baye
	F
	Villa
	variable

	143
	Bole
	Gurd Shola
	13
	478015
	994714
	2351
	Domestic
	Tsehay Gobena
	F
	G+4
	variable

	144
	Bole
	Megenagna
	5
	477181
	995675
	2337
	Domestic*
	Eden Atrsaw
	F
	Villa
	19

	145
	Add.Ket
	Addis Ketema
	4
	469124
	998687
	2472
	Institutional
	Gezali Mohammed
	M
	G+4+b
	variable

	146
	Gulelele
	Addis Ketema
	9
	470084
	999671
	2511
	Domestic
	Jemila Hussien
	F
	Villa
	10

	147
	Addis Ket
	Addis Ketema
	5
	470420
	999268
	2496
	Bonno
	Maritu Tilahun
	F
	Villa
	5

	148
	Addis Ket
	Addis Ketema
	7
	470480
	998662
	2477
	Domestic
	Anguach Mohammed
	F
	Villa
	5

	149
	Addis Ket
	Addis Ketema
	5
	469575
	999315
	2482
	Commercial
	Getahun Tamene
	M
	G+1
	variable

	150
	Addis Ket
	Addis Ketema
	9
	469505
	998913
	2491
	Domestic
	Amarech G/Mariam
	F
	Villa
	17

	151
	Gulelele
	Arada
	2
	471618
	998845
	2450
	Domestic
	Sadia Ibrahim
	F
	Villa
	8

	152
	Addis Ket
	Addis Ketema
	7
	471311
	998620
	2456
	Institutional
	Nuri Abdusiraj
	M
	Villa
	variable

	153
	Addis Ket
	Arada
	8
	470795
	998388
	2464
	Commercial
	Aynalem Yemane
	M
	Villa
	variable

	154
	Addis Ket
	Arada
	2
	470480
	997788
	2481
	Domestic
	Gizachew Teklu
	M
	Villa
	14

	155
	Addis Ket
	Addis Ketema
	8
	470433
	998077
	2467
	Domestic
	Sindu Nigussie
	F
	Villa
	3

	156
	Addis Ket
	Arada
	1
	471328
	997696
	2443
	Domestic*
	Redwan Mohammed
	M
	Villa
	variable

	157
	Arada
	Arada
	9
	473688
	998216
	2439
	Domestic
	Shibirua G/Kidan
	F
	G+2
	2

	158
	Arada
	Arada
	1
	472368
	998045
	2428
	Institutional
	Kiflu Aklilu
	M
	G+4
	variable

	159
	Aka.Kal
	Akaki
	8
	476314
	982689
	2145
	Domestic
	Tirngo Degefa
	F
	Villa
	12

	160
	Aka.Kal
	Akaki
	8
	476287
	983380
	2148
	Domestic
	Aynaddis Mekonnen
	F
	Villa
	9

	161
	Aka.Kal
	Akaki
	7
	475153
	984229
	2133
	Bonno
	Amina Ahmed
	F
	Villa
	9

	162
	Aka.Kal
	Akaki
	7
	474723
	984959
	2129
	Domestic
	Solome Teka
	F
	G+4
	3

	163
	Aka.Kal
	Akaki
	5
	475679
	985602
	2173
	Commercial
	Filmon W/Gebriel
	M
	Villa
	5

	164
	Aka.Kal
	Akaki
	5
	474581
	986910
	2185
	Bonno
	Alemtsehay Yitbarek
	F
	Villa
	 

	165
	Aka.Kal
	Akaki
	5
	473755
	986563
	2192
	Domestic
	Tsigeowoina Abreha
	F
	Villa
	10

	166
	Arada
	Gulele
	5
	472744
	999580
	2487
	Domestic
	Demekech Mamaru
	F
	Villa
	3

	167
	Lideta
	Arada
	5
	471395
	997001
	2404
	Domestic 
	Mahlet SahleMichael 
	M
	Villa
	55

	168
	Gulelele
	Addis Ketema
	9
	471064
	1000103
	2516
	Commercial
	Amelu Redi
	F
	Villa
	8

	169
	Arada
	Gulele
	4
	471799
	1000372
	2544
	Domestic*
	Tigist Alemu
	F
	Villa
	6

	170
	Arada
	Gulele
	1
	473032
	999248
	2460
	Domestic
	Ayele Feeke
	M
	Villa
	16

	171
	Arada
	Gulele
	6
	473570
	999097
	2471
	Domestic
	Mekedash Banti
	F
	Villa
	4

	172
	Arada
	Gulele
	4
	472304
	1000424
	2547
	Domestic
	Wosen Gebreab
	M
	G+4
	5

	173
	Gulelele
	Gulele
	4
	472721
	999957
	2510
	Domestic
	Zewude Awulachew
	F
	Villa
	4

	174
	Lideta
	Arada
	9
	472458
	996458
	2366
	Commercial
	Temesgen Kuyite
	M
	G+3
	variable

	175
	Lideta
	Arada
	6
	471953
	997020
	2371
	Domestic
	Bizunesh Fersha
	F
	Villa
	7

	176
	Lideta
	Arada
	6
	471614
	997633
	2422
	Domestic
	Workyantifu Mulugeta
	F
	Villa
	5

	177
	Addis Ket
	Arada
	1
	471166
	997506
	2422
	Domestic
	Zehara Mustefa
	F
	Villa
	6

	178
	Lideta
	Arada
	5
	471266
	997434
	2439
	Commercial
	Meliha Bediru
	F
	Villa
	variable

	179
	Lideta
	Arada
	9
	471689
	996753
	2368
	Domestic
	Fasika G/Egiziabher
	F
	Villa
	6

	180
	Lideta
	Arada
	9
	471971
	996036
	2365
	Domestic
	Kirubel Moges
	M
	Villa
	12

	181
	Lideta
	Arada
	8
	471690
	996279
	2350
	Domestic
	Helen Michael
	F
	Villa
	7

	182
	Kirkos
	Mekanisa
	7
	472353
	995818
	2367
	Commercial
	Selamawit Tamiru
	F
	Villa
	variable

	183
	Kirkos
	Mekanisa
	7
	473063
	998929
	2352
	Domestic
	Amina Elias
	F
	Villa
	8

	184
	Kirkos
	Mekanisa
	7
	472838
	996336
	2368
	Domestic
	Almaz Manbegrot
	F
	Villa
	21

	185
	Kirkos
	Mekanisa
	10
	472309
	995495
	2381
	Domestic
	Adanech Yeserah
	F
	G+4
	5

	186
	Kirkos
	Mekanisa
	7
	472948
	995707
	2365
	Domestic
	Mahlet Kiflu
	F
	Villa
	8

	187
	Kirkos
	Mekanisa
	6
	471976
	995525
	2347
	Institutional
	Teshome Dissasa
	M
	Villa
	variable

	188
	Kirkos
	Mekanisa
	6
	471827
	995141
	2329
	Domestic
	Zerihun Kinfe
	M
	Villa
	5

	189
	Kirkos
	Mekanisa
	11
	472657
	995214
	2334
	Commercial
	Tigist Ambaw
	F
	G+3
	variable

	190
	Kirkos
	Mekanisa
	10
	473040
	995438
	2371
	Domestic
	Hirut Temesgen
	F
	G+1
	6

	191
	Addis Ket
	Addis Ketema
	9
	469648
	998759
	2487
	Domestic
	Tilahun Birhanu
	M
	Villa
	7

	192
	Addis Ket
	Addis Ketema
	5
	468751
	999648
	2469
	Commercial
	Abebe Mengistu
	M
	Villa
	12

	193
	Addis Ket
	Addis Ketema
	10
	468415
	999545
	2520
	Domestic
	Fantu Berawork
	F
	Villa
	7

	194
	Addis Ket
	Addis Ketema
	10
	468797
	999108
	2456
	Domestic
	Ayelech Melka
	F
	G+1
	16

	195
	Addis Ket
	Addis Ketema
	10
	468709
	998733
	2448
	Domestic
	Meron Teka
	F
	Villa
	8

	196
	Addis Ket
	Addis Ketema
	4
	469224
	998865
	2445
	Domestic
	Abate Chekol
	M
	Villa
	11

	197
	Addis Ket
	Addis Ketema
	5
	469378
	999924
	2518
	Domestic
	Habitamu Fekadu
	M
	Villa
	5

	198
	Gulelele
	Addis Ketema
	8
	469304
	1000456
	2542
	Commercial
	Birhanu Shibabaw
	M
	Villa
	variable

	199
	Nefas SL 
	Nefas Silk
	1
	470024
	988928
	2241
	Commercial
	Varnero PLC
	M
	G+4
	variable

	200
	Nefas SL
	Nefas Silk
	12
	470814
	988356
	2232
	Commercial
	Zebenay Shiferaw
	F
	G+2+b
	variable

	201
	Nefas SL
	Nefas Silk
	1
	470235
	987375
	2270
	Domestic
	Aster Mengistu
	F
	G+4
	5

	202
	Nefas SL
	Nefas Silk
	1
	470661
	985815
	2236
	Institutional
	Ergana Ebisso
	M
	G+4
	variable

	203
	Kolfe- Ker
	Addis Ketema
	10
	467139
	997189
	2371
	Domestic
	Lemma Ferrsha
	M
	Villa
	30

	204
	Kolfe- Ker
	Addis Ketema
	10
	467754
	998274
	2410
	Domestic
	Mustefa Mohammed
	M
	Villa
	9

	205
	Kolfe- Ker
	Addis Ketema
	11
	467747
	999199
	2446
	Domestic
	Shitaye Nuru
	M
	Villa
	8

	206
	Kolfe- Ker
	Addis Ketema
	12
	468088
	999364
	2484
	Commercial
	Ahmed  Sani
	M
	G+b
	6

	207
	Kolfe- Ker
	Addis Ketema
	12
	468150
	998410
	2433
	Domestic
	Sadia Jemal
	F
	Villa
	9

	208
	Kolfe- Ker
	Addis Ketema
	11
	467620
	998372
	2413
	Domestic
	Zulfa Ahmed
	F
	Villa
	8

	209
	Addis Ket
	Addis Ketema
	10
	468277
	999462
	2485
	Commercial
	Wondwosen Seifu
	M
	Villa
	variable

	210
	Kolfe- Ker
	Addis Ketema
	13
	468019
	1000233
	2509
	Domestic
	Emebet Assefa
	F
	Villa
	8

	211
	Gulele
	Gulele
	9
	470597
	1001267
	2602
	Domestic
	Henock Dessie
	M
	Villa
	10

	212
	Gulele
	Addis Ketema
	10
	469814
	1001797
	2597
	Domestic
	Tigist Adane
	F
	Villa
	22

	213
	Gulele
	Addis Ketema
	10
	469270
	1001984
	2606
	Domestic*
	Meseret Getachew
	F
	Villa
	8

	214
	Gulele
	Addis Ketema
	10
	468952
	1002276
	2602
	Domestic
	Assefa Tadesse
	M
	G+4+b
	20

	215
	Gulele
	Addis Ketema
	10
	468569
	1001162
	2566
	Domestic
	Tewodros Asfaw
	M
	Villa
	3

	216
	Addis Ket
	Addis Ketema
	10
	468403
	1000809
	2546
	Domestic
	Addisalem Demissie
	F
	Villa
	12

	217
	Kolfe- Ker
	Addis Ketema
	13
	468114
	1000436
	2552
	Domestic*
	Koreb Tereda
	M
	Villa
	9

	218
	Arada
	Gulele
	7
	474512
	998453
	2425
	Commercial
	Ansuar Jemal
	M
	Villa
	10

	219
	Nefas SL
	Mekanisa
	1
	468180
	990097
	 
	Domestic*
	Adugna Habitie
	M
	G+1
	variable

	220
	Nefas SL
	Mekanisa
	2
	469186
	991087
	2237
	Institutional
	Dr. Nigatu Zeleke
	M
	G+3
	variable

	221
	Nefas SL
	Mekanisa
	1
	465882
	990066
	2257
	Domestic
	Selamawit Tadesse
	F
	G+4
	2

	222
	Nefas SL
	Mekanisa
	2
	469603
	991753
	2259
	Commercial
	Elias Ahmed
	M
	Villa
	6

	223
	Nefas SL
	Mekanisa
	2
	469184
	992185
	2286
	Institutional
	Let Col. Fekadu Tadesse
	M
	Villa
	variable

	224
	Aka Kal
	Akaki
	7
	474874
	987949
	 
	Domestic
	Mikias kebede
	M
	G+4
	variable

	225
	Nefas SL
	Nefas Silk
	9
	474489
	989872
	2231
	Domestic
	Wagaye Amere
	F
	G+2+b
	5

	226
	Aka Kal
	Akaki
	6
	474614
	988955
	2207
	Domestic
	Birhane Birara
	M
	Villa
	32

	227
	Kolfe- Ker
	Mekanisa
	2
	467687
	992310
	2292
	Commercial
	Kelem Bekele
	F
	Villa
	10

	228
	Nefas SL
	Mekanisa
	1
	467349
	991251
	2298
	Bonno
	Fentanesh Alemu
	F
	Villa
	5

	229
	Kolfe- Ker
	Mekanisa
	2
	466902
	991827
	2335
	Domestic *
	Masresha Mesele
	F
	Villa
	variable

	230
	Nefas SL
	Mekanisa
	3
	466668
	992279
	2311
	Domestic
	Anwar AbaMecha
	M
	Villa
	5

	231
	Kolfe- Ker
	Mekanisa
	1
	466520
	992432
	2298
	Institutional
	Hussien Abdu
	M
	Villa
	variable

	232
	Kolfe- Ker
	Mekanisa
	4
	466266
	992766
	2331
	vendor
	Brdilu Alemu
	M
	Villa
	variable

	233
	Kolfe- Ker
	Mekanisa
	1
	466982
	992706
	2313
	Domestic
	Gebrekirstos Lutu
	M
	Villa
	9

	234
	Kolfe- Ker
	Mekanisa
	6
	468201
	994501
	2317
	Domestic
	Zenebech Worku
	F
	Villa
	15

	235
	Kolfe- Ker
	Mekanisa
	6
	467988
	995051
	2364
	Domestic
	Mulu Dendir
	F
	G+4
	5

	236
	Kolfe- Ker
	Mekanisa
	5
	467775
	993941
	2313
	Domestic *
	Kassahun Deneke
	M
	Villa
	variable

	237
	Kolfe- Ker
	Mekanisa
	5
	467436
	993188
	2316
	Domestic
	Woinitu Eshetu
	F
	Villa
	13

	238
	Kolfe- Ker
	Mekanisa
	1
	467920
	992768
	2311
	Domestic
	Aynalem Demissie
	F
	Villa
	3

	239
	Kolfe- Ker
	Addis Ketema
	7
	466130
	995120
	2501
	Institutional
	Samuel Anteneh
	M
	G+4
	variable

	240
	Kolfe- Ker
	Addis Ketema
	11
	466474
	996226
	2431
	Domestic
	Lieila Nur
	F
	Villa
	9

	241
	Kolfe- Ker
	Addis Ketema
	11
	466757
	999423
	2447
	Domestic
	Yoseph W/Mariam
	M
	Villa
	5

	242
	Kolfe- Ker
	Addis Ketema
	14
	466288
	999559
	2438
	Domestic
	Birznesh Timerga
	F
	Villa
	4

	243
	Kolfe- Ker
	Addis Ketema
	8
	466179
	997010
	2420
	Domestic
	Adanech Tulu
	F
	Villa
	33

	244
	Kolfe- Ker
	Addis Ketema
	7
	464809
	995167
	2451
	Commercial
	Juhar Sherif
	M
	Villa
	6

	245
	Kolfe- Ker
	Addis Ketema
	8
	467273
	996549
	2372
	Domestic
	Kedir Jemal
	M
	Villa
	11

	246
	Kolfe- Ker
	Addis Ketema
	6
	466504
	995768
	2423
	Domestic
	Aregawi G/Michael
	M
	Villa
	4

	247
	Arada
	Gulele
	4
	471470
	1000116
	2525
	Commercial
	Mustefa Dagnachew
	M
	Villa
	variable

	248
	Kolfe- Ker
	Addis Ketema
	13
	467011
	999890
	2501
	Domestic
	Birhanu Sifir
	M
	Villa
	6

	249
	Kolfe- Ker
	Addis Ketema
	13
	466644
	1000112
	 
	Domestic
	Wegayehu Yeshitila
	F
	G+4
	4

	250
	Kolfe- Ker
	Mekanisa
	3
	 
	 
	 
	industrial
	Yibelu Workineh
	M
	factory
	variable

	251
	Kolfe- Ker
	Mekanisa
	2
	464522
	992040
	2332
	vendor
	Zinash Belete
	F
	Villa
	5

	252
	Kolfe- Ker
	Mekanisa
	2
	469214
	991417
	2325
	Domestic
	Aster Mergia
	F
	G+4
	3

	253
	Kolfe- Ker
	Mekanisa
	3
	463162
	992553
	2451
	Domestic
	Yeshiwork Lealem
	F
	G+2
	4

	254
	Kolfe- Ker
	Mekanisa
	3
	463721
	994092
	2454
	Domestic*
	Shemsu Mohammed
	M
	Villa
	variable

	255
	Kolfe- Ker
	Mekanisa
	4
	464119
	995026
	2483
	Domestic
	Genet Birhanu
	F
	G+2
	4

	256
	Kolfe- Ker
	Addis Ketema
	14
	466052
	1001145
	2539
	Domestic
	Abebe Andargie
	M
	G+4
	3

	257
	Kolfe- Ker
	Mekanisa
	15
	468081
	1001051
	2515
	industrial
	Elias Hailu
	M
	G+3+b
	variable

	258
	Kolfe- Ker
	Addis Ketema
	13
	467381
	1001121
	2549
	industrial
	Yohannis George
	M
	G+2
	variable

	259
	Kolfe- Ker
	Addis Ketema
	15
	466202
	1002257
	2600
	Institutional
	Desssie Adamu
	M
	Villa
	variable

	260
	Kolfe- Ker
	Addis Ketema
	14
	466278
	1001647
	2573
	Institutional
	Hiwot Yassin
	F
	Villa
	variable

	261
	Kolfe- Ker
	Addis Ketema
	13
	467046
	1001097
	2536
	Domestic
	Beletu Gebre
	F
	Villa
	17

	262
	Arada
	Arada
	 
	473227
	997893
	2388
	Domestic
	Zifan Ali
	F
	G+4
	4

	263
	Kirkos
	Megenagna
	2
	 
	 
	 
	Domestic
	Tamir Kinfu
	F
	Villa
	6

	264
	Kirkos
	Nefas Silk
	1
	475046
	995640
	2346
	Domestic
	Nigatua Hunde
	F
	Villa
	7

	265
	Bole
	Megenagna
	3
	 
	 
	 
	Domestic
	Geremew Debisaa
	M
	G+1
	6

	266
	Bole
	Megenagna
	3
	477195.17
	993758.7
	 
	Domestic*
	Henock Tsehay
	M
	Villa
	variable

	267
	Bole
	Megenagna
	3
	8.99251
	38.791461
	 
	Commercial
	Hailemeskel Bekele
	M
	G+3
	variable

	269
	Lideta
	Arada
	7
	 
	 
	 
	 
	Radia Mohammed
	F
	G+4
	5

	270
	Kirkos
	Arada
	1
	 
	 
	 
	Domestic
	Tamir Kinfu
	F
	Villa
	6

	271
	Bole
	Megenagna
	4
	9.012
	38.777629
	 
	Domestic
	Asegedech Kebede
	F
	Villa
	2

	272
	Yeka
	Megenagna
	5
	477018
	998121
	2474
	Domestic
	woderyelesh Yoseph
	F
	Villa
	10

	272
	Kolfe- Ker
	Mekanisa
	3
	464063
	994349
	2548
	Bonno
	Rehima Kemal
	F
	Villa
	5

	272
	Kolfe- Ker
	Addis Ketema
	13
	466916
	999639
	2466
	Bonno
	Munteha Hussien
	F
	Villa
	5


Note: Addis. Ket = Addis Ketema, Aka Kal= Akaki Kality; and Nefas SL= Nefas Silk Lafto

Appendix A- 5- I: English version of the interview questions for the water customers  

A1. General profile of the responding water customer 

Interviewer Name_________________________________________

Sex of the respondent:   Male ______ Female_______

Respondent’s residence: Sub City _____________________Wereda ______________ 

House number _____________water supplying branch ______________________________

Date of interview _______________________Respondent’s responsibility _____________

2. Specific interview questions for interviewing water customers  

1. How do you evaluate the service provided by AAWSA in terms of water quantity, water quality, proximity, incoming water pressure, service quality? 

2.  How do you rate your satisfaction level?

 Excellent, very good, good, poor, very poor, other (please specify)

3. In a given months’ time, what is the frequency of water supply interruption/failure?

 Never    every hour     every day   every week every month      other (specify)

4. Once water supply is interrupted, for how long water remain unavailable during each interruption? 

Never        _______ hours       _____days       ____weeks           other /specify

5. In the past one year, what was the worst case of water supply failure /interruption related problem and how long water was unavailable 

________hours_______ days ______months, ________ weeks other (please specify)

6. How do you evaluate the quality of water with respective the following physical water quality parameters?    Good ______     Satisfactory _________ Poor _________

7. Based on your observation  

a. Which of the colors listed below best describe the color of your water supply? colorless, blue, green, black, dark brown, brown, red, orange, yellow, milky white, cloudy other (please specify)

b. How do you rate the temperature of this water?

Cold ____     warm ______   normal/acceptable _____   hot ______

c. Which odor below resembles the odor of the water you are supplied with?

Sulfur/rotten egg, moldy, musty, earthy, grassy, fishy, other (please specify)

d. How do you rate the taste of your water?

Tasteless, metallic taste, chlorine taste, Medicine/chemical taste, other (please specify)

e. How do see the amount of suspended matter in your water supply?

Crystal clear, clear, slightly turbid, highly turbid 

8. Are these problems 

i. Existent in the past or are they a recent phenomenon 

ii.  Continuous since long time?

9. What do you use this water for?

a. without any treatment process

Bathing             cooling    drinking      cleaning house         animals  

Gardening           launder                other (please specify 

b. What measure do you take to ameliorate this water and make fit for drinking?

10. What is the monthly water consumption for the whole family in units of liter? 

11. If conditions are fulfilled and allow do you want to save water or use much more water than this volume?

12. If you the interest to get improved water quantity, water quality, enhanced water pressure and better service 

a. How will your water use pattern change with water tariff changes?

13.  If the current water price is going to increase by 5%, 10%, 15%, and 20% 25% or 30%, what price per month can you afford (are you willing) to pay have a better water supply service? 

In your opinion, at each stage of the entire supply network, what things should AAWSA improve to enhance its service and how do you think water quantity, water quality, water pressure and water price should be corrected or managed?

Appendix A-5-II: The Amharic version of interview questions prepared for water customers

የዉኃ አጠቃቀም መጠየቅ ለዉኃ ተጠቃሚዎ / ደንበኞች
1) አጠቃላይ ሁኔታወች
ቃለ ምልልሱን ያካሄደዉ ጠያቂ ሥም ________________________________________________

የደነንበኛዉ አደራሻ ክ/ከተማ _________________________________________________

ቀበሌ_________የቤት ቁጥር_________________      የቤቱ ዓይነት ________________________

የቤቱ መገኛ አመለካቾች ________________________________________________________

የቤት ባለቤትነት ሁኔታ _________________________________________________________

 ጥያቄና መልሱ የተካሄደበት ቀን _________________ሠዓት    ______________

የቤተሰብ በዛት _____________የመልሠጭዉ ጾታ       ወንድ _____ ሴት; _____

ለቃለ መጠይቁ የተዘጋጁ ጥያቄዎች
1. የአዲሰስ አበባበ ዉኅና ፍሳሽ ባለሥልጣንን አገልግሎት አሰጣጥ ከሚያቀርበው የዉኃ መጠን ፣የዉኃ ጥራት ፣ የዉኃ መገኛዉ ከመኖሪያ ቦታዎ ዉጭ ከሆነ ያለው እርቀት ፣ የዉኃ ግፊት/ የመፍሰስ ጉለበት እንጻር እንዴት ይገመግሙታል? 

2. በአገልግሎቱ የሚሰማዎትን የርካታ መጠን ምን ደረጃ ይሠጡታል?    

እጅግ በጣም ጥሩ   _______

 በጣም ጥሩ         _______ 

 ጥሩ መካከለኛ      _______

ዝቅተኛ              _______

  በጣም ዝቅተኛ   _______

ሌላ ከለ ይገለፅ   _______

3.  የዉኃ አቅርቦቱና ሥርጭቱ በአንድ ወር ጊዜ ዉስጥ ለሥንት ጊዜ ተቋርጦ ይቆያል?

ምንም አይቋረጥም   _________ 

 በየሠዓቱ             __________

በየቀኑ                  ​__________

 በየሳምንቱ             _________  

 ሌላ ካለ ይግለጹ _________________
4. ዉኃ አንድ ጊዜ ሲቋረጥ ለምን ያህል ጊዜ ተቋርጦ ይቆያል? 

ዉኃ አንድ ጊዜ ሲቋረጥ ለምን ያህል ጊዜ ተቋርጦ ይቆያል? 

ምንም አይቋረጥም _____

 ለ ______ ደቂቃ    

 ለ _______ሠዓት     

ለ _______ ቀናት   

 ለ _______ሳምንታት    

  ሌላ ካለ ይገለጽ ______

4. ባለፈዉ ዓመት, 

a. ከፍተኛዉ የገጠማችሁ የዉኃ ችግር ምንድን ነበር?  ________________

b. ለምን ያሀል ጊዜስ ያለ ዉኃ አቅርቦትና ስርጭት ቆያችሁ? _______________

5. የአዲሰ አበባ ዉኃና ፈሰሽ ባለስለጣን ባለስልጣን የሚያቀርብላችሁን የዉኃ ጥራት ከሚከተሉት ፊዚካዊ መለከያዎች አንጻር እንዴት ደረጃ ትሠጡታለችሁ?        
      ጥሩ ______ መካከለኛ    ______  የማያረካ _______

6. በዘሁ መሠረት  

a. የዉኃዉ ቀለም ከሚከተሉት የትኘውን ይመሥላል? _______________________

  ቀለም አልባ፣ ሠማያዊ፣ አረንጓዴ፣ጥቁር፣ ጥቁር ቡናማ፣ ቀይ፣ብርቱካናማ፣ቢጫ፣ ተትማ ነጭ፣ ሌላ ካለ ይጠቀስ
b. የዉኃን መጠነ ሙቀት ከየትኛዉ ይመደባል?  ቀዝቃዛ     መደበኛ/ የተለመደ    ለብያለ     ሞቃት 

c. የዉኃዉ ጣዕምስ?

ጨዋማ  _________                                                         ጣዕም የለሽ ________

የብረት ጣዕም ________                                                   የክሎሪን ጣዕም________

 የመደሀኒት/ የኬሚካለ ጣዕም ______                                   ሌላ ካለ ይገለጽ  ​​​​​​​​​​​​​​​​____________   
d.  የዉኃዉ ሽታ ከየትኛዉ ቀራረባል? 

ደኝ/ የበሰበሰ አንቁላል    ______                                      የሸክላ ሽታ      __________

እምክእምክ የሚል ________                                          የአፈር ሽታ       ________

የሳር ሽታ     ________​​​​                                                  የዓሣ ሽታ     ________
 ሌላ ካለ ይገለጽ  _______
e. በዉኃዉ ዉስጥ የሚገኙ ተንሳፋፊ ጠጣር ነገሮቸ/የውኃዉ ድፍርሰነት 

ኩልል ብሎ የጠራ _______                                          በጣም ድፍርሥ   ________  

 የጠራ              _________                                     በመጠኑ የደፈረሠ   ________
ሌላ ካለ ይገለጽ      _____________

7. አነዚህ ችግሮች 

a. ቀደም ሲልም ነበሩ ወይስ የቅርብ ጊዜ ክስተቶች ናቸዉ? ____________________________

b. ችግሮቹስ ቀጣይነት አላቸዉ ወይስ የአነደ/አጭር ጊዜ ክስተቶች ናቸው? ________________

8. ይህን ውኃ ያለምንም ዓይነት ሂደት ለምን ለምን ተግባራት ትጠቀሙበታላችሁ?  

ለእጥበት፣ ለምገብ ማብሰል፣ ለመጠጥ፣ ቤት ለማጠብ፣ ቤተ እንሰሳትን ለማጠጣት፣ለላውንደሪ እጥበት፣ 

ሌላካለ ይገለጽ __________________________________

9. ይህን ዉኃ ለመጠጥ ለመጠቀምና ጥራቱን ለማሻሻል ምንምን መግትሄ ትሠጣላችሁ?

____________________________________________________________________________

10. በአንድ ወር ጊዜ ዉስጥ ምን ያህል ሊትር ዉኃ ቤተሰባቸሁ ይጠቀማል?

__________________________________________________________________________

11. ሁኔታዎች ቢመቻቹ/ቢፈቅዱ ዉኃን ለመቆጠብ/ ከዚሀ የበለጠ መጠን ያለዉ ዉኃ መጠቀም ይፈልጋሉ?

____________________________________________________________________________

12. አሁን ያለዉ የዉኃ አቅርቦት መጠንና ጥራት፣የዉሃዉ መገኛዉ ከመኖሪዎ ዉጭ ከሆነ ያለዉ እርቀት፣ የዉኃዉ ግፊት ሁኔታ ና የአገልግሎት አሠጣጡ እንዲሻሻል ፍላጎት አለዎት?

አዎ___________      የለ –ም______________     _________________        

a.  አሁን ያለዉ የዉኃ ታሪፍ ቢሻሻል የዉኃ አጠቃቀመዎ እንዴት ይለወጣል/ይቀየራል?

__________________________________________________________________________________________________________________________________________________________

b.  ለተሻለ የዉኃ አቅርቦትና ስርጭት አገልግሎት አሁን ያለዉ ታሪፍ በ 5% 10%   15%   20% 25% 30% ቢጨመር በየዎሩ ምን ያህል የመክፈል አቅም/ፍላጎት አለዎት?

________________________

13. በአርስዎ እስተያየት የአዲሰ አበባ ዉኅና ፍሳሽ ባለስልጣን የዉኃ አቅርቦቱንና ስርጭቱን ለማሻሻል ከዉሃዉ መገኛ አንሰቶ እስከ ተጠቃሚዉ ድረስ በየ ዋናዋና ከፍሎች ምንምን ጉዳዮችን ማሻሻል አለበት ይላሉ?

አሁን ባለዉ የዉሃ አቅርቦትና ሰርጭት ስርዓት ዉሰጥ የሚሰራጨዉን የዉኃ መጠን ፣ የዉሃዉን ጥራት፣የዉሃዉ ግፊት ና የአገልግሎቱን ጥራት እንዴት ማሻሻል ይቻለል ይላሉ?

Appendix A-6-I: English version of the interview questions for branch Professionals  

 General questions about the profile of the professional and the branch s/he is working 
Interviewer Name_____________________ Name of the institution ______________________

Location of the institution: ________Date______ Respondent:      Male: ____ Female: ________

Responsibility of the respondent: _____________________________________________

Specific questions to be asked during the interview 

1. What are the main components of Addis Ababa city water supply system?

2. What are the major technical, institutional, and financial challenges that AAWSA is facing to meet Addis Ababa water demand? Why?

3. In each Addis Ababa City’s water supply system components mentioned above, 

a. What are the major problems and what are their known and possible causes?

b. What do you think are their quantitative and /or qualitative effects?

c. How do these problems affect water quantity, water quality, pressure and service quality?

4. Which problems are user related and which others are utility related and how do these problems affect water quantity, water quality, pressure and Service quality? 

5. To solve each problem raised earlier, 

d. What has been done so far (earlier)? Describe the success story and quantify your output in monetary, water quantity, and water quality and water pressure and service level improvement terms.

e. What is being done? Quantify each output in relation to water quantity, water quality, pressure, service level 

f. What is planned to solve the problems? Quantify each output in relation to water quantity, water quality, pressure, service level 

g. What more should be done (what do you suggest further for the utility to do at each component and quantify the possible outputs of each measure in relation to water quantity, water quality, pressure, service level 

6. What are the policies and principles that AAWSA is following when allocating for water for prioritizing users at times of supply deficit (emergency and shortage)?

7. How do you rate the service provided by AAWSA with respective to each main component? 
Appendix A-6-II: Amharic version of the interview questions for branch professionals  

ለመሥክ ጥናት የቀረቡ ጥያቄወች
A1. ለውኃ በአቅራቢዉ ባለሥልጣን መስሪያ ቤት የሚቀረቡ ጥያቄወች 
የጠያቂው ሥም_______________

የመልስ ሠጭዉ ተቋም ሥም _______________________

ተቋሙ የሚገኝበት ቦታ _______________________

ተቋሙ ያለበት አካባቢ መጠሪያ__________________________

ጥያቄና መልሱ የተካሄደበት ቀን___________________________

የመልስ ሰጭዉ ጾታ:     ወንድ: _____    ሴት: __________መልስ ሠጭው በተቋሙ ያለዉ ኅላፊነት: _____________________________________________________

       A2. ለቃለ መጠይቁ የተዘጋጁ ጥያቄዎች
1. የአዲስ አበባ የዉሃ አቅርቦትና ስርጭት ሥርዓት ዋናዋና ክፍሎች ምንምን ናቸዉ; 

2. የአዲስ አበባ ዉሃና ፍሳሸ ባለስጣንን እያጋጠሙት ያሉት ቴክኒካዊ፣ተቋማዊ ና ኢኮኖሚያዊ ተግዳሮቶች ምንምን ናቸው? 

3. ከላይ በተጠቀሱት የአዲስ አበባ የዉሃ ስርጭት ሥርዓት ዋናዋና ክፍሎች, 

h. ለሚስተዋሉት ችግሮች መንስኤዎቻቸዉ ምንድን ናቸዉ/ ለምን የተከሰቱ ይመስለዎታል?

i. እነዚህ በየክፍሎች የተስተዋሉ ችግሮች ያመጧቸው አይነታዊ ና መጠናዊ ተዕኖዎች ምንምን ናቸው?

j. እነዚህስ ዉጬቶች/ ተጽኖዎች የሚሰራቸጨዉን የዉሃ መጠን፣ጥራት፣, ዉኃዉ የሚፈስበት የግፊት መጠን, ና የአገልግሎት ደረጃ እንዴት ጉዳት ያደርሱባቸዋል?

4. በሚሰራቸጨዉን የዉሃ መጠን፣ጥራት፣, ዉኃዉ የሚፈስበት የግፊት መጠን, ና የአገልግሎት ደረጃ ላይ ጉዳት/ተጽዕኖ የሚያደርሱትን መንስኤዎች ዉስጥ
k.  ከተጠቃሚዎች ጋር የሚዛመዱት የትኞች ናቸው? 

l.  ከባለስልጠኑ ጋር የሚዛመድስ የትኞች ናቸው? 

5. እነዚህን በአዲስ አበባ የውሃ እቅርቦትና ስርጭት ስርዓት ዋናዋና ክፍሎች ያሉ ችግሮች/ ተግዳሮቶች ለመቅረፍ, 

a. ከአሁን በፊት ምንምን ሥራዎች/ የመፍትሔ እርምጃዎች ተወስደዋል?

b. በዚሀስ እርምጃ በየ ልየልዩ ክፍሎች ምንምን ዓይነታዊና መጠናዊ ዉጤቶቸ ተመዝግበዋል?

ስኬቶቹ ከገነዘብ ቁጠባ፣ ከዉሃ መጠን ቁጠባ//ምርት መጨመር፣ ከዉሃ የመዉረድ ግፊት ሁነቴ መሻሻል አኳያ፣ ከአገልግሎት ጥራት መሻሻሸል አንጻር በቁጥር እንዴት ይገለጻሉ?

c. በአሁኑ ሰዓትስ ባለሥልጣን መስሪያ ቤቱ ችግሮችን ለመፍታት ምንምን የመፍትሄ እርምጃዎችን/አማራጮችን እየወሰደ ነዉ?

ስኬቶቹ ከገነዘብ ቁጠባ፣ ከዉሃ መጠን ቁጠባ//ምርት መጨመር፣ ከዉሃ የመዉረድ ግፊት ሁነቴ መሻሻል አኳያ፣ ከአገልግሎት ጥራት መሻሻሸል አንጻር በቁጥር እንዴት ይገለጻሉ?

d.  ለወደፊቱ ባለሥልጣን መስሪያ ቤቱ ችግሮችን ለመፍታት ምንምን የመፍትሄ እርምጃዎችን/አማራጮችን   ለመዉሰድ አቅዷል?

በዚሀ አቅድ መሠረት ይገኛሉ ተብለዉ የሚገመቱት ዉጤቶች ከገነዘብ ቁጠባ ከዉሃ መጠን ቁጠባ/ምርት መጨመር ከዉሃ የመዉረድ ግፊ ከአገልግሎት ጥራት መሻሻሸል አንጻር በቁጥር እንዴት ይገለጻሉ?

e. ከዚህስ ባሻገር ምንምን ተጨማሪ የመፍትሄ እርምጃዎች ቢዎሰዱ የሚሰራጨዉን የዉኃ መጠን ጥራት የሚወረድዉን የዉኃ ግፊት የአለግሎቱ ጥራት በምን ያህል መጠን ያሻሽለዋል?

6. ባለ ሥልጣን መሥሪያ ቤቱ የዉሃ እጥረት በሚያጋጥምበት ሰዓት ዉኃን በቅደምተከተል ለማሠራጨት የሚከተላቸዉ ፖሊሲዎቸና መርሆዎች አሉት ወይ? 

ካሉትስ ፖሊሲዎቹና መረሆዎቹ ምንምን ይላሉ?

7. ከላይ ከተዘረዘሩት የእዲሰ አበባ የዉኅ ሥርጭት ሥርዓት ዋናዋና ክፍሎች አንጻር የባለሰለጠኑን መሥሪያ ቤት የአገልገሎት አጠጣጠ ደረጃ እንዴት ይገመግሙታል?  የግምገማዎን ዉጤት 

a. በፐርሰንት እንዴት ይገልጹታል? ________________________________%

b. በቃላዊ ደረጃዎች (እጅግ በጣም ጥሩ፣ በጣም ጥሩ ፣ ጥሩ መካከለኛ ፣ ዝቅተኛ ፣ በጣመ ዝቅተኛ) እንዴት ይገልጹታል?

  Appendix A-7:  Branch professionals who participated in the interview

	Branch
	Date
	Name
	sex
	Responsibility
	Telephone 

	Megenagna
	29/4/2016
	Medina Yimam
	F
	Engineer
	913948120

	Megenagna
	29/4/2016
	Tamirat W/Senbet
	M
	Water supervisor
	912159034

	Megenagna
	29/4/2016
	Henok Manaye
	M
	Water leakage control case team leader
	91791049

	GurdShola
	29/4/2016
	Mohammed Kasew
	M
	Branch Manager
	927729819

	GurdShola
	29/4/2016
	Genene Regassa
	M
	Water Customer service process owner
	929040533

	GurdShola
	30/4/2016
	Ermias Shume
	M
	Engineer II
	910417159

	Akaki
	15/4/2016
	Belete Dinku
	M
	WCS sub process owner
	913601254

	Akaki
	15/4/2016
	Asfaw Meskele
	M
	Engineer I
	 

	Gulele
	42679
	Kifle Abebe
	M
	Water customer service leader (dep’t head)
	 

	Gulele
	42679
	Saleamlak Muluken
	M
	Distribution and line Installation case manager
	973409721

	Gulele
	 
	Kifle Abebe
	 
	Acting Branch Manager
	 

	Arada
	13/5/2016
	Yenehareg Bekele
	F
	Water customer service sub process owner
	913067780

	Arada
	13/5/2016
	Debere Tujo
	M
	Arada Branch Manager
	911407481


Appendix B: Raw data and assumptions used for analysis
Appendix B-1: Water infrastructure distribution among branches in 2010
	Branch 
	Area (km2)
	population
	Density (km2)
	Customer No.
	Pipe length 
	Valve 
	Fire hydrant 

	Arada
	15.25
	480,162
	15.25
	45,123
	285
	1049
	42

	Gulele
	44.45
	480,162
	44.45
	49,865
	435
	1148
	5

	Addis Ketema 
	44.69
	480,162
	44.69
	50,675
	550
	1256
	25

	Nwfas Silk
	45.75
	480,162
	45.75
	57,930
	510
	1426
	13

	Megenagna
	54.94
	480,162
	54.94
	29,744
	375
	1506
	21

	Mekanisa
	63.94
	480,162
	63.94
	67,928
	415
	810
	29

	Akaki 
	121.23
	480,162
	121.23
	23,387
	395
	732
	18

	Gurd Sholla
	129.21
	480,162
	129.21
	64,655
	610
	1483
	11

	Total 
	519.46
	3,841,296
	519.46
	389,307
	3,575
	9,410
	164


Appendix B-2:  Projected system input volume, 2015-2020 (m3/d)

	Year
	2015
	2016
	2017
	2018
	2019
	2020

	Existing capacity
	373000
	373000
	373000
	373000
	373000
	373000

	Akaki WF02 deep wells 
	0
	70,000
	70,000
	70,000
	70,000
	70,000

	Akaki WF03 deep wells 
	0
	0
	70,000
	70,000
	70,000
	70,000

	Legedadi Deep wells 
	0
	40,000
	40,000
	40,000
	40,000
	40,000

	Legedadi Treatment Plant expansion 
	0
	30,000
	30,000
	30,000
	30,000
	30,000

	Gerbi Water supply scheme 
	0
	0
	38,000
	76,000
	76,000
	76,000

	System input volume(m3/d)
	373,000
	513,000
	621,000
	659,000
	659,000
	659,000

	system input volume (m3/year)
	136,145,000
	187,245,000
	226,665,000
	240,535,000
	240,535,000
	240,535,000


Appendix B-3: Projected population for the period 1994- 2030 using miscellaneous scenarios
	                      Year 
	AAWSA’s three growth scenarios for 1994-2030
	CSA 

projection 

for 1984-2037
	Data used by AAWSA



	
	Low scenario
	medium scenario
	High scenario
	
	

	1994
	2.112737
	2.112737
	2.112737
	2.112737
	 

	1995
	2.157
	2.157
	2.157
	2.157
	 

	1996
	2.222
	2.222
	2.222
	2.22
	2.109

	1997
	2.287
	2.286
	2.291
	2.286
	2.15

	1998
	2.354
	2.354
	2.362
	2.354
	2.19

	1999
	2.423
	2.424
	2.437
	2.424
	2.23

	2000
	2.493
	2.495
	2.516
	2.495
	2.2738

	2001
	2.565
	2.57
	2.599
	2.57
	2.32

	2002
	2.638
	2.646
	2.686
	2.646
	2.36

	2003
	2.712
	2.725
	2.777
	2.725
	2.4

	2004
	2.788
	2.805
	2.87
	2.805
	2.44

	2005
	2.864
	2.887
	2.969
	2.887
	2.48

	2006
	2.94
	2.973
	3.071
	2.973
	2.52

	2007
	3.02
	3.059
	3.177
	2.739551
	2.57

	2008
	3.099
	3.147
	3.288
	2.792555
	2.967

	2009
	3.179
	3.237
	3.401
	2.851862
	3.051

	2010
	3.257
	3.328
	3.517
	2.914245
	3.136

	2011
	3.336
	3.418
	3.637
	2.979481
	3.224

	2012
	3.415
	3.512
	3.759
	3.049043
	3.314

	2013
	3.494
	3.605
	3.885
	3.121654
	3.407

	2014
	3.572
	3.699
	4.012
	3.19721
	3.503

	2015
	3.647
	3.792
	4.143
	3.275348
	3.601

	2016
	3.722
	3.883
	4.274
	3.355791
	 

	2017
	3.794
	3.975
	4.408
	3.43809
	 

	2018
	3.866
	4.067
	4.544
	3.521687
	 

	2019
	3.935
	4.157
	4.68
	3.606497
	 

	2020
	4.003
	4.246
	4.817
	3.691652
	 

	2021
	4.068
	4.332
	4.952
	3.776917
	 

	2022
	4.131
	4.416
	5.088
	3.862386
	 

	2023
	4.193
	4.499
	5.225
	3.947433
	 

	2024
	4.254
	4.581
	5.362
	4.03231
	 

	2025
	4.312
	4.664
	5.503
	4.116545
	 

	2026
	4.37
	4.748
	5.645
	4.200429
	 

	2027
	4.426
	4.831
	5.789
	4.283889
	 

	2028
	4.482
	4.914
	5.935
	4.366851
	 

	2029
	4.536
	5
	6.084
	4.449715
	 

	2030
	4.589
	5.087
	6.236
	4.532594
	 


�


Figure 2�� SEQ Figure \* ARABIC \s 1 �1� : Major infrastructure of the urban water system














22

_1234567890.bin

